## Sheet1
Daily Interruptions Report, Automatic Outages Only May 1 2024 05:00 through May 2 2024 04:59 and still out outages
Source: Bonneville Power Administration, Transmission Services, System Operations, Internal Operations, Organizational Performance - TOII
Customer Service Interruptions (2 outage(s))
Out Datetime | In Datetime | Name | Voltage (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | MW Intrpt | O&M District | Outage ID
04/30/2023 19:09 |  | Valhalla: Chelan Co PUD 115kV Feeder T1 | 115.0 | still out | Auto | Unknown | BPA |  | WEN | 224196
09/20/2022 10:11 |  | Intalco: Alcoa 13.8kV Feeder 4 | 13.8 | still out | Auto | Terminal Equipment Failure | Customer |  | SNO | 223041
Transmission Line Interruptions (8 outage(s))
Out Datetime | In Datetime | Name | Voltage (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | Transmission Owner NERC TADS | O&M District(s) | Outage ID
05/02/2024 04:25 | 05/02/2024 04:28 | Brewster-North Bar section of Brewster-Foster Creek 115kV line | 115.0 | 3 | Auto | Unknown | Foreign | OCPUD | WEN | 226217
05/02/2024 04:25 | 05/02/2024 04:28 | North Bar-Foster Creek section of Brewster-Foster Creek 115kV line | 115.0 | 3 | Auto | Unknown | Foreign | OCPUD | WEN | 226217
05/02/2024 00:55 | 05/02/2024 01:01 | Palisades-Cattle Creek No 1 115kV line | 115.0 | 6 | Auto | Unknown | BPA | BPAT | IDF | 226216
05/01/2024 16:30 | 05/01/2024 17:31 | Box Canyon-Usk 115kV line | 115.0 | 61 | Auto | Tree Blown | Foreign | POPD | SPK | 226215
05/01/2024 15:05 | 05/01/2024 17:15 | McNary PH-McNary No 5 230kV line | 230.0 | 130 | Auto | Human Element | BPA | BPAT | TRI | 226209
05/01/2024 15:05 | 05/01/2024 17:12 | McNary-Ross No 1 345kV line | 345.0 | 127 | Auto | Human Element | BPA | BPAT | TRI TDA LGV | 226212
05/01/2024 06:24 |  | Lower Monumental PH-Lower Monumental No 1 500kV line | 500.0 | still out | Auto | Unknown | BPA | BPAT | TRI | 226208
01/13/2024 11:23 |  | Walton-Mapleton section of Lane-Wendson No 1 115kV line | 115.0 | still out | Auto | Tree | BPA | BPAT | EUG | 225440
Transformer Interruptions (5 outage(s))
Out Datetime | In Datetime | Name | Voltage High (kV) | Voltage Low (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | O&M District | Transmission Owner NERC TADS | Outage ID
05/01/2024 15:05 | 05/01/2024 17:15 | McNary PH 230/13.8kV Transformer T5 | 230.0 | 13.8 | 130 | Auto | Human Element | Foreign | TRI |  | 226210
05/01/2024 15:05 | 05/01/2024 17:15 | McNary PH 230/13.8kV Transformer T6 | 230.0 | 13.8 | 130 | Auto | Human Element | Foreign | TRI |  | 226211
05/01/2024 15:05 | 05/01/2024 17:12 | Ross: 345/230kV Transformer 4 | 345.0 | 230.0 | 127 | Auto | Human Element | BPA | LGV | BPAT | 226213
05/01/2024 15:05 | 05/01/2024 17:12 | McNary: 345/230kV Transformer 8 | 345.0 | 230.0 | 127 | Auto | Human Element | BPA | TRI | BPAT | 226214
01/09/2024 15:45 |  | Pomeroy: 115/69kV Transformer 2 | 115.0 | 69.0 | still out | Auto | Line Material Failure | BPA | SPK |  | 225360