## Data
TOT.2 PATH
See Notes tab for additional details
Date/Period Ending | TOT.2 (NE/SE) Path: Actual (41829)
2014-11-01 00:15 | 539.8636
2014-11-01 00:30 | 542.2168
2014-11-01 00:45 | 492.1877
2014-11-01 01:00 | 529.9007
2014-11-01 01:15 | 552.7056
2014-11-01 01:30 | 528.2729
2014-11-01 01:45 | 507.0124
2014-11-01 02:00 | 544.3438
2014-11-01 02:15 | 573.0012
2014-11-01 02:30 | 639.2883
2014-11-01 02:45 | 588.553
2014-11-01 03:00 | 580.5715
2014-11-01 03:15 | 616.949
2014-11-01 03:30 | 579.2126
2014-11-01 03:45 | 549.9268
2014-11-01 04:00 | 563.1014
2014-11-01 04:15 | 598.6993
2014-11-01 04:30 | 637.2318
2014-11-01 04:45 | 612.1483
2014-11-01 05:00 | 527.226
2014-11-01 05:15 | 507.6033
2014-11-01 05:30 | 509.0035
2014-11-01 05:45 | 474.3281
2014-11-01 06:00 | 445.4623
2014-11-01 06:15 | 329.6905
2014-11-01 06:30 | 247.9218
2014-11-01 06:45 | 237.5119
2014-11-01 07:00 | 303.5412
2014-11-01 07:15 | 358.3996
2014-11-01 07:30 | 368.0002
2014-11-01 07:45 | 335.4412
2014-11-01 08:00 | 327.6879
2014-11-01 08:15 | 348.6125
2014-11-01 08:30 | 350.6939
2014-11-01 08:45 | 383.0887
2014-11-01 09:00 | 399.5894
2014-11-01 09:15 | 433.8833
2014-11-01 09:30 | 418.6435
2014-11-01 09:45 | 416.4322
2014-11-01 10:00 | 416.079
2014-11-01 10:15 | 491.7223
2014-11-01 10:30 | 523.7513
2014-11-01 10:45 | 552.403
2014-11-01 11:00 | 526.3862
2014-11-01 11:15 | 593.1483
2014-11-01 11:30 | 566.5274
2014-11-01 11:45 | 504.581
2014-11-01 12:00 | 510.526
2014-11-01 12:15 | 462.8767
2014-11-01 12:30 | 487.2733
2014-11-01 12:45 | 494.9223
2014-11-01 13:00 | 515.3552
2014-11-01 13:15 | 547.604
2014-11-01 13:30 | 550.5144
2014-11-01 13:45 | 552.3387
2014-11-01 14:00 | 601.1232
2014-11-01 14:15 | 613.5506
2014-11-01 14:30 | 687.7077
2014-11-01 14:45 | 690.2912
2014-11-01 15:00 | 696.7977
2014-11-01 15:15 | 638.3171
2014-11-01 15:30 | 616.1796
2014-11-01 15:45 | 602.9709
2014-11-01 16:00 | 664.8239
2014-11-01 16:15 | 618.0375
2014-11-01 16:30 | 625.7041
2014-11-01 16:45 | 665.7675
2014-11-01 17:00 | 717.0731
2014-11-01 17:15 | 686.335
2014-11-01 17:30 | 614.2443
2014-11-01 17:45 | 563.5557
2014-11-01 18:00 | 602.2245
2014-11-01 18:15 | 615.9121
2014-11-01 18:30 | 603.6268
2014-11-01 18:45 | 622.0513
2014-11-01 19:00 | 662.8206
2014-11-01 19:15 | 697.9031
2014-11-01 19:30 | 699.2606
2014-11-01 19:45 | 689.5744
2014-11-01 20:00 | 696.1862
2014-11-01 20:15 | 644.7643
2014-11-01 20:30 | 602.4234
2014-11-01 20:45 | 585.45
2014-11-01 21:00 | 533.4681
2014-11-01 21:15 | 566.6008
2014-11-01 21:30 | 579.3539
2014-11-01 21:45 | 476.5942
2014-11-01 22:00 | 452.2945
2014-11-01 22:15 | 536.278
2014-11-01 22:30 | 443.4322
2014-11-01 22:45 | 445.3918
2014-11-01 23:00 | 546.5618
2014-11-01 23:15 | 582.7177
2014-11-01 23:30 | 477.571
2014-11-01 23:45 | 506.8097
2014-11-02 | 553.6013
2014-11-02 00:15 | 624.489
2014-11-02 00:30 | 518.0543
2014-11-02 00:45 | 508.6095
2014-11-02 01:00 | 512.0404
2014-11-02 01:15 | 524.6446
2014-11-02 01:30 | 500.6681
2014-11-02 01:45 | 491.427
2014-11-02 01:00 | 547.4578
2014-11-02 01:15 | 529.9818
2014-11-02 01:30 | 455.9081
2014-11-02 01:45 | 487.6877
2014-11-02 02:00 | 478.3055
2014-11-02 02:15 | 431.0157
2014-11-02 02:30 | 470.081
2014-11-02 02:45 | 455.0606
2014-11-02 03:00 | 424.345
2014-11-02 03:15 | 386.0513
2014-11-02 03:30 | 393.7711
2014-11-02 03:45 | 339.713
2014-11-02 04:00 | 347.0246
2014-11-02 04:15 | 356.1585
2014-11-02 04:30 | 352.3656
2014-11-02 04:45 | 365.5339
2014-11-02 05:00 | 381.2838
2014-11-02 05:15 | 422.3186
2014-11-02 05:30 | 402.0253
2014-11-02 05:45 | 413.2677
2014-11-02 06:00 | 367.4066
2014-11-02 06:15 | 352.5529
2014-11-02 06:30 | 336.8701
2014-11-02 06:45 | 351.6277
2014-11-02 07:00 | 383.5124
2014-11-02 07:15 | 393.7189
2014-11-02 07:30 | 434.4331
2014-11-02 07:45 | 357.667
2014-11-02 08:00 | 304.5249
2014-11-02 08:15 | 277.0588
2014-11-02 08:30 | 208.2795
2014-11-02 08:45 | 208.8755
2014-11-02 09:00 | 218.5387
2014-11-02 09:15 | 217.8596
2014-11-02 09:30 | 257.5617
2014-11-02 09:45 | 235.8254
2014-11-02 10:00 | 187.0146
2014-11-02 10:15 | 221.18
2014-11-02 10:30 | 270.4866
2014-11-02 10:45 | 259.7809
2014-11-02 11:00 | 218.7704
2014-11-02 11:15 | 246.6116
2014-11-02 11:30 | 306.4912
2014-11-02 11:45 | 275.847
2014-11-02 12:00 | 316.5408
2014-11-02 12:15 | 400.2595
2014-11-02 12:30 | 463.8849
2014-11-02 12:45 | 466.9117
2014-11-02 13:00 | 451.2838
2014-11-02 13:15 | 473.5836
2014-11-02 13:30 | 472.7456
2014-11-02 13:45 | 485.6368
2014-11-02 14:00 | 478.8094
2014-11-02 14:15 | 440.8919
2014-11-02 14:30 | 396.4114
2014-11-02 14:45 | 412.9952
2014-11-02 15:00 | 415.4712
2014-11-02 15:15 | 409.8451
2014-11-02 15:30 | 382.8583
2014-11-02 15:45 | 485.5276
2014-11-02 16:00 | 505.6166
2014-11-02 16:15 | 536.5772
2014-11-02 16:30 | 443.9568
2014-11-02 16:45 | 438.9644
2014-11-02 17:00 | 433.1238
2014-11-02 17:15 | 478.3676
2014-11-02 17:30 | 575.4485
2014-11-02 17:45 | 571.6753
2014-11-02 18:00 | 541.5208
2014-11-02 18:15 | 610.5516
2014-11-02 18:30 | 637.955
2014-11-02 18:45 | 601.6891
2014-11-02 19:00 | 694.2713
2014-11-02 19:15 | 639.0356
2014-11-02 19:30 | 650.3
2014-11-02 19:45 | 664.501
2014-11-02 20:00 | 638.2009
2014-11-02 20:15 | 573.1044
2014-11-02 20:30 | 574.6782
2014-11-02 20:45 | 630.625
2014-11-02 21:00 | 581.2246
2014-11-02 21:15 | 580.5547
2014-11-02 21:30 | 509.0855
2014-11-02 21:45 | 512.8859
2014-11-02 22:00 | 583.6558
2014-11-02 22:15 | 618.8736
2014-11-02 22:30 | 624.7905
2014-11-02 22:45 | 632.2729
2014-11-02 23:00 | 652.2351
2014-11-02 23:15 | 690.0731
2014-11-02 23:30 | 764.1724
2014-11-02 23:45 | 724.2927
2014-11-03 | 710.8876
2014-11-03 00:15 | 681.2484
2014-11-03 00:30 | 694.7961
2014-11-03 00:45 | 701.2101
2014-11-03 01:00 | 641.2306
2014-11-03 01:15 | 562.0166
2014-11-03 01:30 | 569.7999
2014-11-03 01:45 | 584.6077
2014-11-03 02:00 | 602.129
2014-11-03 02:15 | 596.2798
2014-11-03 02:30 | 657.9096
2014-11-03 02:45 | 646.3344
2014-11-03 03:00 | 676.0213
2014-11-03 03:15 | 683.322
2014-11-03 03:30 | 664.5716
2014-11-03 03:45 | 660.5989
2014-11-03 04:00 | 612.9106
2014-11-03 04:15 | 644.5201
2014-11-03 04:30 | 680.1006
2014-11-03 04:45 | 648.2833
2014-11-03 05:00 | 659.424
2014-11-03 05:15 | 622.4758
2014-11-03 05:30 | 510.83
2014-11-03 05:45 | 536.8745
2014-11-03 06:00 | 516.252
2014-11-03 06:15 | 458.8077
2014-11-03 06:30 | 364.5307
2014-11-03 06:45 | 338.9957
2014-11-03 07:00 | 287.3224
2014-11-03 07:15 | 264.2075
2014-11-03 07:30 | 207.5934
2014-11-03 07:45 | 123.8868
2014-11-03 08:00 | 108.5508
2014-11-03 08:15 | 112.4778
2014-11-03 08:30 | 91.5912
2014-11-03 08:45 | 112.1952
2014-11-03 09:00 | 102.2505
2014-11-03 09:15 | 155.8506
2014-11-03 09:30 | 160.9503
2014-11-03 09:45 | 97.9307
2014-11-03 10:00 | 41.4055
2014-11-03 10:15 | -17.7853
2014-11-03 10:30 | 62.0658
2014-11-03 10:45 | 87.4742
2014-11-03 11:00 | 91.3021
2014-11-03 11:15 | 56.4881
2014-11-03 11:30 | 54.5976
2014-11-03 11:45 | 57.5905
2014-11-03 12:00 | 81.1826
2014-11-03 12:15 | 136.443
2014-11-03 12:30 | 193.3477
2014-11-03 12:45 | 215.4495
2014-11-03 13:00 | 207.4649
2014-11-03 13:15 | 167.2589
2014-11-03 13:30 | 179.2193
2014-11-03 13:45 | 206.0682
2014-11-03 14:00 | 220.5
2014-11-03 14:15 | 260.7349
2014-11-03 14:30 | 299.0222
2014-11-03 14:45 | 297.0832
2014-11-03 15:00 | 325.9765
2014-11-03 15:15 | 231.6514
2014-11-03 15:30 | 215.5315
2014-11-03 15:45 | 224.4168
2014-11-03 16:00 | 235.933
2014-11-03 16:15 | 203.7307
2014-11-03 16:30 | 189.3691
2014-11-03 16:45 | 206.7798
2014-11-03 17:00 | 209.5003
2014-11-03 17:15 | 294.9379
2014-11-03 17:30 | 288.4422
2014-11-03 17:45 | 310.4877
2014-11-03 18:00 | 356.353
2014-11-03 18:15 | 471.7871
2014-11-03 18:30 | 588.5535
2014-11-03 18:45 | 641.3628
2014-11-03 19:00 | 644.3622
2014-11-03 19:15 | 652.4419
2014-11-03 19:30 | 675.2615
2014-11-03 19:45 | 714.4815
2014-11-03 20:00 | 680.8918
2014-11-03 20:15 | 607.8834
2014-11-03 20:30 | 518.3762
2014-11-03 20:45 | 448.5177
2014-11-03 21:00 | 490.2738
2014-11-03 21:15 | 538.0552
2014-11-03 21:30 | 514.3389
2014-11-03 21:45 | 550.7298
2014-11-03 22:00 | 540.1605
2014-11-03 22:15 | 573.2752
2014-11-03 22:30 | 670.1443
2014-11-03 22:45 | 668.4777
2014-11-03 23:00 | 734.3652
2014-11-03 23:15 | 706.7469
2014-11-03 23:30 | 662.0729
2014-11-03 23:45 | 667.2706
2014-11-04 | 665.4915
2014-11-04 00:15 | 635.8575
2014-11-04 00:30 | 607.0463
2014-11-04 00:45 | 657.183
2014-11-04 01:00 | 638.5245
2014-11-04 01:15 | 635.9089
2014-11-04 01:30 | 622.5291
2014-11-04 01:45 | 602.5271
2014-11-04 02:00 | 625.7849
2014-11-04 02:15 | 623.2324
2014-11-04 02:30 | 581.4384
2014-11-04 02:45 | 581.2559
2014-11-04 03:00 | 584.5082
2014-11-04 03:15 | 571.3528
2014-11-04 03:30 | 582.8581
2014-11-04 03:45 | 568.1351
2014-11-04 04:00 | 551.8273
2014-11-04 04:15 | 527.0997
2014-11-04 04:30 | 480.635
2014-11-04 04:45 | 446.1136
2014-11-04 05:00 | 438.2455
2014-11-04 05:15 | 271.5085
2014-11-04 05:30 | 177.4674
2014-11-04 05:45 | 180.2991
2014-11-04 06:00 | 143.8183
2014-11-04 06:15 | 162.768
2014-11-04 06:30 | 23.712
2014-11-04 06:45 | -21.7664
2014-11-04 07:00 | -75.4128
2014-11-04 07:15 | 63.2094
2014-11-04 07:30 | -21.8066
2014-11-04 07:45 | -92.7042
2014-11-04 08:00 | -111.1294
2014-11-04 08:15 | -97.9253
2014-11-04 08:30 | -46.8077
2014-11-04 08:45 | -39.3078
2014-11-04 09:00 | 19.1035
2014-11-04 09:15 | 88.5674
2014-11-04 09:30 | 155.0028
2014-11-04 09:45 | 174.7162
2014-11-04 10:00 | 103.9448
2014-11-04 10:15 | 162.0111
2014-11-04 10:30 | 204.0743
2014-11-04 10:45 | 250.3446
2014-11-04 11:00 | 258.6127
2014-11-04 11:15 | 221.3934
2014-11-04 11:30 | 241.8121
2014-11-04 11:45 | 217.0344
2014-11-04 12:00 | 238.9963
2014-11-04 12:15 | 231.8945
2014-11-04 12:30 | 250.9082
2014-11-04 12:45 | 261.0819
2014-11-04 13:00 | 287.1122
2014-11-04 13:15 | 339.0737
2014-11-04 13:30 | 415.8575
2014-11-04 13:45 | 490.1475
2014-11-04 14:00 | 451.1838
2014-11-04 14:15 | 376.8664
2014-11-04 14:30 | 386.0172
2014-11-04 14:45 | 367.2441
2014-11-04 15:00 | 385.0182
2014-11-04 15:15 | 368.2986
2014-11-04 15:30 | 370.6148
2014-11-04 15:45 | 390.9177
2014-11-04 16:00 | 387.9064
2014-11-04 16:15 | 570.9979
2014-11-04 16:30 | 570.1568
2014-11-04 16:45 | 643.1744
2014-11-04 17:00 | 664.2775
2014-11-04 17:15 | 768.2416
2014-11-04 17:30 | 849.7318
2014-11-04 17:45 | 842.282
2014-11-04 18:00 | 900.777
2014-11-04 18:15 | 934.4041
2014-11-04 18:30 | 934.3439
2014-11-04 18:45 | 936.1375
2014-11-04 19:00 | 917.2751
2014-11-04 19:15 | 827.6711
2014-11-04 19:30 | 816.2469
2014-11-04 19:45 | 806.9366
2014-11-04 20:00 | 834.3011
2014-11-04 20:15 | 765.4566
2014-11-04 20:30 | 743.114
2014-11-04 20:45 | 741.2973
2014-11-04 21:00 | 769.9471
2014-11-04 21:15 | 827.0369
2014-11-04 21:30 | 796.0659
2014-11-04 21:45 | 804.269
2014-11-04 22:00 | 856.3646
2014-11-04 22:15 | 826.7143
2014-11-04 22:30 | 835.9763
2014-11-04 22:45 | 847.0818
2014-11-04 23:00 | 846.4058
2014-11-04 23:15 | 870.3592
2014-11-04 23:30 | 970.6122
2014-11-04 23:45 | 982.2847
2014-11-05 | 925.223
2014-11-05 00:15 | 853.8685
2014-11-05 00:30 | 838.0112
2014-11-05 00:45 | 873.7282
2014-11-05 01:00 | 881.2251
2014-11-05 01:15 | 868.882
2014-11-05 01:30 | 854.2691
2014-11-05 01:45 | 827.0519
2014-11-05 02:00 | 827.0955
2014-11-05 02:15 | 800.8444
2014-11-05 02:30 | 794.5861
2014-11-05 02:45 | 784.8615
2014-11-05 03:00 | 795.9076
2014-11-05 03:15 | 762.3593
2014-11-05 03:30 | 746.274
2014-11-05 03:45 | 726.6566
2014-11-05 04:00 | 692.7123
2014-11-05 04:15 | 628.1772
2014-11-05 04:30 | 592.3994
2014-11-05 04:45 | 456.9915
2014-11-05 05:00 | 501.1613
2014-11-05 05:15 | 419.2926
2014-11-05 05:30 | 298.3971
2014-11-05 05:45 | 321.8641
2014-11-05 06:00 | 249.3138
2014-11-05 06:15 | 221.8963
2014-11-05 06:30 | 157.1894
2014-11-05 06:45 | 107.656
2014-11-05 07:00 | 126.6685
2014-11-05 07:15 | 100.164
2014-11-05 07:30 | 130.1089
2014-11-05 07:45 | 147.9621
2014-11-05 08:00 | 143.5074
2014-11-05 08:15 | 267.6971
2014-11-05 08:30 | 383.692
2014-11-05 08:45 | 514.3149
2014-11-05 09:00 | 431.8318
2014-11-05 09:15 | 357.8528
2014-11-05 09:30
2014-11-05 09:45 | 334.6198
2014-11-05 10:00 | 407.488
2014-11-05 10:15 | 534.525
2014-11-05 10:30 | 561.877
2014-11-05 10:45 | 480.9189
2014-11-05 11:00 | 391.8742
2014-11-05 11:15 | 416.0404
2014-11-05 11:30 | 446.6917
2014-11-05 11:45 | 509.9959
2014-11-05 12:00 | 460.4585
2014-11-05 12:15 | 476.3708
2014-11-05 12:30 | 490.2207
2014-11-05 12:45 | 447.2765
2014-11-05 13:00 | 438.7753
2014-11-05 13:15 | 495.5027
2014-11-05 13:30 | 527.176
2014-11-05 13:45 | 499.6209
2014-11-05 14:00 | 501.5682
2014-11-05 14:15 | 530.6319
2014-11-05 14:30 | 566.0209
2014-11-05 14:45 | 534.1301
2014-11-05 15:00 | 541.2628
2014-11-05 15:15 | 485.3981
2014-11-05 15:30 | 496.5205
2014-11-05 15:45 | 490.5363
2014-11-05 16:00 | 472.1342
2014-11-05 16:15 | 531.589
2014-11-05 16:30 | 596.0433
2014-11-05 16:45 | 624.1815
2014-11-05 17:00 | 614.2653
2014-11-05 17:15 | 662.1158
2014-11-05 17:30 | 626.4113
2014-11-05 17:45 | 631.5231
2014-11-05 18:00 | 623.6849
2014-11-05 18:15 | 552.4757
2014-11-05 18:30 | 515.2097
2014-11-05 18:45 | 488.6798
2014-11-05 19:00 | 469.7326
2014-11-05 19:15 | 456.5578
2014-11-05 19:30 | 410.7568
2014-11-05 19:45 | 439.252
2014-11-05 20:00 | 423.0906
2014-11-05 20:15 | 399.5007
2014-11-05 20:30 | 445.0335
2014-11-05 20:45 | 444.3221
2014-11-05 21:00 | 352.313
2014-11-05 21:15 | 402.0615
2014-11-05 21:30 | 575.7262
2014-11-05 21:45 | 627.9893
2014-11-05 22:00 | 578.8422
2014-11-05 22:15 | 563.4679
2014-11-05 22:30 | 601.3743
2014-11-05 22:45 | 716.4138
2014-11-05 23:00 | 747.6199
2014-11-05 23:15 | 678.9922
2014-11-05 23:30 | 760.8929
2014-11-05 23:45 | 747.2105
2014-11-06 | 671.6337
2014-11-06 00:15 | 610.0872
2014-11-06 00:30 | 626.0289
2014-11-06 00:45 | 656.767
2014-11-06 01:00 | 670.0103
2014-11-06 01:15 | 645.4061
2014-11-06 01:30 | 645.8205
2014-11-06 01:45 | 640.3496
2014-11-06 02:00 | 676.5821
2014-11-06 02:15 | 687.3753
2014-11-06 02:30 | 677.5337
2014-11-06 02:45 | 654.8053
2014-11-06 03:00 | 633.498
2014-11-06 03:15 | 675.8199
2014-11-06 03:30 | 690.3985
2014-11-06 03:45 | 647.2877
2014-11-06 04:00 | 622.9036
2014-11-06 04:15 | 625.8974
2014-11-06 04:30 | 632.2292
2014-11-06 04:45 | 675.8104
2014-11-06 05:00 | 661.7246
2014-11-06 05:15 | 615.1564
2014-11-06 05:30 | 508.6942
2014-11-06 05:45 | 447.1589
2014-11-06 06:00 | 380.9302
2014-11-06 06:15 | 523.726
2014-11-06 06:30 | 358.2559
2014-11-06 06:45 | 344.4682
2014-11-06 07:00 | 370.7645
2014-11-06 07:15 | 419.301
2014-11-06 07:30 | 416.4917
2014-11-06 07:45 | 394.2196
2014-11-06 08:00 | 383.5326
2014-11-06 08:15 | 327.7813
2014-11-06 08:30 | 307.5987
2014-11-06 08:45 | 314.1079
2014-11-06 09:00 | 294.4258
2014-11-06 09:15 | 331.6156
2014-11-06 09:30 | 379.6353
2014-11-06 09:45 | 389.2227
2014-11-06 10:00 | 440.5553
2014-11-06 10:15 | 469.9174
2014-11-06 10:30 | 488.605
2014-11-06 10:45 | 492.0085
2014-11-06 11:00 | 449.1622
2014-11-06 11:15 | 484.6213
2014-11-06 11:30 | 558.6769
2014-11-06 11:45 | 560.9961
2014-11-06 12:00 | 560.1803
2014-11-06 12:15 | 526.2809
2014-11-06 12:30 | 500.2482
2014-11-06 12:45 | 505.5177
2014-11-06 13:00 | 517.2872
2014-11-06 13:15 | 515.5392
2014-11-06 13:30 | 575.1365
2014-11-06 13:45 | 622.0303
2014-11-06 14:00 | 564.6954
2014-11-06 14:15 | 610.1729
2014-11-06 14:30 | 723.5951
2014-11-06 14:45 | 845.7858
2014-11-06 15:00 | 881.8666
2014-11-06 15:15 | 901.195
2014-11-06 15:30 | 788.8766
2014-11-06 15:45 | 726.1588
2014-11-06 16:00 | 772.8162
2014-11-06 16:15 | 800.229
2014-11-06 16:30 | 775.9797
2014-11-06 16:45 | 726.1402
2014-11-06 17:00 | 778.2303
2014-11-06 17:15 | 794.088
2014-11-06 17:30 | 744.1083
2014-11-06 17:45 | 729.649
2014-11-06 18:00 | 736.1399
2014-11-06 18:15 | 757.9975
2014-11-06 18:30 | 715.3734
2014-11-06 18:45 | 688.8643
2014-11-06 19:00 | 677.0726
2014-11-06 19:15 | 628.2223
2014-11-06 19:30 | 600.5893
2014-11-06 19:45 | 597.9112
2014-11-06 20:00 | 674.184
2014-11-06 20:15 | 762.4036
2014-11-06 20:30 | 735.3643
2014-11-06 20:45 | 695.119
2014-11-06 21:00 | 702.8237
2014-11-06 21:15 | 771.736
2014-11-06 21:30 | 818.9857
2014-11-06 21:45 | 944.2214
2014-11-06 22:00 | 937.6003
2014-11-06 22:15 | 888.8047
2014-11-06 22:30 | 899.1168
2014-11-06 22:45 | 893.3321
2014-11-06 23:00 | 913.2354
2014-11-06 23:15 | 935.7632
2014-11-06 23:30 | 954.6428
2014-11-06 23:45 | 947.9042
2014-11-07 | 920.7467
2014-11-07 00:15 | 909.1205
2014-11-07 00:30 | 980.9197
2014-11-07 00:45 | 996.2974
2014-11-07 01:00 | 984.4437
2014-11-07 01:15 | 928.98
2014-11-07 01:30 | 927.4976
2014-11-07 01:45 | 925.8052
2014-11-07 02:00 | 920.6949
2014-11-07 02:15 | 935.7664
2014-11-07 02:30 | 921.2025
2014-11-07 02:45 | 911.1932
2014-11-07 03:00 | 925.2958
2014-11-07 03:15 | 951.4326
2014-11-07 03:30 | 948.7248
2014-11-07 03:45 | 925.4566
2014-11-07 04:00 | 908.9579
2014-11-07 04:15 | 843.8649
2014-11-07 04:30 | 800.3456
2014-11-07 04:45 | 734.54
2014-11-07 05:00 | 715.2258
2014-11-07 05:15 | 662.4802
2014-11-07 05:30 | 572.7567
2014-11-07 05:45 | 483.9881
2014-11-07 06:00 | 552.835
2014-11-07 06:15 | 506.0551
2014-11-07 06:30 | 408.246
2014-11-07 06:45 | 416.1361
2014-11-07 07:00 | 408.4767
2014-11-07 07:15 | 401.1714
2014-11-07 07:30 | 380.3718
2014-11-07 07:45 | 369.8986
2014-11-07 08:00 | 358.8253
2014-11-07 08:15 | 464.4781
2014-11-07 08:30 | 524.9472
2014-11-07 08:45 | 473.6942
2014-11-07 09:00 | 540.8251
2014-11-07 09:15 | 492.0295
2014-11-07 09:30 | 440.1902
2014-11-07 09:45 | 419.2846
2014-11-07 10:00 | 403.6375
2014-11-07 10:15 | 432.8649
2014-11-07 10:30 | 445.0169
2014-11-07 10:45 | 450.9384
2014-11-07 11:00 | 467.0307
2014-11-07 11:15 | 537.5283
2014-11-07 11:30 | 581.9524
2014-11-07 11:45 | 546.8981
2014-11-07 12:00 | 479.147
2014-11-07 12:15 | 505.9297
2014-11-07 12:30 | 522.9554
2014-11-07 12:45 | 568.0461
2014-11-07 13:00 | 556.6697
2014-11-07 13:15 | 483.0512
2014-11-07 13:30 | 443.6137
2014-11-07 13:45 | 501.3948
2014-11-07 14:00 | 547.0074
2014-11-07 14:15 | 561.3593
2014-11-07 14:30 | 557.5549
2014-11-07 14:45 | 575.8306
2014-11-07 15:00 | 568.0401
2014-11-07 15:15 | 667.9103
2014-11-07 15:30 | 657.5415
2014-11-07 15:45 | 597.6509
2014-11-07 16:00 | 594.8201
2014-11-07 16:15 | 634.0036
2014-11-07 16:30 | 586.9363
2014-11-07 16:45 | 557.385
2014-11-07 17:00 | 665.8019
2014-11-07 17:15 | 733.5521
2014-11-07 17:30 | 734.3303
2014-11-07 17:45 | 707.735
2014-11-07 18:00 | 694.6073
2014-11-07 18:15 | 686.9186
2014-11-07 18:30 | 712.2343
2014-11-07 18:45 | 705.79
2014-11-07 19:00 | 671.1871
2014-11-07 19:15 | 662.6484
2014-11-07 19:30 | 655.0066
2014-11-07 19:45 | 696.4559
2014-11-07 20:00 | 702.8369
2014-11-07 20:15 | 707.8292
2014-11-07 20:30 | 709.1125
2014-11-07 20:45 | 701.1821
2014-11-07 21:00 | 682.148
2014-11-07 21:15 | 751.9727
2014-11-07 21:30 | 770.2467
2014-11-07 21:45 | 730.262
2014-11-07 22:00 | 631.6044
2014-11-07 22:15 | 522.1237
2014-11-07 22:30 | 463.7726
2014-11-07 22:45 | 485.6142
2014-11-07 23:00 | 494.8855
2014-11-07 23:15 | 676.6379
2014-11-07 23:30 | 715.4612
2014-11-07 23:45 | 675.2566
2014-11-08 | 660.1568
2014-11-08 00:15 | 662.7898
2014-11-08 00:30 | 658.0674
2014-11-08 00:45 | 703.1296
2014-11-08 01:00 | 666.0822
2014-11-08 01:15 | 577.9682
2014-11-08 01:30 | 576.8059
2014-11-08 01:45 | 572.5714
2014-11-08 02:00 | 558.406
2014-11-08 02:15 | 516.7013
2014-11-08 02:30 | 502.4545
2014-11-08 02:45 | 521.6415
2014-11-08 03:00 | 502.5976
2014-11-08 03:15 | 482.284
2014-11-08 03:30 | 511.382
2014-11-08 03:45 | 443.3112
2014-11-08 04:00 | 434.6249
2014-11-08 04:15 | 507.8694
2014-11-08 04:30 | 511.3535
2014-11-08 04:45 | 519.4816
2014-11-08 05:00 | 510.6916
2014-11-08 05:15 | 471.8361
2014-11-08 05:30 | 437.7365
2014-11-08 05:45 | 420.5308
2014-11-08 06:00 | 421.867
2014-11-08 06:15 | 358.8158
2014-11-08 06:30 | 292.5927
2014-11-08 06:45 | 272.6166
2014-11-08 07:00 | 234.0977
2014-11-08 07:15 | 367.0826
2014-11-08 07:30 | 426.4492
2014-11-08 07:45 | 437.4726
2014-11-08 08:00 | 479.376
2014-11-08 08:15 | 492.6925
2014-11-08 08:30 | 453.0182
2014-11-08 08:45 | 439.6613
2014-11-08 09:00 | 487.3473
2014-11-08 09:15 | 471.5515
2014-11-08 09:30 | 435.3636
2014-11-08 09:45 | 436.6947
2014-11-08 10:00 | 445.2462
2014-11-08 10:15 | 382.7928
2014-11-08 10:30 | 405.9732
2014-11-08 10:45 | 436.2552
2014-11-08 11:00 | 454.9112
2014-11-08 11:15 | 566.2419
2014-11-08 11:30 | 635.3538
2014-11-08 11:45 | 656.9622
2014-11-08 12:00 | 650.6521
2014-11-08 12:15 | 639.2342
2014-11-08 12:30 | 644.2677
2014-11-08 12:45 | 693.3665
2014-11-08 13:00 | 708.151
2014-11-08 13:15 | 667.6097
2014-11-08 13:30 | 694.8188
2014-11-08 13:45 | 723.6107
2014-11-08 14:00 | 745.4679
2014-11-08 14:15 | 778.5859
2014-11-08 14:30 | 780.5013
2014-11-08 14:45 | 720.9553
2014-11-08 15:00 | 730.6318
2014-11-08 15:15 | 768.6543
2014-11-08 15:30 | 800.4679
2014-11-08 15:45 | 821.5981
2014-11-08 16:00 | 771.5597
2014-11-08 16:15 | 826.4413
2014-11-08 16:30 | 739.5657
2014-11-08 16:45 | 712.8876
2014-11-08 17:00 | 721.0681
2014-11-08 17:15 | 816.4296
2014-11-08 17:30 | 832.3336
2014-11-08 17:45 | 876.3477
2014-11-08 18:00 | 881.3322
2014-11-08 18:15 | 842.7616
2014-11-08 18:30 | 859.0113
2014-11-08 18:45 | 871.6293
2014-11-08 19:00 | 878.0044
2014-11-08 19:15 | 800.8681
2014-11-08 19:30 | 841.9561
2014-11-08 19:45 | 905.9341
2014-11-08 20:00 | 887.0979
2014-11-08 20:15 | 830.1006
2014-11-08 20:30 | 866.6653
2014-11-08 20:45 | 873.9821
2014-11-08 21:00 | 956.0873
2014-11-08 21:15 | 891.8093
2014-11-08 21:30 | 835.3948
2014-11-08 21:45 | 877.4583
2014-11-08 22:00 | 863.0108
2014-11-08 22:15 | 808.958
2014-11-08 22:30 | 868.4295
2014-11-08 22:45 | 893.1751
2014-11-08 23:00 | 864.4041
2014-11-08 23:15 | 880.5889
2014-11-08 23:30 | 861.2255
2014-11-08 23:45 | 832.2896
2014-11-09 | 799.8024
2014-11-09 00:15 | 760.9984
2014-11-09 00:30 | 818.6182
2014-11-09 00:45 | 914.5975
2014-11-09 01:00 | 879.3134
2014-11-09 01:15 | 767.8086
2014-11-09 01:30 | 803.0981
2014-11-09 01:45 | 753.2723
2014-11-09 02:00 | 803.0504
2014-11-09 02:15 | 893.0103
2014-11-09 02:30 | 790.0345
2014-11-09 02:45 | 764.4555
2014-11-09 03:00 | 794.5614
2014-11-09 03:15 | 791.8449
2014-11-09 03:30 | 785.2806
2014-11-09 03:45 | 790.6573
2014-11-09 04:00 | 763.0081
2014-11-09 04:15 | 727.9318
2014-11-09 04:30 | 665.9696
2014-11-09 04:45 | 629.2704
2014-11-09 05:00 | 647.3157
2014-11-09 05:15 | 699.2219
2014-11-09 05:30 | 696.5761
2014-11-09 05:45 | 672.6213
2014-11-09 06:00 | 700.7167
2014-11-09 06:15 | 727.3235
2014-11-09 06:30 | 789.7681
2014-11-09 06:45 | 842.7945
2014-11-09 07:00 | 789.7208
2014-11-09 07:15 | 822.7819
2014-11-09 07:30 | 799.256
2014-11-09 07:45 | 790.0115
2014-11-09 08:00 | 837.3602
2014-11-09 08:15 | 829.2918
2014-11-09 08:30 | 855.4104
2014-11-09 08:45 | 857.209
2014-11-09 09:00 | 870.7124
2014-11-09 09:15 | 881.0004
2014-11-09 09:30 | 942.2647
2014-11-09 09:45 | 912.7569
2014-11-09 10:00 | 960.5616
2014-11-09 10:15 | 955.4473
2014-11-09 10:30 | 933.6185
2014-11-09 10:45 | 880.677
2014-11-09 11:00 | 875.0562
2014-11-09 11:15 | 900.3586
2014-11-09 11:30 | 921.0104
2014-11-09 11:45 | 888.4788
2014-11-09 12:00 | 858.8058
2014-11-09 12:15 | 910.3759
2014-11-09 12:30 | 971.068
2014-11-09 12:45 | 910.66
2014-11-09 13:00 | 904.6698
2014-11-09 13:15 | 977.5665
2014-11-09 13:30 | 931.6281
2014-11-09 13:45 | 883.4114
2014-11-09 14:00 | 895.6844
2014-11-09 14:15 | 973.9105
2014-11-09 14:30 | 916.03
2014-11-09 14:45 | 930.8066
2014-11-09 15:00 | 994.4398
2014-11-09 15:15 | 1015.1556
2014-11-09 15:30 | 977.8722
2014-11-09 15:45 | 999.4472
2014-11-09 16:00 | 989.5027
2014-11-09 16:15 | 897.7208
2014-11-09 16:30 | 858.4956
2014-11-09 16:45 | 918.0154
2014-11-09 17:00 | 996.9962
2014-11-09 17:15 | 1068.1851
2014-11-09 17:30 | 1084.8975
2014-11-09 17:45 | 1031.9292
2014-11-09 18:00 | 1079.9993
2014-11-09 18:15 | 1115.3099
2014-11-09 18:30 | 1170.8094
2014-11-09 18:45 | 1172.5201
2014-11-09 19:00 | 1118.9579
2014-11-09 19:15 | 1003.1277
2014-11-09 19:30 | 973.537
2014-11-09 19:45 | 974.631
2014-11-09 20:00 | 987.624
2014-11-09 20:15 | 1006.833
2014-11-09 20:30 | 1005.8651
2014-11-09 20:45 | 1050.3939
2014-11-09 21:00 | 1001.8165
2014-11-09 21:15 | 995.5501
2014-11-09 21:30 | 1017.6648
2014-11-09 21:45 | 1002.9941
2014-11-09 22:00 | 1055.135
2014-11-09 22:15 | 964.3596
2014-11-09 22:30 | 906.7194
2014-11-09 22:45 | 989.6244
2014-11-09 23:00 | 997.1481
2014-11-09 23:15 | 962.6385
2014-11-09 23:30 | 964.1861
2014-11-09 23:45 | 957.4615
2014-11-10 | 912.0877
2014-11-10 00:15 | 912.2854
2014-11-10 00:30 | 893.5622
2014-11-10 00:45 | 871.0906
2014-11-10 01:00 | 931.3892
2014-11-10 01:15 | 886.6711
2014-11-10 01:30 | 859.6257
2014-11-10 01:45 | 809.2282
2014-11-10 02:00 | 729.8944
2014-11-10 02:15 | 802.7919
2014-11-10 02:30 | 796.606
2014-11-10 02:45 | 810.7923
2014-11-10 03:00 | 788.5106
2014-11-10 03:15 | 766.1885
2014-11-10 03:30 | 676.7232
2014-11-10 03:45 | 658.331
2014-11-10 04:00 | 714.923
2014-11-10 04:15 | 726.6128
2014-11-10 04:30 | 711.0618
2014-11-10 04:45 | 696.6227
2014-11-10 05:00 | 710.3721
2014-11-10 05:15 | 614.5852
2014-11-10 05:30 | 601.9119
2014-11-10 05:45 | 616.7074
2014-11-10 06:00 | 664.2477
2014-11-10 06:15 | 717.0253
2014-11-10 06:30 | 639.1209
2014-11-10 06:45 | 700.3895
2014-11-10 07:00 | 721.7745
2014-11-10 07:15 | 776.8315
2014-11-10 07:30 | 736.6298
2014-11-10 07:45 | 682.9943
2014-11-10 08:00 | 652.681
2014-11-10 08:15 | 672.2655
2014-11-10 08:30 | 717.6586
2014-11-10 08:45 | 700.7004
2014-11-10 09:00 | 750.3656
2014-11-10 09:15 | 728.6425
2014-11-10 09:30 | 587.3616
2014-11-10 09:45 | 534.1577
2014-11-10 10:00 | 536.6777
2014-11-10 10:15 | 521.2867
2014-11-10 10:30 | 428.0872
2014-11-10 10:45 | 375.8669
2014-11-10 11:00 | 267.9148
2014-11-10 11:15 | 270.7438
2014-11-10 11:30 | 289.5192
2014-11-10 11:45 | 284.3482
2014-11-10 12:00 | 296.3777
2014-11-10 12:15 | 273.6746
2014-11-10 12:30 | 324.2712
2014-11-10 12:45 | 311.1546
2014-11-10 13:00 | 349.4013
2014-11-10 13:15 | 322.5779
2014-11-10 13:30 | 314.3975
2014-11-10 13:45 | 261.6314
2014-11-10 14:00 | 259.4972
2014-11-10 14:15 | 332.2059
2014-11-10 14:30 | 402.4936
2014-11-10 14:45 | 393.0873
2014-11-10 15:00 | 352.4899
2014-11-10 15:15 | 388.8965
2014-11-10 15:30 | 407.9416
2014-11-10 15:45 | 336.3285
2014-11-10 16:00 | 369.4667
2014-11-10 16:15 | 271.3981
2014-11-10 16:30 | 298.1728
2014-11-10 16:45 | 336.281
2014-11-10 17:00 | 323.5576
2014-11-10 17:15 | 383.3166
2014-11-10 17:30 | 453.2192
2014-11-10 17:45 | 483.8689
2014-11-10 18:00 | 452.9116
2014-11-10 18:15 | 373.3863
2014-11-10 18:30 | 357.5025
2014-11-10 18:45 | 442.7979
2014-11-10 19:00 | 419.7304
2014-11-10 19:15 | 372.8235
2014-11-10 19:30 | 394.9981
2014-11-10 19:45 | 362.4992
2014-11-10 20:00 | 367.8593
2014-11-10 20:15 | 396.5399
2014-11-10 20:30 | 396.212
2014-11-10 20:45 | 454.0623
2014-11-10 21:00 | 470.9499
2014-11-10 21:15 | 358.3163
2014-11-10 21:30 | 424.605
2014-11-10 21:45 | 546.6628
2014-11-10 22:00 | 499.0171
2014-11-10 22:15 | 387.9301
2014-11-10 22:30 | 375.841
2014-11-10 22:45 | 386.5251
2014-11-10 23:00 | 409.7551
2014-11-10 23:15 | 362.6678
2014-11-10 23:30 | 319.1385
2014-11-10 23:45 | 348.997
2014-11-11 | 361.3363
2014-11-11 00:15 | 258.2107
2014-11-11 00:30 | 200.1629
2014-11-11 00:45 | 179.8508
2014-11-11 01:00 | 191.4079
2014-11-11 01:15 | 156.5689
2014-11-11 01:30 | 168.1927
2014-11-11 01:45 | 122.1791
2014-11-11 02:00 | 99.1963
2014-11-11 02:15 | 86.8525
2014-11-11 02:30 | 71.1847
2014-11-11 02:45 | 61.0739
2014-11-11 03:00 | 57.9084
2014-11-11 03:15 | 23.828
2014-11-11 03:30 | 24.7926
2014-11-11 03:45 | 19.1261
2014-11-11 04:00 | -27.9319
2014-11-11 04:15 | 29.0349
2014-11-11 04:30 | 24.6437
2014-11-11 04:45 | 10.2212
2014-11-11 05:00 | 21.1328
2014-11-11 05:15 | 72.9089
2014-11-11 05:30 | 91.2601
2014-11-11 05:45 | 83.2763
2014-11-11 06:00 | 38.2146
2014-11-11 06:15 | 151.925
2014-11-11 06:30 | 163.145
2014-11-11 06:45 | 139.7468
2014-11-11 07:00 | 138.0868
2014-11-11 07:15 | 100.7711
2014-11-11 07:30 | 46.1021
2014-11-11 07:45 | 107.1682
2014-11-11 08:00 | 111.3873
2014-11-11 08:15 | -49.6195
2014-11-11 08:30 | -92.6929
2014-11-11 08:45 | -36.2275
2014-11-11 09:00 | -23.8499
2014-11-11 09:15 | 3.37
2014-11-11 09:30 | 6.2421
2014-11-11 09:45 | 6.1241
2014-11-11 10:00 | 40.2475
2014-11-11 10:15 | 39.5486
2014-11-11 10:30 | 58.6894
2014-11-11 10:45 | 53.4572
2014-11-11 11:00 | 63.9861
2014-11-11 11:15 | 48.6797
2014-11-11 11:30 | 57.3372
2014-11-11 11:45 | 61.578
2014-11-11 12:00 | 90.4248
2014-11-11 12:15 | 99.0356
2014-11-11 12:30 | 111.023
2014-11-11 12:45 | 167.0139
2014-11-11 13:00 | 205.4995
2014-11-11 13:15 | 260.8289
2014-11-11 13:30 | 417.6642
2014-11-11 13:45 | 513.5542
2014-11-11 14:00 | 486.1966
2014-11-11 14:15 | 487.4332
2014-11-11 14:30 | 501.1447
2014-11-11 14:45 | 574.2653
2014-11-11 15:00 | 597.8031
2014-11-11 15:15 | 627.5357
2014-11-11 15:30 | 583.2488
2014-11-11 15:45 | 563.9128
2014-11-11 16:00 | 503.491
2014-11-11 16:15 | 508.1617
2014-11-11 16:30 | 471.6435
2014-11-11 16:45 | 522.1097
2014-11-11 17:00 | 535.4102
2014-11-11 17:15 | 517.8165
2014-11-11 17:30 | 497.848
2014-11-11 17:45 | 498.9699
2014-11-11 18:00 | 554.9907
2014-11-11 18:15 | 560.1552
2014-11-11 18:30 | 532.2187
2014-11-11 18:45 | 461.008
2014-11-11 19:00 | 411.314
2014-11-11 19:15 | 429.1051
2014-11-11 19:30 | 392.7904
2014-11-11 19:45 | 341.5414
2014-11-11 20:00 | 374.6095
2014-11-11 20:15 | 462.5247
2014-11-11 20:30 | 491.1571
2014-11-11 20:45 | 465.7803
2014-11-11 21:00 | 439.3701
2014-11-11 21:15 | 449.0922
2014-11-11 21:30 | 436.9822
2014-11-11 21:45 | 363.458
2014-11-11 22:00 | 370.6551
2014-11-11 22:15 | 374.6058
2014-11-11 22:30 | 355.7707
2014-11-11 22:45 | 334.9276
2014-11-11 23:00 | 343.4878
2014-11-11 23:15 | 249.6588
2014-11-11 23:30 | 196.2396
2014-11-11 23:45 | 163.7428
2014-11-12 | 197.434
2014-11-12 00:15 | 110.9956
2014-11-12 00:30 | 88.2348
2014-11-12 00:45 | 51.7915
2014-11-12 01:00 | 44.4506
2014-11-12 01:15 | 13.8572
2014-11-12 01:30 | 3.6085
2014-11-12 01:45 | 24.9445
2014-11-12 02:00 | 33.4208
2014-11-12 02:15 | 102.2798
2014-11-12 02:30 | 103.7664
2014-11-12 02:45 | 85.8709
2014-11-12 03:00 | 94.5843
2014-11-12 03:15 | 86.3859
2014-11-12 03:30 | 55.5029
2014-11-12 03:45 | 29.1316
2014-11-12 04:00 | 74.5113
2014-11-12 04:15 | 68.8071
2014-11-12 04:30 | 25.8102
2014-11-12 04:45 | 39.6089
2014-11-12 05:00 | 88.2774
2014-11-12 05:15 | 130.7463
2014-11-12 05:30 | 31.4872
2014-11-12 05:45 | 0.23917
2014-11-12 06:00 | 47.5317
2014-11-12 06:15 | 51.4422
2014-11-12 06:30 | 39.4544
2014-11-12 06:45 | 48.0268
2014-11-12 07:00 | 15.8459
2014-11-12 07:15 | -69.8231
2014-11-12 07:30 | -130.5512
2014-11-12 07:45 | -132.491
2014-11-12 08:00 | -59.8658
2014-11-12 08:15 | -192.5492
2014-11-12 08:30 | -231.2639
2014-11-12 08:45 | -225.7576
2014-11-12 09:00 | -205.0828
2014-11-12 09:15 | -223.6047
2014-11-12 09:30 | -284.5364
2014-11-12 09:45 | -245.2934
2014-11-12 10:00 | -192.6684
2014-11-12 10:15 | -222.587
2014-11-12 10:30 | -161.6908
2014-11-12 10:45 | -136.4629
2014-11-12 11:00 | -146.328
2014-11-12 11:15 | -100.2164
2014-11-12 11:30 | -34.4916
2014-11-12 11:45 | -43.7024
2014-11-12 12:00 | 9.5831
2014-11-12 12:15 | -24.9616
2014-11-12 12:30 | 21.5609
2014-11-12 12:45 | 15.9001
2014-11-12 13:00 | 32.3152
2014-11-12 13:15 | -13.2688
2014-11-12 13:30
2014-11-12 13:45 | 71.131
2014-11-12 14:00 | 55.2992
2014-11-12 14:15 | -5.4753
2014-11-12 14:30
2014-11-12 14:45 | -67.203
2014-11-12 15:00 | -2.2713
2014-11-12 15:15 | -25.3786
2014-11-12 15:30 | -23.7191
2014-11-12 15:45 | -63.7445
2014-11-12 16:00
2014-11-12 16:15
2014-11-12 16:30 | -123.7265
2014-11-12 16:45 | -100.4291
2014-11-12 17:00 | -40.6103
2014-11-12 17:15 | -75.2437
2014-11-12 17:30 | -115.1877
2014-11-12 17:45 | -196.1373
2014-11-12 18:00 | -152.6897
2014-11-12 18:15 | -146.9909
2014-11-12 18:30 | -120.9307
2014-11-12 18:45 | -150.2235
2014-11-12 19:00 | -124.3453
2014-11-12 19:15 | -17.3009
2014-11-12 19:30 | -114.0801
2014-11-12 19:45 | -86.9974
2014-11-12 20:00 | -77.4901
2014-11-12 20:15 | -12.5821
2014-11-12 20:30 | -67.0749
2014-11-12 20:45 | -73.3026
2014-11-12 21:00 | -42.6717
2014-11-12 21:15 | -31.7218
2014-11-12 21:30 | 70.5713
2014-11-12 21:45 | 94.2559
2014-11-12 22:00 | 149.3835
2014-11-12 22:15 | 231.5546
2014-11-12 22:30 | 225.9483
2014-11-12 22:45 | 213.9371
2014-11-12 23:00 | 183.3545
2014-11-12 23:15 | 96.9119
2014-11-12 23:30 | -17.3436
2014-11-12 23:45 | -10.6781
2014-11-13 | -52.8389
2014-11-13 00:15 | -179.0599
2014-11-13 00:30 | -205.595
2014-11-13 00:45 | -235.0883
2014-11-13 01:00 | -254.6866
2014-11-13 01:15 | -234.2849
2014-11-13 01:30 | -217.8461
2014-11-13 01:45 | -195.9002
2014-11-13 02:00 | -222.0987
2014-11-13 02:15 | -257.2113
2014-11-13 02:30 | -254.4016
2014-11-13 02:45 | -271.5065
2014-11-13 03:00 | -263.7247
2014-11-13 03:15 | -228.8095
2014-11-13 03:30 | -244.1815
2014-11-13 03:45 | -246.7663
2014-11-13 04:00 | -268.7945
2014-11-13 04:15 | -336.6474
2014-11-13 04:30 | -364.6959
2014-11-13 04:45 | -328.4873
2014-11-13 05:00 | -344.0758
2014-11-13 05:15 | -452.5823
2014-11-13 05:30 | -570.259
2014-11-13 05:45 | -550.4888
2014-11-13 06:00 | -584.6039
2014-11-13 06:15 | -606.6476
2014-11-13 06:30 | -569.0602
2014-11-13 06:45 | -533.3389
2014-11-13 07:00 | -535.9583
2014-11-13 07:15 | -541.2013
2014-11-13 07:30 | -563.4888
2014-11-13 07:45 | -519.3209
2014-11-13 08:00 | -498.196
2014-11-13 08:15 | -492.43
2014-11-13 08:30 | -557.9927
2014-11-13 08:45 | -539.6926
2014-11-13 09:00 | -530.9547
2014-11-13 09:15 | -490.7786
2014-11-13 09:30 | -532.7886
2014-11-13 09:45 | -519.8396
2014-11-13 10:00 | -517.5168
2014-11-13 10:15 | -495.744
2014-11-13 10:30 | -462.613
2014-11-13 10:45 | -454.9688
2014-11-13 11:00 | -488.2476
2014-11-13 11:15 | -457.5783
2014-11-13 11:30 | -456.1367
2014-11-13 11:45 | -395.0109
2014-11-13 12:00 | -378.6961
2014-11-13 12:15 | -351.3657
2014-11-13 12:30 | -381.967
2014-11-13 12:45 | -345.0803
2014-11-13 13:00 | -289.6847
2014-11-13 13:15 | -301.7767
2014-11-13 13:30 | -315.9741
2014-11-13 13:45 | -343.8664
2014-11-13 14:00 | -292.368
2014-11-13 14:15 | -237.4668
2014-11-13 14:30 | -263.7971
2014-11-13 14:45 | -361.1127
2014-11-13 15:00 | -425.1789
2014-11-13 15:15 | -563.651
2014-11-13 15:30 | -511.9984
2014-11-13 15:45 | -479.5844
2014-11-13 16:00 | -456.2033
2014-11-13 16:15 | -415.1936
2014-11-13 16:30 | -358.928
2014-11-13 16:45 | -351.5085
2014-11-13 17:00 | -360.8814
2014-11-13 17:15 | -426.0417
2014-11-13 17:30 | -400.334
2014-11-13 17:45 | -413.7476
2014-11-13 18:00 | -426.5531
2014-11-13 18:15 | -261.5435
2014-11-13 18:30 | -198.1275
2014-11-13 18:45 | -131.8188
2014-11-13 19:00 | -230.6252
2014-11-13 19:15 | -214.2679
2014-11-13 19:30 | -302.2597
2014-11-13 19:45 | -339.5365
2014-11-13 20:00 | -378.6597
2014-11-13 20:15 | -340.9325
2014-11-13 20:30 | -348.8618
2014-11-13 20:45 | -338.1653
2014-11-13 21:00 | -329.7674
2014-11-13 21:15 | -374.105
2014-11-13 21:30 | -382.569
2014-11-13 21:45 | -369.9547
2014-11-13 22:00 | -410.4033
2014-11-13 22:15 | -391.5816
2014-11-13 22:30 | -282.3105
2014-11-13 22:45 | -245.3541
2014-11-13 23:00 | -256.1147
2014-11-13 23:15 | -350.1155
2014-11-13 23:30 | -355.1235
2014-11-13 23:45 | -307.169
2014-11-14 | -324.9206
2014-11-14 00:15 | -323.6389
2014-11-14 00:30 | -281.2074
2014-11-14 00:45 | -245.7857
2014-11-14 01:00 | -254.7756
2014-11-14 01:15 | -190.5321
2014-11-14 01:30 | -167.3784
2014-11-14 01:45 | -153.7221
2014-11-14 02:00 | -163.1729
2014-11-14 02:15 | -142.5196
2014-11-14 02:30 | -124.836
2014-11-14 02:45 | -123.2728
2014-11-14 03:00 | -149.5269
2014-11-14 03:15 | -162.6057
2014-11-14 03:30 | -200.8641
2014-11-14 03:45 | -212.2195
2014-11-14 04:00 | -237.4363
2014-11-14 04:15 | -303.2301
2014-11-14 04:30 | -230.4507
2014-11-14 04:45 | -250.2634
2014-11-14 05:00 | -248.238
2014-11-14 05:15 | -184.3266
2014-11-14 05:30 | -225.5352
2014-11-14 05:45 | -260.7565
2014-11-14 06:00 | -256.0873
2014-11-14 06:15 | -223.9499
2014-11-14 06:30 | -309.3835
2014-11-14 06:45 | -290.9585
2014-11-14 07:00 | -263.3762
2014-11-14 07:15 | -119.3955
2014-11-14 07:30 | -73.5403
2014-11-14 07:45 | -115.312
2014-11-14 08:00 | -115.5469
2014-11-14 08:15 | -31.4735
2014-11-14 08:30 | -30.1917
2014-11-14 08:45 | -64.6576
2014-11-14 09:00 | -87.1202
2014-11-14 09:15 | -105.5165
2014-11-14 09:30 | -163.7774
2014-11-14 09:45 | -237.0959
2014-11-14 10:00 | -225.451
2014-11-14 10:15 | -302.3018
2014-11-14 10:30 | -251.3736
2014-11-14 10:45 | -207.488
2014-11-14 11:00 | -191.7861
2014-11-14 11:15 | -165.9998
2014-11-14 11:30 | -119.9946
2014-11-14 11:45 | -109.7157
2014-11-14 12:00 | -91.9357
2014-11-14 12:15 | -153.5149
2014-11-14 12:30 | -95.8606
2014-11-14 12:45 | -151.2996
2014-11-14 13:00 | -175.9809
2014-11-14 13:15 | -209.5375
2014-11-14 13:30 | -210.9342
2014-11-14 13:45 | -179.8349
2014-11-14 14:00 | -176.3214
2014-11-14 14:15 | -191.8278
2014-11-14 14:30 | -162.3049
2014-11-14 14:45 | -234.0314
2014-11-14 15:00 | -253.907
2014-11-14 15:15 | -164.4423
2014-11-14 15:30 | -177.6642
2014-11-14 15:45 | -135.0518
2014-11-14 16:00 | -131.0634
2014-11-14 16:15 | -78.999
2014-11-14 16:30 | -28.3175
2014-11-14 16:45 | -28.3521
2014-11-14 17:00 | 38.3868
2014-11-14 17:15 | -24.3796
2014-11-14 17:30 | -9.5657
2014-11-14 17:45 | -42.8532
2014-11-14 18:00 | -12.5897
2014-11-14 18:15 | 37.436
2014-11-14 18:30 | 74.2193
2014-11-14 18:45 | 95.7116
2014-11-14 19:00 | 81.2317
2014-11-14 19:15 | 94.0178
2014-11-14 19:30 | 87.3742
2014-11-14 19:45 | 32.1537
2014-11-14 20:00 | 93.1069
2014-11-14 20:15 | 195.0715
2014-11-14 20:30 | 191.0672
2014-11-14 20:45 | 181.3391
2014-11-14 21:00 | 150.0638
2014-11-14 21:15 | 25.0287
2014-11-14 21:30 | -50.0475
2014-11-14 21:45 | 16.9733
2014-11-14 22:00 | -20.6102
2014-11-14 22:15 | -16.9652
2014-11-14 22:30 | -11.4913
2014-11-14 22:45 | -21.7224
2014-11-14 23:00 | -64.98
2014-11-14 23:15 | -91.5586
2014-11-14 23:30 | 22.4438
2014-11-14 23:45 | 32.4865
2014-11-15 | 51.7008
2014-11-15 00:15 | 30.2713
2014-11-15 00:30 | 53.2617
2014-11-15 00:45 | 118.8925
2014-11-15 01:00 | 115.5105
2014-11-15 01:15 | 36.4186
2014-11-15 01:30 | 48.4394
2014-11-15 01:45 | 32.9659
2014-11-15 02:00 | 28.2186
2014-11-15 02:15 | 7.7251
2014-11-15 02:30 | 7.7889
2014-11-15 02:45 | 45.053
2014-11-15 03:00 | 65.9781
2014-11-15 03:15 | 44.8545
2014-11-15 03:30 | 24.0584
2014-11-15 03:45 | 7.267
2014-11-15 04:00 | -16.6525
2014-11-15 04:15 | -2.0205
2014-11-15 04:30 | 26.5042
2014-11-15 04:45 | -12.6552
2014-11-15 05:00 | 1.3769
2014-11-15 05:15 | 130.0529
2014-11-15 05:30 | 179.4605
2014-11-15 05:45 | 169.3756
2014-11-15 06:00 | 193.8809
2014-11-15 06:15 | 249.6297
2014-11-15 06:30 | 193.2933
2014-11-15 06:45 | 90.6207
2014-11-15 07:00 | 33.1039
2014-11-15 07:15 | -0.1711
2014-11-15 07:30 | -15.8828
2014-11-15 07:45 | -28.1858
2014-11-15 08:00 | -10.5757
2014-11-15 08:15 | 31.9516
2014-11-15 08:30 | 27.9766
2014-11-15 08:45 | 30.3593
2014-11-15 09:00 | 37.7404
2014-11-15 09:15 | 65.6168
2014-11-15 09:30 | 44.2079
2014-11-15 09:45 | 65.7014
2014-11-15 10:00 | 29.2282
2014-11-15 10:15 | 24.2189
2014-11-15 10:30 | 9.0843
2014-11-15 10:45 | 26.0338
2014-11-15 11:00 | 2.633
2014-11-15 11:15 | 53.9712
2014-11-15 11:30 | 114.9625
2014-11-15 11:45 | 160.3375
2014-11-15 12:00 | 134.3649
2014-11-15 12:15 | 98.885
2014-11-15 12:30 | 140.42
2014-11-15 12:45 | 103.5552
2014-11-15 13:00 | 54.3997
2014-11-15 13:15 | 45.77
2014-11-15 13:30 | 52.1178
2014-11-15 13:45 | 76.669
2014-11-15 14:00 | 62.6351
2014-11-15 14:15 | 12.6156
2014-11-15 14:30 | 55.5708
2014-11-15 14:45 | 39.6138
2014-11-15 15:00 | 97.9324
2014-11-15 15:15 | 95.6448
2014-11-15 15:30 | 113.9052
2014-11-15 15:45 | 92.9001
2014-11-15 16:00 | 93.7717
2014-11-15 16:15 | 189.2481
2014-11-15 16:30 | 191.0146
2014-11-15 16:45 | 270.6656
2014-11-15 17:00 | 399.7053
2014-11-15 17:15 | 371.4367
2014-11-15 17:30 | 309.8503
2014-11-15 17:45 | 313.4136
2014-11-15 18:00 | 322.11
2014-11-15 18:15 | 349.2104
2014-11-15 18:30 | 344.5445
2014-11-15 18:45 | 344.9175
2014-11-15 19:00 | 385.8654
2014-11-15 19:15 | 368.8689
2014-11-15 19:30 | 324.2855
2014-11-15 19:45 | 334.3299
2014-11-15 20:00 | 338.3889
2014-11-15 20:15 | 415.5453
2014-11-15 20:30 | 429.2334
2014-11-15 20:45 | 471.3354
2014-11-15 21:00 | 454.8293
2014-11-15 21:15 | 437.7953
2014-11-15 21:30 | 418.9854
2014-11-15 21:45 | 367.3842
2014-11-15 22:00 | 338.8947
2014-11-15 22:15 | 249.1615
2014-11-15 22:30 | 187.829
2014-11-15 22:45 | 207.8227
2014-11-15 23:00 | 254.6711
2014-11-15 23:15 | 365.6851
2014-11-15 23:30 | 356.0003
2014-11-15 23:45 | 426.9794
2014-11-16 | 480.1283
2014-11-16 00:15 | 329.5209
2014-11-16 00:30 | 216.7734
2014-11-16 00:45 | 148.4314
2014-11-16 01:00 | 147.5882
2014-11-16 01:15 | 170.5154
2014-11-16 01:30 | 229.8919
2014-11-16 01:45 | 218.3905
2014-11-16 02:00 | 199.4793
2014-11-16 02:15 | 187.4339
2014-11-16 02:30 | 234.206
2014-11-16 02:45 | 249.8106
2014-11-16 03:00 | 301.573
2014-11-16 03:15 | 305.8608
2014-11-16 03:30 | 271.2866
2014-11-16 03:45 | 261.3151
2014-11-16 04:00 | 314.8555
2014-11-16 04:15 | 219.8346
2014-11-16 04:30 | 240.8406
2014-11-16 04:45 | 217.2447
2014-11-16 05:00 | 264.6366
2014-11-16 05:15 | 247.0053
2014-11-16 05:30 | 244.3623
2014-11-16 05:45 | 260.8185
2014-11-16 06:00 | 277.122
2014-11-16 06:15 | 367.571
2014-11-16 06:30 | 358.1235
2014-11-16 06:45 | 283.1509
2014-11-16 07:00 | 295.5971
2014-11-16 07:15 | 320.6342
2014-11-16 07:30 | 383.8994
2014-11-16 07:45 | 290.6649
2014-11-16 08:00 | 323.8727
2014-11-16 08:15 | 317.1435
2014-11-16 08:30 | 288.6747
2014-11-16 08:45 | 302.9561
2014-11-16 09:00 | 240.0653
2014-11-16 09:15 | 192.6729
2014-11-16 09:30 | 139.3065
2014-11-16 09:45 | 211.3115
2014-11-16 10:00 | 300.8781
2014-11-16 10:15 | 262.7617
2014-11-16 10:30 | 368.4879
2014-11-16 10:45 | 426.3529
2014-11-16 11:00 | 353.9922
2014-11-16 11:15 | 280.6105
2014-11-16 11:30 | 306.1696
2014-11-16 11:45 | 261.8403
2014-11-16 12:00 | 294.6901
2014-11-16 12:15 | 411.3706
2014-11-16 12:30 | 419.6646
2014-11-16 12:45 | 423.4699
2014-11-16 13:00 | 419.3193
2014-11-16 13:15 | 370.6626
2014-11-16 13:30 | 368.6671
2014-11-16 13:45 | 357.5248
2014-11-16 14:00 | 341.9954
2014-11-16 14:15 | 461.8703
2014-11-16 14:30 | 489.2712
2014-11-16 14:45 | 368.5276
2014-11-16 15:00 | 393.9818
2014-11-16 15:15 | 537.7354
2014-11-16 15:30 | 555.0568
2014-11-16 15:45 | 508.4886
2014-11-16 16:00 | 446.7668
2014-11-16 16:15 | 497.8502
2014-11-16 16:30 | 516.3023
2014-11-16 16:45 | 578.0866
2014-11-16 17:00 | 647.7618
2014-11-16 17:15 | 629.0181
2014-11-16 17:30 | 607.0267
2014-11-16 17:45 | 654.1232
2014-11-16 18:00 | 678.629
2014-11-16 18:15 | 663.1882
2014-11-16 18:30 | 635.9165
2014-11-16 18:45 | 649.6746
2014-11-16 19:00 | 641.5236
2014-11-16 19:15 | 674.6887
2014-11-16 19:30 | 658.1588
2014-11-16 19:45 | 673.3107
2014-11-16 20:00 | 663.8478
2014-11-16 20:15 | 600.8948
2014-11-16 20:30 | 584.7174
2014-11-16 20:45 | 526.0858
2014-11-16 21:00 | 519.6389
2014-11-16 21:15 | 431.083
2014-11-16 21:30 | 354.7953
2014-11-16 21:45 | 362.444
2014-11-16 22:00 | 425.2188
2014-11-16 22:15 | 480.3302
2014-11-16 22:30 | 453.9606
2014-11-16 22:45 | 504.528
2014-11-16 23:00 | 472.9633
2014-11-16 23:15 | 448.3124
2014-11-16 23:30 | 445.4493
2014-11-16 23:45 | 483.2122
2014-11-17 | 493.1685
2014-11-17 00:15 | 544.2356
2014-11-17 00:30 | 529.229
2014-11-17 00:45 | 562.1947
2014-11-17 01:00 | 571.6285
2014-11-17 01:15 | 417.2005
2014-11-17 01:30 | 311.6624
2014-11-17 01:45 | 258.3414
2014-11-17 02:00 | 260.639
2014-11-17 02:15 | 335.8273
2014-11-17 02:30 | 338.732
2014-11-17 02:45 | 307.3339
2014-11-17 03:00 | 337.8837
2014-11-17 03:15 | 345.7353
2014-11-17 03:30 | 381.3449
2014-11-17 03:45 | 406.2399
2014-11-17 04:00 | 403.2572
2014-11-17 04:15 | 329.5184
2014-11-17 04:30 | 273.9204
2014-11-17 04:45 | 229.8498
2014-11-17 05:00 | 281.4038
2014-11-17 05:15 | 170.7592
2014-11-17 05:30 | 46.4981
2014-11-17 05:45 | 39.806
2014-11-17 06:00 | 19.6419
2014-11-17 06:15 | 96.445
2014-11-17 06:30 | 190.5516
2014-11-17 06:45 | 64.8325
2014-11-17 07:00 | 10.3169
2014-11-17 07:15 | -26.682
2014-11-17 07:30 | -87.8991
2014-11-17 07:45 | -91.8749
2014-11-17 08:00 | -57.2093
2014-11-17 08:15 | 23.4995
2014-11-17 08:30 | 3.6015
2014-11-17 08:45 | -14.0687
2014-11-17 09:00 | -13.1246
2014-11-17 09:15 | 35.2662
2014-11-17 09:30 | 27.9064
2014-11-17 09:45 | 33.6453
2014-11-17 10:00 | 69.959
2014-11-17 10:15 | 145.4856
2014-11-17 10:30 | 182.3636
2014-11-17 10:45 | 259.225
2014-11-17 11:00 | 310.6445
2014-11-17 11:15 | 320.3785
2014-11-17 11:30 | 299.696
2014-11-17 11:45 | 158.0412
2014-11-17 12:00 | 152.8743
2014-11-17 12:15 | 168.4123
2014-11-17 12:30 | 211.6789
2014-11-17 12:45 | 185.9408
2014-11-17 13:00 | 125.1954
2014-11-17 13:15 | 113.3026
2014-11-17 13:30 | 113.3801
2014-11-17 13:45 | 92.0387
2014-11-17 14:00 | 115.0981
2014-11-17 14:15 | 110.701
2014-11-17 14:30 | 97.2331
2014-11-17 14:45 | 31.5894
2014-11-17 15:00 | 18.464
2014-11-17 15:15 | 12.507
2014-11-17 15:30 | 21.6069
2014-11-17 15:45 | 59.8374
2014-11-17 16:00 | 119.6281
2014-11-17 16:15 | 74.7965
2014-11-17 16:30 | 34.5726
2014-11-17 16:45 | 14.9141
2014-11-17 17:00 | 156.6728
2014-11-17 17:15 | 232.8572
2014-11-17 17:30 | 153.1597
2014-11-17 17:45 | 118.0984
2014-11-17 18:00 | 123.6347
2014-11-17 18:15 | 103.56
2014-11-17 18:30 | 129.4414
2014-11-17 18:45 | 157.9547
2014-11-17 19:00 | 174.1162
2014-11-17 19:15 | 212.7646
2014-11-17 19:30 | 237.7827
2014-11-17 19:45 | 227.5403
2014-11-17 20:00 | 171.3862
2014-11-17 20:15 | 255.1607
2014-11-17 20:30 | 315.1568
2014-11-17 20:45 | 317.2652
2014-11-17 21:00 | 310.3936
2014-11-17 21:15 | 243.8761
2014-11-17 21:30 | 290.4193
2014-11-17 21:45 | 305.0215
2014-11-17 22:00 | 289.0978
2014-11-17 22:15 | 285.0068
2014-11-17 22:30 | 390.2517
2014-11-17 22:45 | 372.1228
2014-11-17 23:00 | 377.7452
2014-11-17 23:15 | 374.4716
2014-11-17 23:30 | 413.8988
2014-11-17 23:45 | 466.126
2014-11-18 | 439.9726
2014-11-18 00:15 | 452.0965
2014-11-18 00:30 | 492.5282
2014-11-18 00:45 | 504.3717
2014-11-18 01:00 | 493.3942
2014-11-18 01:15 | 454.994
2014-11-18 01:30 | 432.7631
2014-11-18 01:45 | 448.6992
2014-11-18 02:00 | 472.6208
2014-11-18 02:15 | 486.0986
2014-11-18 02:30 | 487.0075
2014-11-18 02:45 | 502.2562
2014-11-18 03:00 | 501.2971
2014-11-18 03:15 | 524.2914
2014-11-18 03:30 | 536.1279
2014-11-18 03:45 | 519.1379
2014-11-18 04:00 | 515.4333
2014-11-18 04:15 | 498.1268
2014-11-18 04:30 | 452.2831
2014-11-18 04:45 | 442.5744
2014-11-18 05:00 | 501.1773
2014-11-18 05:15 | 441.9966
2014-11-18 05:30 | 322.1264
2014-11-18 05:45 | 290.6827
2014-11-18 06:00 | 318.4836
2014-11-18 06:15 | 310.5701
2014-11-18 06:30 | 217.2189
2014-11-18 06:45 | 184.2795
2014-11-18 07:00 | 151.9607
2014-11-18 07:15 | 25.0473
2014-11-18 07:30 | -70.8586
2014-11-18 07:45 | -73.6186
2014-11-18 08:00 | -54.5829
2014-11-18 08:15 | 83.1341
2014-11-18 08:30 | 120.6078
2014-11-18 08:45 | 121.0692
2014-11-18 09:00 | 62.0606
2014-11-18 09:15 | 94.3651
2014-11-18 09:30 | 225.7896
2014-11-18 09:45 | 214.4112
2014-11-18 10:00 | 223.6161
2014-11-18 10:15 | 141.6829
2014-11-18 10:30 | 187.459
2014-11-18 10:45 | 220.5643
2014-11-18 11:00 | 312.3678
2014-11-18 11:15 | 336.766
2014-11-18 11:30 | 382.2224
2014-11-18 11:45 | 435.0722
2014-11-18 12:00 | 450.2169
2014-11-18 12:15 | 399.2242
2014-11-18 12:30 | 341.7496
2014-11-18 12:45 | 358.0334
2014-11-18 13:00 | 348.5741
2014-11-18 13:15 | 247.3774
2014-11-18 13:30 | 180.0322
2014-11-18 13:45 | 225.8982
2014-11-18 14:00 | 238.4746
2014-11-18 14:15 | 312.1238
2014-11-18 14:30 | 305.5698
2014-11-18 14:45 | 323.778
2014-11-18 15:00 | 315.3715
2014-11-18 15:15 | 240.3776
2014-11-18 15:30 | 285.5471
2014-11-18 15:45 | 313.0396
2014-11-18 16:00 | 278.5337
2014-11-18 16:15 | 283.4438
2014-11-18 16:30 | 296.8869
2014-11-18 16:45 | 280.8552
2014-11-18 17:00 | 254.2966
2014-11-18 17:15 | 343.9314
2014-11-18 17:30 | 360.3915
2014-11-18 17:45 | 323.7279
2014-11-18 18:00 | 336.6283
2014-11-18 18:15 | 351.924
2014-11-18 18:30 | 393.5396
2014-11-18 18:45 | 448.7558
2014-11-18 19:00 | 465.9748
2014-11-18 19:15 | 484.1427
2014-11-18 19:30 | 529.9576
2014-11-18 19:45 | 471.3777
2014-11-18 20:00 | 417.7303
2014-11-18 20:15 | 343.1198
2014-11-18 20:30 | 393.2104
2014-11-18 20:45 | 374.2779
2014-11-18 21:00 | 416.8668
2014-11-18 21:15 | 418.4448
2014-11-18 21:30 | 382.5904
2014-11-18 21:45 | 459.3019
2014-11-18 22:00 | 428.3301
2014-11-18 22:15 | 435.9837
2014-11-18 22:30 | 538.3014
2014-11-18 22:45 | 596.6992
2014-11-18 23:00 | 541.6923
2014-11-18 23:15 | 470.9319
2014-11-18 23:30 | 420.4059
2014-11-18 23:45 | 383.7405
2014-11-19 | 426.4358
2014-11-19 00:15 | 409.6656
2014-11-19 00:30 | 386.8791
2014-11-19 00:45 | 405.9551
2014-11-19 01:00 | 417.2734
2014-11-19 01:15 | 415.9472
2014-11-19 01:30 | 363.4164
2014-11-19 01:45 | 298.4626
2014-11-19 02:00 | 305.7905
2014-11-19 02:15 | 274.4177
2014-11-19 02:30 | 348.3625
2014-11-19 02:45 | 319.4832
2014-11-19 03:00 | 286.716
2014-11-19 03:15 | 213.5915
2014-11-19 03:30 | 196.6047
2014-11-19 03:45 | 221.4904
2014-11-19 04:00 | 262.5134
2014-11-19 04:15 | 262.994
2014-11-19 04:30 | 233.1762
2014-11-19 04:45 | 234.9166
2014-11-19 05:00 | 315.6337
2014-11-19 05:15 | 298.433
2014-11-19 05:30 | 193.1012
2014-11-19 05:45 | 136.0456
2014-11-19 06:00 | 145.3125
2014-11-19 06:15 | 96.5311
2014-11-19 06:30 | 7.0733
2014-11-19 06:45 | -24.422
2014-11-19 07:00 | -8.8104
2014-11-19 07:15
2014-11-19 07:30 | -171.6014
2014-11-19 07:45 | -106.5955
2014-11-19 08:00 | -125.1907
2014-11-19 08:15 | 18.6349
2014-11-19 08:30 | 88.9487
2014-11-19 08:45 | 84.416
2014-11-19 09:00 | 91.1619
2014-11-19 09:15 | 50.3073
2014-11-19 09:30 | 15.8786
2014-11-19 09:45 | 59.8277
2014-11-19 10:00 | 75.6162
2014-11-19 10:15 | 118.5201
2014-11-19 10:30 | 121.9471
2014-11-19 10:45 | 210.4307
2014-11-19 11:00 | 172.0201
2014-11-19 11:15 | 152.3134
2014-11-19 11:30 | 172.7294
2014-11-19 11:45 | 205.7639
2014-11-19 12:00 | 214.3272
2014-11-19 12:15 | 207.479
2014-11-19 12:30 | 273.0647
2014-11-19 12:45 | 227.0889
2014-11-19 13:00
2014-11-19 13:15 | 246.8202
2014-11-19 13:30 | 266.321
2014-11-19 13:45 | 300.7755
2014-11-19 14:00 | 283.0562
2014-11-19 14:15 | 195.3298
2014-11-19 14:30 | 169.5557
2014-11-19 14:45 | 230.9587
2014-11-19 15:00 | 232.6596
2014-11-19 15:15 | 175.0348
2014-11-19 15:30 | 173.8763
2014-11-19 15:45 | 172.2698
2014-11-19 16:00 | 180.5776
2014-11-19 16:15 | 104.8145
2014-11-19 16:30 | 105.3023
2014-11-19 16:45 | 72.9664
2014-11-19 17:00 | 91.9681
2014-11-19 17:15 | 226.3723
2014-11-19 17:30 | 250.7737
2014-11-19 17:45 | 250.8227
2014-11-19 18:00 | 147.6249
2014-11-19 18:15 | 90.4445
2014-11-19 18:30 | 112.1832
2014-11-19 18:45 | 163.4711
2014-11-19 19:00 | 170.2209
2014-11-19 19:15 | 135.7857
2014-11-19 19:30 | 133.4937
2014-11-19 19:45 | 175.7546
2014-11-19 20:00 | 180.5316
2014-11-19 20:15 | 147.2747
2014-11-19 20:30 | 130.0466
2014-11-19 20:45 | 168.9757
2014-11-19 21:00 | 192.7213
2014-11-19 21:15 | 208.703
2014-11-19 21:30 | 209.316
2014-11-19 21:45 | 273.3898
2014-11-19 22:00 | 268.0019
2014-11-19 22:15 | 199.4392
2014-11-19 22:30 | 212.5952
2014-11-19 22:45 | 280.2157
2014-11-19 23:00 | 300.4857
2014-11-19 23:15 | 287.2538
2014-11-19 23:30 | 424.4495
2014-11-19 23:45 | 459.3976
2014-11-20 | 460.8481
2014-11-20 00:15 | 505.2329
2014-11-20 00:30 | 518.8685
2014-11-20 00:45 | 569.916
2014-11-20 01:00 | 544.6877
2014-11-20 01:15 | 527.1005
2014-11-20 01:30 | 528.3534
2014-11-20 01:45 | 532.7825
2014-11-20 02:00 | 532.0394
2014-11-20 02:15 | 508.9705
2014-11-20 02:30 | 458.5079
2014-11-20 02:45 | 469.4977
2014-11-20 03:00 | 424.3068
2014-11-20 03:15 | 466.2968
2014-11-20 03:30 | 478.7895
2014-11-20 03:45 | 467.7344
2014-11-20 04:00 | 457.9569
2014-11-20 04:15 | 411.2804
2014-11-20 04:30 | 341.9418
2014-11-20 04:45 | 336.2351
2014-11-20 05:00 | 364.2399
2014-11-20 05:15 | 361.9298
2014-11-20 05:30 | 321.1912
2014-11-20 05:45 | 300.5741
2014-11-20 06:00 | 279.6946
2014-11-20 06:15 | 191.8533
2014-11-20 06:30 | 126.0777
2014-11-20 06:45 | 122.4953
2014-11-20 07:00 | 85.7985
2014-11-20 07:15 | 139.3384
2014-11-20 07:30 | 189.0993
2014-11-20 07:45 | 189.1342
2014-11-20 08:00 | 175.0951
2014-11-20 08:15 | 165.6309
2014-11-20 08:30 | 162.2235
2014-11-20 08:45 | 154.4613
2014-11-20 09:00 | 147.7069
2014-11-20 09:15 | 133.1831
2014-11-20 09:30 | -1.4562
2014-11-20 09:45 | 59.5151
2014-11-20 10:00 | 44.6652
2014-11-20 10:15 | 13.0322
2014-11-20 10:30 | 33.6605
2014-11-20 10:45 | 52.7044
2014-11-20 11:00 | 36.2691
2014-11-20 11:15 | 17.8437
2014-11-20 11:30 | 54.2974
2014-11-20 11:45 | 88.535
2014-11-20 12:00 | 22.1403
2014-11-20 12:15 | 1.4592
2014-11-20 12:30 | 39.4048
2014-11-20 12:45 | 56.502
2014-11-20 13:00 | 48.3191
2014-11-20 13:15 | 11.7394
2014-11-20 13:30 | 78.7613
2014-11-20 13:45 | 89.729
2014-11-20 14:00 | 80.6375
2014-11-20 14:15 | 92.1659
2014-11-20 14:30 | 200.6838
2014-11-20 14:45 | 171.2795
2014-11-20 15:00 | 126.4475
2014-11-20 15:15 | 127.3932
2014-11-20 15:30 | 116.773
2014-11-20 15:45 | 108.1525
2014-11-20 16:00 | 89.4078
2014-11-20 16:15 | 23.2962
2014-11-20 16:30 | 18.5855
2014-11-20 16:45 | 60.0912
2014-11-20 17:00 | 43.7134
2014-11-20 17:15 | 77.5126
2014-11-20 17:30 | 63.7865
2014-11-20 17:45 | 58.3992
2014-11-20 18:00 | 74.5362
2014-11-20 18:15 | 127.1622
2014-11-20 18:30 | 124.9528
2014-11-20 18:45 | 154.6281
2014-11-20 19:00 | 202.491
2014-11-20 19:15 | 179.9748
2014-11-20 19:30 | 191.5172
2014-11-20 19:45 | 209.8883
2014-11-20 20:00 | 255.4207
2014-11-20 20:15 | 329.1786
2014-11-20 20:30 | 390.8873
2014-11-20 20:45 | 403.4647
2014-11-20 21:00 | 358.2015
2014-11-20 21:15 | 420.304
2014-11-20 21:30 | 423.0549
2014-11-20 21:45 | 306.6884
2014-11-20 22:00 | 332.7947
2014-11-20 22:15 | 464.6394
2014-11-20 22:30 | 531.8252
2014-11-20 22:45 | 466.3665
2014-11-20 23:00 | 465.1953
2014-11-20 23:15 | 530.7114
2014-11-20 23:30 | 639.4952
2014-11-20 23:45 | 647.5375
2014-11-21 | 656.2394
2014-11-21 00:15 | 605.363
2014-11-21 00:30 | 502.006
2014-11-21 00:45 | 541.9705
2014-11-21 01:00 | 555.9929
2014-11-21 01:15 | 501.0302
2014-11-21 01:30 | 476.7827
2014-11-21 01:45 | 515.5888
2014-11-21 02:00 | 517.556
2014-11-21 02:15 | 447.489
2014-11-21 02:30 | 487.6765
2014-11-21 02:45 | 483.8644
2014-11-21 03:00 | 436.8637
2014-11-21 03:15 | 384.7134
2014-11-21 03:30 | 318.9214
2014-11-21 03:45 | 249.6791
2014-11-21 04:00 | 238.0852
2014-11-21 04:15 | 299.8274
2014-11-21 04:30 | 301.6762
2014-11-21 04:45 | 301.8145
2014-11-21 05:00 | 332.7257
2014-11-21 05:15 | 378.404
2014-11-21 05:30 | 345.937
2014-11-21 05:45 | 364.7802
2014-11-21 06:00 | 416.2005
2014-11-21 06:15 | 353.4368
2014-11-21 06:30 | 279.1296
2014-11-21 06:45 | 232.366
2014-11-21 07:00 | 264.7361
2014-11-21 07:15 | 280.3529
2014-11-21 07:30 | 290.1638
2014-11-21 07:45 | 257.9482
2014-11-21 08:00 | 330.3049
2014-11-21 08:15 | 400.0136
2014-11-21 08:30 | 404.6224
2014-11-21 08:45 | 496.9827
2014-11-21 09:00 | 323.1012
2014-11-21 09:15 | 87.3392
2014-11-21 09:30 | 71.0218
2014-11-21 09:45 | 51.818
2014-11-21 10:00 | 97.6489
2014-11-21 10:15 | 147.3766
2014-11-21 10:30 | 107.439
2014-11-21 10:45 | 84.8106
2014-11-21 11:00 | 117.334
2014-11-21 11:15 | 68.2007
2014-11-21 11:30 | 72.2677
2014-11-21 11:45 | 57.4005
2014-11-21 12:00 | 60.301
2014-11-21 12:15 | 81.2639
2014-11-21 12:30 | -52.9191
2014-11-21 12:45 | -107.499
2014-11-21 13:00 | -103.5668
2014-11-21 13:15 | -91.7704
2014-11-21 13:30 | -70.5714
2014-11-21 13:45 | 13.7238
2014-11-21 14:00 | 90.7764
2014-11-21 14:15 | 75.7313
2014-11-21 14:30 | -65.3058
2014-11-21 14:45 | 60.6313
2014-11-21 15:00 | 174.3248
2014-11-21 15:15 | 266.1513
2014-11-21 15:30 | 342.4007
2014-11-21 15:45 | 371.891
2014-11-21 16:00 | 339.6177
2014-11-21 16:15 | 193.4394
2014-11-21 16:30 | 213.2278
2014-11-21 16:45 | 231.0751
2014-11-21 17:00 | 257.8557
2014-11-21 17:15 | 292.1332
2014-11-21 17:30 | 293.2322
2014-11-21 17:45 | 226.1046
2014-11-21 18:00 | 220.6915
2014-11-21 18:15 | 328.2621
2014-11-21 18:30 | 388.1027
2014-11-21 18:45 | 424.6194
2014-11-21 19:00 | 447.8999
2014-11-21 19:15 | 381.5454
2014-11-21 19:30 | 392.1685
2014-11-21 19:45 | 466.8911
2014-11-21 20:00 | 483.8083
2014-11-21 20:15 | 453.0799
2014-11-21 20:30 | 481.5379
2014-11-21 20:45 | 407.0014
2014-11-21 21:00 | 316.0726
2014-11-21 21:15 | 327.1525
2014-11-21 21:30 | 358.5635
2014-11-21 21:45 | 372.9565
2014-11-21 22:00 | 437.3669
2014-11-21 22:15 | 502.7988
2014-11-21 22:30 | 412.5844
2014-11-21 22:45 | 339.6348
2014-11-21 23:00 | 362.0619
2014-11-21 23:15 | 403.9309
2014-11-21 23:30 | 487.2866
2014-11-21 23:45 | 511.4708
2014-11-22 | 523.3398
2014-11-22 00:15 | 541.5894
2014-11-22 00:30 | 573.7155
2014-11-22 00:45 | 535.6023
2014-11-22 01:00 | 623.921
2014-11-22 01:15 | 622.9048
2014-11-22 01:30 | 607.737
2014-11-22 01:45 | 603.932
2014-11-22 02:00 | 625.5516
2014-11-22 02:15 | 557.7151
2014-11-22 02:30 | 521.3973
2014-11-22 02:45 | 538.4767
2014-11-22 03:00 | 544.1456
2014-11-22 03:15 | 474.5815
2014-11-22 03:30 | 484.953
2014-11-22 03:45 | 486.9967
2014-11-22 04:00 | 480.1906
2014-11-22 04:15 | 541.4545
2014-11-22 04:30 | 505.4527
2014-11-22 04:45 | 485.4018
2014-11-22 05:00 | 504.2461
2014-11-22 05:15 | 551.1629
2014-11-22 05:30 | 531.1977
2014-11-22 05:45 | 526.5045
2014-11-22 06:00 | 454.4261
2014-11-22 06:15 | 379.274
2014-11-22 06:30 | 364.0811
2014-11-22 06:45 | 385.9002
2014-11-22 07:00 | 310.7228
2014-11-22 07:15 | 257.1372
2014-11-22 07:30 | 271.2529
2014-11-22 07:45 | 197.3284
2014-11-22 08:00 | 161.8217
2014-11-22 08:15 | 232.4597
2014-11-22 08:30 | 352.3454
2014-11-22 08:45 | 349.7242
2014-11-22 09:00 | 344.6747
2014-11-22 09:15 | 312.6029
2014-11-22 09:30 | 313.1049
2014-11-22 09:45 | 467.3771
2014-11-22 10:00 | 362.4529
2014-11-22 10:15 | 316.7475
2014-11-22 10:30 | 276.7945
2014-11-22 10:45 | 104.8881
2014-11-22 11:00 | 142.9584
2014-11-22 11:15 | 157.5007
2014-11-22 11:30 | 165.8093
2014-11-22 11:45 | 187.3644
2014-11-22 12:00 | 159.7738
2014-11-22 12:15 | 210.0511
2014-11-22 12:30 | 294.9575
2014-11-22 12:45 | 276.4681
2014-11-22 13:00 | 249.3912
2014-11-22 13:15 | 160.7371
2014-11-22 13:30 | 49.1389
2014-11-22 13:45 | 26.9097
2014-11-22 14:00 | -65.2712
2014-11-22 14:15 | -68.3597
2014-11-22 14:30 | -76.9582
2014-11-22 14:45 | 30.362
2014-11-22 15:00 | 85.6946
2014-11-22 15:15 | 121.9426
2014-11-22 15:30 | 250.4969
2014-11-22 15:45 | 289.8761
2014-11-22 16:00 | 324.2487
2014-11-22 16:15 | 337.2717
2014-11-22 16:30 | 351.725
2014-11-22 16:45 | 309.3765
2014-11-22 17:00 | 346.3091
2014-11-22 17:15 | 388.5389
2014-11-22 17:30 | 399.0215
2014-11-22 17:45 | 394.8703
2014-11-22 18:00 | 428.291
2014-11-22 18:15 | 394.4619
2014-11-22 18:30 | 465.4483
2014-11-22 18:45 | 480.3174
2014-11-22 19:00 | 511.5865
2014-11-22 19:15 | 450.5979
2014-11-22 19:30 | 458.9785
2014-11-22 19:45 | 489.4514
2014-11-22 20:00 | 394.6795
2014-11-22 20:15 | 378.1207
2014-11-22 20:30 | 384.0428
2014-11-22 20:45 | 430.9929
2014-11-22 21:00 | 475.9913
2014-11-22 21:15 | 513.894
2014-11-22 21:30 | 521.8052
2014-11-22 21:45 | 602.0242
2014-11-22 22:00 | 560.0101
2014-11-22 22:15 | 593.0246
2014-11-22 22:30 | 613.0345
2014-11-22 22:45 | 601.3371
2014-11-22 23:00 | 610.009
2014-11-22 23:15 | 682.9066
2014-11-22 23:30 | 782.6702
2014-11-22 23:45 | 774.2122
2014-11-23 | 680.4022
2014-11-23 00:15 | 580.9804
2014-11-23 00:30 | 478.6855
2014-11-23 00:45 | 511.2939
2014-11-23 01:00 | 558.6316
2014-11-23 01:15 | 510.0957
2014-11-23 01:30 | 400.5931
2014-11-23 01:45 | 386.9539
2014-11-23 02:00 | 369.531
2014-11-23 02:15 | 281.7919
2014-11-23 02:30 | 269.2281
2014-11-23 02:45 | 273.3972
2014-11-23 03:00 | 324.822
2014-11-23 03:15 | 444.1298
2014-11-23 03:30 | 438.9075
2014-11-23 03:45 | 426.2155
2014-11-23 04:00 | 436.1384
2014-11-23 04:15 | 344.5282
2014-11-23 04:30 | 278.6032
2014-11-23 04:45 | 282.3925
2014-11-23 05:00 | 373.3383
2014-11-23 05:15 | 439.0766
2014-11-23 05:30 | 419.4958
2014-11-23 05:45 | 393.9912
2014-11-23 06:00 | 374.6126
2014-11-23 06:15 | 404.4251
2014-11-23 06:30 | 407.1351
2014-11-23 06:45 | 396.7421
2014-11-23 07:00 | 371.8102
2014-11-23 07:15 | 309.9377
2014-11-23 07:30 | 253.2078
2014-11-23 07:45 | 208.9046
2014-11-23 08:00 | 282.04
2014-11-23 08:15 | 173.7729
2014-11-23 08:30 | 218.9103
2014-11-23 08:45 | 225.1684
2014-11-23 09:00 | 143.6101
2014-11-23 09:15 | 43.3779
2014-11-23 09:30 | 29.6784
2014-11-23 09:45 | 103.3932
2014-11-23 10:00 | 88.4387
2014-11-23 10:15 | 63.1462
2014-11-23 10:30 | 40.7875
2014-11-23 10:45 | 62.6255
2014-11-23 11:00 | 45.7123
2014-11-23 11:15 | 46.687
2014-11-23 11:30 | 65.2138
2014-11-23 11:45 | 99.037
2014-11-23 12:00 | 130.0642
2014-11-23 12:15 | 57.2182
2014-11-23 12:30 | 35.5033
2014-11-23 12:45 | 65.8619
2014-11-23 13:00 | 96.5328
2014-11-23 13:15 | 177.6498
2014-11-23 13:30 | 144.6313
2014-11-23 13:45 | 72.2561
2014-11-23 14:00 | 139.1671
2014-11-23 14:15 | 171.065
2014-11-23 14:30 | 189.4473
2014-11-23 14:45 | 314.4031
2014-11-23 15:00 | 292.148
2014-11-23 15:15 | 236.2358
2014-11-23 15:30 | 251.599
2014-11-23 15:45 | 293.0257
2014-11-23 16:00 | 285.4409
2014-11-23 16:15 | 355.1385
2014-11-23 16:30 | 383.4105
2014-11-23 16:45 | 444.9778
2014-11-23 17:00 | 480.4072
2014-11-23 17:15 | 481.0465
2014-11-23 17:30 | 420.026
2014-11-23 17:45 | 420.776
2014-11-23 18:00 | 420.0863
2014-11-23 18:15 | 481.2815
2014-11-23 18:30 | 586.5856
2014-11-23 18:45 | 566.2529
2014-11-23 19:00 | 549.9333
2014-11-23 19:15 | 568.1546
2014-11-23 19:30 | 573.594
2014-11-23 19:45 | 599.4091
2014-11-23 20:00 | 604.3071
2014-11-23 20:15 | 610.6202
2014-11-23 20:30 | 621.6919
2014-11-23 20:45 | 667.698
2014-11-23 21:00 | 695.1403
2014-11-23 21:15 | 671.7101
2014-11-23 21:30 | 595.0097
2014-11-23 21:45 | 616.2669
2014-11-23 22:00 | 617.1824
2014-11-23 22:15 | 673.2587
2014-11-23 22:30 | 702.8142
2014-11-23 22:45 | 665.8811
2014-11-23 23:00 | 672.3739
2014-11-23 23:15 | 719.1038
2014-11-23 23:30 | 801.9162
2014-11-23 23:45 | 831.4368
2014-11-24 | 753.0664
2014-11-24 00:15 | 694.3952
2014-11-24 00:30 | 617.0974
2014-11-24 00:45 | 614.3387
2014-11-24 01:00 | 617.9195
2014-11-24 01:15 | 635.1387
2014-11-24 01:30 | 635.7638
2014-11-24 01:45 | 616.3408
2014-11-24 02:00 | 679.8839
2014-11-24 02:15 | 640.6197
2014-11-24 02:30 | 580.8445
2014-11-24 02:45 | 510.7483
2014-11-24 03:00 | 496.6623
2014-11-24 03:15 | 537.2602
2014-11-24 03:30 | 478.6862
2014-11-24 03:45 | 473.1761
2014-11-24 04:00 | 531.3453
2014-11-24 04:15 | 472.2634
2014-11-24 04:30 | 378.8344
2014-11-24 04:45 | 378.6734
2014-11-24 05:00 | 404.9723
2014-11-24 05:15 | 424.5435
2014-11-24 05:30 | 365.6242
2014-11-24 05:45 | 349.584
2014-11-24 06:00 | 360.5149
2014-11-24 06:15 | 333.7419
2014-11-24 06:30 | 325.2195
2014-11-24 06:45 | 277.165
2014-11-24 07:00 | 258.564
2014-11-24 07:15 | 338.6347
2014-11-24 07:30 | 283.4308
2014-11-24 07:45 | 253.0428
2014-11-24 08:00 | 216.9086
2014-11-24 08:15 | 263.8968
2014-11-24 08:30 | 292.7297
2014-11-24 08:45 | 313.3969
2014-11-24 09:00 | 327.7239
2014-11-24 09:15 | 296.8576
2014-11-24 09:30 | 188.333
2014-11-24 09:45 | 212.7806
2014-11-24 10:00 | 206.3078
2014-11-24 10:15 | 225.3877
2014-11-24 10:30 | 252.2178
2014-11-24 10:45 | 235.3512
2014-11-24 11:00 | 208.1127
2014-11-24 11:15 | 200.5909
2014-11-24 11:30 | 176.4317
2014-11-24 11:45 | 148.5511
2014-11-24 12:00 | 167.7815
2014-11-24 12:15 | 141.6033
2014-11-24 12:30 | 185.6825
2014-11-24 12:45 | 218.4948
2014-11-24 13:00 | 234.2433
2014-11-24 13:15 | 213.8381
2014-11-24 13:30 | 235.3496
2014-11-24 13:45 | 233.5424
2014-11-24 14:00 | 261.5155
2014-11-24 14:15 | 316.0925
2014-11-24 14:30 | 369.4297
2014-11-24 14:45 | 354.0765
2014-11-24 15:00 | 418.2878
2014-11-24 15:15 | 438.5714
2014-11-24 15:30 | 492.3109
2014-11-24 15:45 | 515.9456
2014-11-24 16:00 | 482.736
2014-11-24 16:15 | 314.4511
2014-11-24 16:30 | 260.9474
2014-11-24 16:45 | 177.7631
2014-11-24 17:00 | 199.558
2014-11-24 17:15 | 242.1675
2014-11-24 17:30 | 321.7759
2014-11-24 17:45 | 294.3036
2014-11-24 18:00 | 304.3883
2014-11-24 18:15 | 363.4932
2014-11-24 18:30 | 415.3775
2014-11-24 18:45 | 459.1989
2014-11-24 19:00 | 451.0696
2014-11-24 19:15 | 379.2448
2014-11-24 19:30 | 355.144
2014-11-24 19:45 | 328.8233
2014-11-24 20:00 | 322.2479
2014-11-24 20:15 | 318.192
2014-11-24 20:30 | 338.7403
2014-11-24 20:45 | 340.1095
2014-11-24 21:00 | 381.3972
2014-11-24 21:15 | 528.1733
2014-11-24 21:30 | 536.2238
2014-11-24 21:45 | 542.3514
2014-11-24 22:00 | 533.4609
2014-11-24 22:15 | 534.9114
2014-11-24 22:30 | 525.55
2014-11-24 22:45 | 525.2794
2014-11-24 23:00 | 456.4005
2014-11-24 23:15 | 515.3315
2014-11-24 23:30 | 620.2453
2014-11-24 23:45 | 641.0065
2014-11-25 | 624.3784
2014-11-25 00:15 | 643.5863
2014-11-25 00:30 | 741.9141
2014-11-25 00:45 | 739.8959
2014-11-25 01:00 | 744.6718
2014-11-25 01:15 | 700.6992
2014-11-25 01:30 | 732.0099
2014-11-25 01:45 | 745.429
2014-11-25 02:00 | 707.431
2014-11-25 02:15 | 675.0434
2014-11-25 02:30 | 649.4089
2014-11-25 02:45 | 686.4205
2014-11-25 03:00 | 665.3581
2014-11-25 03:15 | 581.8561
2014-11-25 03:30 | 576.0001
2014-11-25 03:45 | 575.0809
2014-11-25 04:00 | 622.191
2014-11-25 04:15 | 612.6823
2014-11-25 04:30 | 591.7983
2014-11-25 04:45 | 593.7831
2014-11-25 05:00 | 574.4591
2014-11-25 05:15 | 631.058
2014-11-25 05:30 | 633.3694
2014-11-25 05:45 | 642.4952
2014-11-25 06:00 | 615.3708
2014-11-25 06:15 | 561.0833
2014-11-25 06:30 | 407.6054
2014-11-25 06:45 | 353.9414
2014-11-25 07:00 | 401.9685
2014-11-25 07:15 | 460.1066
2014-11-25 07:30 | 455.7465
2014-11-25 07:45 | 469.5688
2014-11-25 08:00 | 483.3837
2014-11-25 08:15 | 431.8036
2014-11-25 08:30 | 345.6613
2014-11-25 08:45 | 372.5789
2014-11-25 09:00 | 386.9203
2014-11-25 09:15 | 366.7668
2014-11-25 09:30 | 343.9649
2014-11-25 09:45 | 392.9713
2014-11-25 10:00 | 436.1552
2014-11-25 10:15 | 351.283
2014-11-25 10:30 | 302.4869
2014-11-25 10:45 | 269.9831
2014-11-25 11:00 | 323.7917
2014-11-25 11:15 | 329.1847
2014-11-25 11:30 | 333.1601
2014-11-25 11:45 | 405.2759
2014-11-25 12:00 | 390.1418
2014-11-25 12:15 | 317.7003
2014-11-25 12:30 | 280.5684
2014-11-25 12:45 | 331.197
2014-11-25 13:00 | 371.0143
2014-11-25 13:15 | 394.034
2014-11-25 13:30 | 386.5317
2014-11-25 13:45 | 407.3143
2014-11-25 14:00 | 395.0461
2014-11-25 14:15 | 371.7269
2014-11-25 14:30 | 303.4537
2014-11-25 14:45 | 270.1974
2014-11-25 15:00 | 231.3704
2014-11-25 15:15 | 224.4583
2014-11-25 15:30 | 255.7007
2014-11-25 15:45 | 261.5238
2014-11-25 16:00 | 281.0891
2014-11-25 16:15 | 378.449
2014-11-25 16:30 | 388.7236
2014-11-25 16:45
2014-11-25 17:00
2014-11-25 17:15
2014-11-25 17:30
2014-11-25 17:45
2014-11-25 18:00
2014-11-25 18:15
2014-11-25 18:30
2014-11-25 18:45
2014-11-25 19:00 | 443.8792
2014-11-25 19:15
2014-11-25 19:30
2014-11-25 19:45
2014-11-25 20:00
2014-11-25 20:15
2014-11-25 20:30
2014-11-25 20:45
2014-11-25 21:00
2014-11-25 21:15
2014-11-25 21:30
2014-11-25 21:45
2014-11-25 22:00
2014-11-25 22:15
2014-11-25 22:30
2014-11-25 22:45
2014-11-25 23:00
2014-11-25 23:15
2014-11-25 23:30
2014-11-25 23:45
2014-11-26
2014-11-26 00:15
2014-11-26 00:30
2014-11-26 00:45
2014-11-26 01:00
2014-11-26 01:15
2014-11-26 01:30
2014-11-26 01:45
2014-11-26 02:00
2014-11-26 02:15
2014-11-26 02:30
2014-11-26 02:45
2014-11-26 03:00
2014-11-26 03:15
2014-11-26 03:30
2014-11-26 03:45
2014-11-26 04:00
2014-11-26 04:15
2014-11-26 04:30
2014-11-26 04:45
2014-11-26 05:00
2014-11-26 05:15
2014-11-26 05:30
2014-11-26 05:45
2014-11-26 06:00
2014-11-26 06:15
2014-11-26 06:30
2014-11-26 06:45
2014-11-26 07:00
2014-11-26 07:15
2014-11-26 07:30
2014-11-26 07:45
2014-11-26 08:00
2014-11-26 08:15
2014-11-26 08:30
2014-11-26 08:45
2014-11-26 09:00
2014-11-26 09:15
2014-11-26 09:30
2014-11-26 09:45
2014-11-26 10:00
2014-11-26 10:15
2014-11-26 10:30
2014-11-26 10:45
2014-11-26 11:00
2014-11-26 11:15
2014-11-26 11:30
2014-11-26 11:45
2014-11-26 12:00
2014-11-26 12:15
2014-11-26 12:30
2014-11-26 12:45
2014-11-26 13:00
2014-11-26 13:15
2014-11-26 13:30
2014-11-26 13:45
2014-11-26 14:00
2014-11-26 14:15
2014-11-26 14:30
2014-11-26 14:45
2014-11-26 15:00
2014-11-26 15:15
2014-11-26 15:30
2014-11-26 15:45
2014-11-26 16:00
2014-11-26 16:15
2014-11-26 16:30
2014-11-26 16:45
2014-11-26 17:00
2014-11-26 17:15
2014-11-26 17:30
2014-11-26 17:45
2014-11-26 18:00
2014-11-26 18:15
2014-11-26 18:30
2014-11-26 18:45
2014-11-26 19:00
2014-11-26 19:15
2014-11-26 19:30
2014-11-26 19:45
2014-11-26 20:00
2014-11-26 20:15
2014-11-26 20:30
2014-11-26 20:45
2014-11-26 21:00
2014-11-26 21:15
2014-11-26 21:30
2014-11-26 21:45
2014-11-26 22:00
2014-11-26 22:15
2014-11-26 22:30
2014-11-26 22:45
2014-11-26 23:00
2014-11-26 23:15
2014-11-26 23:30
2014-11-26 23:45
2014-11-27
2014-11-27 00:15
2014-11-27 00:30
2014-11-27 00:45
2014-11-27 01:00
2014-11-27 01:15
2014-11-27 01:30
2014-11-27 01:45
2014-11-27 02:00
2014-11-27 02:15
2014-11-27 02:30
2014-11-27 02:45
2014-11-27 03:00
2014-11-27 03:15
2014-11-27 03:30
2014-11-27 03:45
2014-11-27 04:00
2014-11-27 04:15
2014-11-27 04:30
2014-11-27 04:45
2014-11-27 05:00
2014-11-27 05:15
2014-11-27 05:30
2014-11-27 05:45
2014-11-27 06:00
2014-11-27 06:15
2014-11-27 06:30
2014-11-27 06:45
2014-11-27 07:00
2014-11-27 07:15
2014-11-27 07:30
2014-11-27 07:45
2014-11-27 08:00
2014-11-27 08:15
2014-11-27 08:30
2014-11-27 08:45
2014-11-27 09:00
2014-11-27 09:15
2014-11-27 09:30
2014-11-27 09:45
2014-11-27 10:00
2014-11-27 10:15
2014-11-27 10:30
2014-11-27 10:45
2014-11-27 11:00
2014-11-27 11:15
2014-11-27 11:30
2014-11-27 11:45
2014-11-27 12:00
2014-11-27 12:15
2014-11-27 12:30
2014-11-27 12:45
2014-11-27 13:00
2014-11-27 13:15
2014-11-27 13:30
2014-11-27 13:45
2014-11-27 14:00
2014-11-27 14:15
2014-11-27 14:30
2014-11-27 14:45
2014-11-27 15:00
2014-11-27 15:15
2014-11-27 15:30
2014-11-27 15:45
2014-11-27 16:00
2014-11-27 16:15
2014-11-27 16:30
2014-11-27 16:45
2014-11-27 17:00
2014-11-27 17:15
2014-11-27 17:30
2014-11-27 17:45
2014-11-27 18:00
2014-11-27 18:15
2014-11-27 18:30
2014-11-27 18:45
2014-11-27 19:00
2014-11-27 19:15
2014-11-27 19:30
2014-11-27 19:45
2014-11-27 20:00
2014-11-27 20:15
2014-11-27 20:30
2014-11-27 20:45
2014-11-27 21:00
2014-11-27 21:15
2014-11-27 21:30
2014-11-27 21:45
2014-11-27 22:00
2014-11-27 22:15
2014-11-27 22:30
2014-11-27 22:45
2014-11-27 23:00
2014-11-27 23:15
2014-11-27 23:30
2014-11-27 23:45
2014-11-28
2014-11-28 00:15
2014-11-28 00:30
2014-11-28 00:45
2014-11-28 01:00
2014-11-28 01:15
2014-11-28 01:30
2014-11-28 01:45
2014-11-28 02:00
2014-11-28 02:15
2014-11-28 02:30
2014-11-28 02:45
2014-11-28 03:00
2014-11-28 03:15
2014-11-28 03:30
2014-11-28 03:45
2014-11-28 04:00
2014-11-28 04:15
2014-11-28 04:30
2014-11-28 04:45
2014-11-28 05:00
2014-11-28 05:15
2014-11-28 05:30
2014-11-28 05:45
2014-11-28 06:00
2014-11-28 06:15
2014-11-28 06:30
2014-11-28 06:45
2014-11-28 07:00
2014-11-28 07:15
2014-11-28 07:30
2014-11-28 07:45
2014-11-28 08:00
2014-11-28 08:15
2014-11-28 08:30
2014-11-28 08:45
2014-11-28 09:00
2014-11-28 09:15
2014-11-28 09:30
2014-11-28 09:45
2014-11-28 10:00
2014-11-28 10:15
2014-11-28 10:30
2014-11-28 10:45
2014-11-28 11:00
2014-11-28 11:15
2014-11-28 11:30
2014-11-28 11:45
2014-11-28 12:00
2014-11-28 12:15
2014-11-28 12:30
2014-11-28 12:45
2014-11-28 13:00
2014-11-28 13:15
2014-11-28 13:30
2014-11-28 13:45
2014-11-28 14:00
2014-11-28 14:15
2014-11-28 14:30
2014-11-28 14:45
2014-11-28 15:00
2014-11-28 15:15
2014-11-28 15:30
2014-11-28 15:45
2014-11-28 16:00
2014-11-28 16:15
2014-11-28 16:30
2014-11-28 16:45
2014-11-28 17:00
2014-11-28 17:15
2014-11-28 17:30
2014-11-28 17:45
2014-11-28 18:00
2014-11-28 18:15
2014-11-28 18:30
2014-11-28 18:45
2014-11-28 19:00
2014-11-28 19:15
2014-11-28 19:30
2014-11-28 19:45
2014-11-28 20:00
2014-11-28 20:15
2014-11-28 20:30
2014-11-28 20:45
2014-11-28 21:00
2014-11-28 21:15
2014-11-28 21:30
2014-11-28 21:45
2014-11-28 22:00
2014-11-28 22:15
2014-11-28 22:30
2014-11-28 22:45
2014-11-28 23:00
2014-11-28 23:15
2014-11-28 23:30
2014-11-28 23:45
2014-11-29
2014-11-29 00:15
2014-11-29 00:30
2014-11-29 00:45
2014-11-29 01:00
2014-11-29 01:15
2014-11-29 01:30
2014-11-29 01:45
2014-11-29 02:00
2014-11-29 02:15
2014-11-29 02:30
2014-11-29 02:45
2014-11-29 03:00
2014-11-29 03:15
2014-11-29 03:30
2014-11-29 03:45
2014-11-29 04:00
2014-11-29 04:15
2014-11-29 04:30
2014-11-29 04:45
2014-11-29 05:00
2014-11-29 05:15
2014-11-29 05:30
2014-11-29 05:45
2014-11-29 06:00
2014-11-29 06:15
2014-11-29 06:30
2014-11-29 06:45
2014-11-29 07:00
2014-11-29 07:15
2014-11-29 07:30
2014-11-29 07:45
2014-11-29 08:00
2014-11-29 08:15
2014-11-29 08:30
2014-11-29 08:45
2014-11-29 09:00
2014-11-29 09:15
2014-11-29 09:30
2014-11-29 09:45
2014-11-29 10:00
2014-11-29 10:15
2014-11-29 10:30
2014-11-29 10:45
2014-11-29 11:00
2014-11-29 11:15
2014-11-29 11:30
2014-11-29 11:45
2014-11-29 12:00
2014-11-29 12:15
2014-11-29 12:30
2014-11-29 12:45
2014-11-29 13:00
2014-11-29 13:15
2014-11-29 13:30
2014-11-29 13:45
2014-11-29 14:00
2014-11-29 14:15
2014-11-29 14:30
2014-11-29 14:45
2014-11-29 15:00
2014-11-29 15:15
2014-11-29 15:30
2014-11-29 15:45
2014-11-29 16:00
2014-11-29 16:15
2014-11-29 16:30
2014-11-29 16:45
2014-11-29 17:00
2014-11-29 17:15
2014-11-29 17:30
2014-11-29 17:45
2014-11-29 18:00
2014-11-29 18:15
2014-11-29 18:30
2014-11-29 18:45
2014-11-29 19:00
2014-11-29 19:15
2014-11-29 19:30
2014-11-29 19:45
2014-11-29 20:00
2014-11-29 20:15
2014-11-29 20:30
2014-11-29 20:45
2014-11-29 21:00
2014-11-29 21:15
2014-11-29 21:30
2014-11-29 21:45
2014-11-29 22:00
2014-11-29 22:15
2014-11-29 22:30
2014-11-29 22:45
2014-11-29 23:00
2014-11-29 23:15
2014-11-29 23:30
2014-11-29 23:45
2014-11-30
2014-11-30 00:15
2014-11-30 00:30
2014-11-30 00:45
2014-11-30 01:00
2014-11-30 01:15
2014-11-30 01:30
2014-11-30 01:45
2014-11-30 02:00
2014-11-30 02:15
2014-11-30 02:30
2014-11-30 02:45
2014-11-30 03:00
2014-11-30 03:15
2014-11-30 03:30
2014-11-30 03:45
2014-11-30 04:00
2014-11-30 04:15
2014-11-30 04:30
2014-11-30 04:45
2014-11-30 05:00
2014-11-30 05:15
2014-11-30 05:30
2014-11-30 05:45
2014-11-30 06:00
2014-11-30 06:15
2014-11-30 06:30
2014-11-30 06:45
2014-11-30 07:00
2014-11-30 07:15
2014-11-30 07:30
2014-11-30 07:45
2014-11-30 08:00
2014-11-30 08:15
2014-11-30 08:30
2014-11-30 08:45
2014-11-30 09:00
2014-11-30 09:15
2014-11-30 09:30
2014-11-30 09:45
2014-11-30 10:00
2014-11-30 10:15
2014-11-30 10:30
2014-11-30 10:45
2014-11-30 11:00
2014-11-30 11:15
2014-11-30 11:30
2014-11-30 11:45
2014-11-30 12:00
2014-11-30 12:15
2014-11-30 12:30
2014-11-30 12:45
2014-11-30 13:00
2014-11-30 13:15
2014-11-30 13:30
2014-11-30 13:45
2014-11-30 14:00
2014-11-30 14:15
2014-11-30 14:30
2014-11-30 14:45
2014-11-30 15:00
2014-11-30 15:15
2014-11-30 15:30
2014-11-30 15:45
2014-11-30 16:00
2014-11-30 16:15
2014-11-30 16:30
2014-11-30 16:45
2014-11-30 17:00
2014-11-30 17:15
2014-11-30 17:30
2014-11-30 17:45
2014-11-30 18:00
2014-11-30 18:15
2014-11-30 18:30
2014-11-30 18:45
2014-11-30 19:00
2014-11-30 19:15
2014-11-30 19:30
2014-11-30 19:45
2014-11-30 20:00
2014-11-30 20:15
2014-11-30 20:30
2014-11-30 20:45
2014-11-30 21:00
2014-11-30 21:15
2014-11-30 21:30
2014-11-30 21:45
2014-11-30 22:00
2014-11-30 22:15
2014-11-30 22:30
2014-11-30 22:45
2014-11-30 23:00
2014-11-30 23:15
2014-11-30 23:30
2014-11-30 23:45
2014-12-01

## Notes
TOT.2 PATH
Actual Loadings: 11/01/14 - 12/01/14 (31 Days)
Source: 15-minute average of 2-second SCADA MW readings via PI,
as received at BPA from Interutility Data Exchange
SCADA/PI Point PACE.GEN.230kV.MW.41829 (TOT.2: Actual)
Actual Averages, All Hours: 356. Heavy Hours Only: 285. Light Hours Only: 444.
BPA Technical Operations/TOT-OpInfo@bpa.gov/Dec 01, 2014
Actual Averages, All Hours: 356. Heavy Hours Only: 285. Light Hours Only: 444.
BPA Technical Operations/TOT-OpInfo@bpa.gov/Dec 01, 2014