## Data
TOT.2 PATH
See Notes tab for additional details
Date/Period Ending | TOT.2 (NE/SE) Path: Actual (41829)
2017-01-01 00:15 | 466.1804
2017-01-01 00:30 | 461.2679
2017-01-01 00:45 | 483.6526
2017-01-01 01:00 | 454.9321
2017-01-01 01:15 | 421.1859
2017-01-01 01:30 | 455.9119
2017-01-01 01:45 | 526.0752
2017-01-01 02:00 | 480.0308
2017-01-01 02:15 | 472.5002
2017-01-01 02:30 | 497.2959
2017-01-01 02:45 | 467.602
2017-01-01 03:00 | 411.2827
2017-01-01 03:15 | 430.6501
2017-01-01 03:30 | 415.4279
2017-01-01 03:45 | 369.8209
2017-01-01 04:00 | 312.5416
2017-01-01 04:15 | 297.6597
2017-01-01 04:30 | 265.7317
2017-01-01 04:45 | 261.1801
2017-01-01 05:00 | 253.7179
2017-01-01 05:15 | 268.1548
2017-01-01 05:30 | 254.4913
2017-01-01 05:45 | 264.8759
2017-01-01 06:00 | 291.1557
2017-01-01 06:15 | 320.317
2017-01-01 06:30 | 387.1299
2017-01-01 06:45 | 456.8003
2017-01-01 07:00 | 569.0774
2017-01-01 07:15 | 597.1013
2017-01-01 07:30 | 576.8665
2017-01-01 07:45 | 523.4267
2017-01-01 08:00 | 434.1421
2017-01-01 08:15 | 503.3631
2017-01-01 08:30 | 498.1805
2017-01-01 08:45 | 359.6846
2017-01-01 09:00 | 215.3066
2017-01-01 09:15 | 79.0263
2017-01-01 09:30 | 16.5542
2017-01-01 09:45 | 0.19087
2017-01-01 10:00 | -123.7614
2017-01-01 10:15 | -257.9631
2017-01-01 10:30 | -239.8388
2017-01-01 10:45 | -122.2376
2017-01-01 11:00 | -68.2491
2017-01-01 11:15 | -93.0416
2017-01-01 11:30 | -223.2287
2017-01-01 11:45 | -195.6673
2017-01-01 12:00 | -173.2602
2017-01-01 12:15 | -169.869
2017-01-01 12:30 | -168.6101
2017-01-01 12:45 | -161.5329
2017-01-01 13:00 | -122.6854
2017-01-01 13:15 | -141.231
2017-01-01 13:30 | -161.7869
2017-01-01 13:45 | -244.5058
2017-01-01 14:00 | -300.4113
2017-01-01 14:15 | -216.0892
2017-01-01 14:30 | -189.8299
2017-01-01 14:45 | -174.6554
2017-01-01 15:00 | -163.0634
2017-01-01 15:15 | -98.4634
2017-01-01 15:30 | -84.3521
2017-01-01 15:45 | -2.4233
2017-01-01 16:00 | 139.4734
2017-01-01 16:15 | 276.3551
2017-01-01 16:30 | 335.3365
2017-01-01 16:45 | 286.9072
2017-01-01 17:00 | 367.9823
2017-01-01 17:15 | 365.5441
2017-01-01 17:30 | 433.0804
2017-01-01 17:45 | 544.7267
2017-01-01 18:00 | 592.181
2017-01-01 18:15 | 490.1092
2017-01-01 18:30 | 495.0792
2017-01-01 18:45 | 485.156
2017-01-01 19:00 | 460.7199
2017-01-01 19:15 | 436.4278
2017-01-01 19:30 | 457.6227
2017-01-01 19:45 | 402.8718
2017-01-01 20:00 | 377.7039
2017-01-01 20:15 | 431.6884
2017-01-01 20:30 | 420.0449
2017-01-01 20:45 | 433.7963
2017-01-01 21:00 | 429.3084
2017-01-01 21:15 | 349.0333
2017-01-01 21:30 | 334.0371
2017-01-01 21:45 | 378.3341
2017-01-01 22:00 | 347.269
2017-01-01 22:15 | 338.2445
2017-01-01 22:30 | 380.6672
2017-01-01 22:45 | 404.2473
2017-01-01 23:00 | 377.3871
2017-01-01 23:15 | 327.0699
2017-01-01 23:30 | 369.1712
2017-01-01 23:45 | 375.2274
2017-01-02 | 372.7389
2017-01-02 00:15 | 406.8102
2017-01-02 00:30 | 401.0863
2017-01-02 00:45 | 337.2761
2017-01-02 01:00 | 327.3082
2017-01-02 01:15 | 298.9936
2017-01-02 01:30 | 271.8988
2017-01-02 01:45 | 189.7635
2017-01-02 02:00 | 175.933
2017-01-02 02:15 | 173.1114
2017-01-02 02:30 | 162.9168
2017-01-02 02:45 | 154.235
2017-01-02 03:00 | 125.9816
2017-01-02 03:15 | 87.5048
2017-01-02 03:30 | 70.021
2017-01-02 03:45 | 69.6598
2017-01-02 04:00 | 126.811
2017-01-02 04:15 | 161.1493
2017-01-02 04:30 | 211.2809
2017-01-02 04:45 | 247.0855
2017-01-02 05:00 | 273.4818
2017-01-02 05:15 | 303.8508
2017-01-02 05:30 | 308.9153
2017-01-02 05:45 | 325.6218
2017-01-02 06:00 | 305.0301
2017-01-02 06:15 | 359.693
2017-01-02 06:30 | 342.3269
2017-01-02 06:45 | 352.7872
2017-01-02 07:00 | 389.4227
2017-01-02 07:15 | 372.6653
2017-01-02 07:30 | 344.1821
2017-01-02 07:45 | 291.8213
2017-01-02 08:00 | 307.7827
2017-01-02 08:15 | 307.9471
2017-01-02 08:30 | 299.4269
2017-01-02 08:45 | 268.9463
2017-01-02 09:00 | 312.6396
2017-01-02 09:15 | 288.7623
2017-01-02 09:30 | 319.8211
2017-01-02 09:45 | 307.8437
2017-01-02 10:00 | 266.7108
2017-01-02 10:15 | 302.2856
2017-01-02 10:30 | 408.1495
2017-01-02 10:45 | 464.3955
2017-01-02 11:00 | 387.1299
2017-01-02 11:15 | 358.9848
2017-01-02 11:30 | 383.6475
2017-01-02 11:45 | 396.7523
2017-01-02 12:00 | 425.8276
2017-01-02 12:15 | 446.2044
2017-01-02 12:30 | 482.1393
2017-01-02 12:45 | 501.2192
2017-01-02 13:00 | 457.008
2017-01-02 13:15 | 331.3546
2017-01-02 13:30 | 303.6082
2017-01-02 13:45 | 339.1221
2017-01-02 14:00 | 335.8967
2017-01-02 14:15 | 347.4776
2017-01-02 14:30 | 348.2213
2017-01-02 14:45 | 379.3343
2017-01-02 15:00 | 353.4201
2017-01-02 15:15 | 268.9494
2017-01-02 15:30 | 259.1629
2017-01-02 15:45 | 234.2362
2017-01-02 16:00 | 246.5329
2017-01-02 16:15 | 171.251
2017-01-02 16:30 | 170.8423
2017-01-02 16:45 | 301.1051
2017-01-02 17:00 | 332.7515
2017-01-02 17:15 | 190.7072
2017-01-02 17:30 | 204.6767
2017-01-02 17:45 | 248.3045
2017-01-02 18:00 | 199.2139
2017-01-02 18:15 | 303.0446
2017-01-02 18:30 | 287.0429
2017-01-02 18:45 | 291.2031
2017-01-02 19:00 | 296.4142
2017-01-02 19:15 | 284.5684
2017-01-02 19:30 | 258.507
2017-01-02 19:45 | 290.7403
2017-01-02 20:00 | 255.2629
2017-01-02 20:15 | 322.5078
2017-01-02 20:30 | 311.7846
2017-01-02 20:45 | 317.475
2017-01-02 21:00 | 273.0423
2017-01-02 21:15 | 292.9225
2017-01-02 21:30 | 329.0247
2017-01-02 21:45 | 413.0219
2017-01-02 22:00 | 365.619
2017-01-02 22:15 | 296.7657
2017-01-02 22:30 | 315.342
2017-01-02 22:45 | 399.514
2017-01-02 23:00 | 371.163
2017-01-02 23:15 | 253.8182
2017-01-02 23:30 | 248.625
2017-01-02 23:45 | 315.6212
2017-01-03 | 321.6593
2017-01-03 00:15 | 320.8907
2017-01-03 00:30 | 348.7083
2017-01-03 00:45 | 396.5313
2017-01-03 01:00 | 390.9305
2017-01-03 01:15 | 342.9646
2017-01-03 01:30 | 326.5747
2017-01-03 01:45 | 362.3849
2017-01-03 02:00 | 391.144
2017-01-03 02:15 | 373.1302
2017-01-03 02:30 | 350.7835
2017-01-03 02:45 | 325.8326
2017-01-03 03:00 | 343.3674
2017-01-03 03:15 | 251.575
2017-01-03 03:30 | 205.9559
2017-01-03 03:45 | 191.4198
2017-01-03 04:00 | 226.7802
2017-01-03 04:15 | 330.2368
2017-01-03 04:30 | 325.6222
2017-01-03 04:45 | 341.9556
2017-01-03 05:00 | 256.0231
2017-01-03 05:15 | 222.7319
2017-01-03 05:30 | 175.5252
2017-01-03 05:45 | 162.2914
2017-01-03 06:00 | 113.2443
2017-01-03 06:15 | 124.0523
2017-01-03 06:30 | 150.1553
2017-01-03 06:45 | 195.8898
2017-01-03 07:00 | 197.7739
2017-01-03 07:15 | 131.5907
2017-01-03 07:30 | 44.3542
2017-01-03 07:45 | 32.6589
2017-01-03 08:00 | 19.8595
2017-01-03 08:15 | 104.6224
2017-01-03 08:30 | 98.4034
2017-01-03 08:45 | 51.4891
2017-01-03 09:00 | 25.5169
2017-01-03 09:15 | 28.9298
2017-01-03 09:30 | 4.5072
2017-01-03 09:45 | 37.3359
2017-01-03 10:00 | -46.6575
2017-01-03 10:15 | -31.8202
2017-01-03 10:30 | 38.789
2017-01-03 10:45 | 95.5016
2017-01-03 11:00 | 68.8371
2017-01-03 11:15 | 139.6992
2017-01-03 11:30 | 106.5869
2017-01-03 11:45 | 133.9667
2017-01-03 12:00
2017-01-03 12:15 | 240.6837
2017-01-03 12:30 | 220.5287
2017-01-03 12:45 | 220.5397
2017-01-03 13:00 | 217.7308
2017-01-03 13:15 | 234.5655
2017-01-03 13:30 | 275.0427
2017-01-03 13:45 | 271.3448
2017-01-03 14:00 | 240.7429
2017-01-03 14:15 | 284.6864
2017-01-03 14:30 | 196.2439
2017-01-03 14:45 | 231.0668
2017-01-03 15:00 | 228.5198
2017-01-03 15:15 | 274.2232
2017-01-03 15:30 | 304.2026
2017-01-03 15:45 | 289.4623
2017-01-03 16:00 | 276.0435
2017-01-03 16:15 | 179.3907
2017-01-03 16:30 | 161.846
2017-01-03 16:45 | 216.0745
2017-01-03 17:00 | 252.1468
2017-01-03 17:15 | 279.7062
2017-01-03 17:30 | 278.3271
2017-01-03 17:45 | 279.0379
2017-01-03 18:00 | 311.0771
2017-01-03 18:15 | 324.9865
2017-01-03 18:30 | 377.0886
2017-01-03 18:45 | 378.9213
2017-01-03 19:00 | 385.6582
2017-01-03 19:15 | 448.0542
2017-01-03 19:30 | 460.1611
2017-01-03 19:45 | 445.8406
2017-01-03 20:00 | 426.7686
2017-01-03 20:15 | 434.2178
2017-01-03 20:30 | 465.1549
2017-01-03 20:45 | 463.278
2017-01-03 21:00 | 439.3911
2017-01-03 21:15 | 454.4468
2017-01-03 21:30 | 466.0788
2017-01-03 21:45 | 508.0395
2017-01-03 22:00 | 518.1094
2017-01-03 22:15 | 570.8477
2017-01-03 22:30 | 642.574
2017-01-03 22:45 | 674.5496
2017-01-03 23:00 | 623.5979
2017-01-03 23:15 | 562.0719
2017-01-03 23:30 | 536.2922
2017-01-03 23:45 | 515.3222
2017-01-04 | 522.9203
2017-01-04 00:15 | 502.1109
2017-01-04 00:30 | 443.2505
2017-01-04 00:45 | 459.6864
2017-01-04 01:00 | 462.1063
2017-01-04 01:15 | 447.9063
2017-01-04 01:30 | 470.0848
2017-01-04 01:45 | 473.7081
2017-01-04 02:00 | 449.0182
2017-01-04 02:15 | 451.2904
2017-01-04 02:30 | 417.286
2017-01-04 02:45 | 404.4029
2017-01-04 03:00 | 373.853
2017-01-04 03:15 | 340.6542
2017-01-04 03:30 | 308.3048
2017-01-04 03:45 | 287.3359
2017-01-04 04:00 | 293.3869
2017-01-04 04:15 | 357.9034
2017-01-04 04:30 | 358.2137
2017-01-04 04:45 | 340.0391
2017-01-04 05:00 | 317.7906
2017-01-04 05:15 | 355.4199
2017-01-04 05:30 | 319.6596
2017-01-04 05:45 | 277.8022
2017-01-04 06:00 | 265.364
2017-01-04 06:15 | 232.7363
2017-01-04 06:30 | 210.5827
2017-01-04 06:45 | 206.7357
2017-01-04 07:00 | 155.8045
2017-01-04 07:15 | 206.215
2017-01-04 07:30 | 204.4555
2017-01-04 07:45 | 208.3115
2017-01-04 08:00 | 177.5778
2017-01-04 08:15 | 180.4286
2017-01-04 08:30 | 122.0046
2017-01-04 08:45 | 71.5982
2017-01-04 09:00 | 6.2305
2017-01-04 09:15 | 35.013
2017-01-04 09:30 | 89.4135
2017-01-04 09:45 | 27.2315
2017-01-04 10:00 | -39.2527
2017-01-04 10:15 | -76.7646
2017-01-04 10:30 | -47.7676
2017-01-04 10:45 | -46.0204
2017-01-04 11:00 | 0.95423
2017-01-04 11:15 | -48.0149
2017-01-04 11:30 | 19.7374
2017-01-04 11:45 | 25.4612
2017-01-04 12:00 | -14.305
2017-01-04 12:15 | 25.9297
2017-01-04 12:30 | -7.3435
2017-01-04 12:45 | -19.9641
2017-01-04 13:00 | -35.4851
2017-01-04 13:15 | 2.2038
2017-01-04 13:30 | 50.5793
2017-01-04 13:45 | 15.6716
2017-01-04 14:00 | -61.4579
2017-01-04 14:15 | 1.8986
2017-01-04 14:30 | 42.5445
2017-01-04 14:45 | 91.8265
2017-01-04 15:00 | 119.0318
2017-01-04 15:15 | 97.0383
2017-01-04 15:30 | 148.9616
2017-01-04 15:45 | 131.6709
2017-01-04 16:00 | 99.9561
2017-01-04 16:15 | -37.9854
2017-01-04 16:30 | -96.4822
2017-01-04 16:45 | -29.4761
2017-01-04 17:00 | 1.1897
2017-01-04 17:15 | -1.4601
2017-01-04 17:30 | -7.0834
2017-01-04 17:45 | -27.0134
2017-01-04 18:00 | -22.5851
2017-01-04 18:15 | 40.0875
2017-01-04 18:30 | 102.7631
2017-01-04 18:45 | 102.4459
2017-01-04 19:00 | 135.936
2017-01-04 19:15 | 335.8816
2017-01-04 19:30 | 391.4296
2017-01-04 19:45 | 373.8905
2017-01-04 20:00 | 366.1103
2017-01-04 20:15 | 394.2159
2017-01-04 20:30
2017-01-04 20:45 | 377.6374
2017-01-04 21:00 | 350.3382
2017-01-04 21:15 | 393.4697
2017-01-04 21:30 | 447.2651
2017-01-04 21:45 | 430.2348
2017-01-04 22:00 | 529.2573
2017-01-04 22:15 | 614.1803
2017-01-04 22:30 | 639.0209
2017-01-04 22:45 | 633.4938
2017-01-04 23:00 | 597.6011
2017-01-04 23:15 | 479.4429
2017-01-04 23:30 | 464.2189
2017-01-04 23:45 | 450.5118
2017-01-05
2017-01-05 00:15
2017-01-05 00:30
2017-01-05 00:45 | 456.4215
2017-01-05 01:00 | 482.53
2017-01-05 01:15 | 438.4756
2017-01-05 01:30 | 455.0239
2017-01-05 01:45 | 439.6137
2017-01-05 02:00 | 447.2211
2017-01-05 02:15 | 466.753
2017-01-05 02:30 | 464.8496
2017-01-05 02:45 | 450.3158
2017-01-05 03:00 | 411.6251
2017-01-05 03:15 | 356.3374
2017-01-05 03:30 | 316.743
2017-01-05 03:45 | 306.8795
2017-01-05 04:00 | 328.4197
2017-01-05 04:15 | 426.8404
2017-01-05 04:30 | 396.5637
2017-01-05 04:45 | 407.8277
2017-01-05 05:00 | 410.0216
2017-01-05 05:15 | 399.9604
2017-01-05 05:30 | 380.3553
2017-01-05 05:45 | 356.1642
2017-01-05 06:00 | 325.4944
2017-01-05 06:15 | 261.2252
2017-01-05 06:30 | 136.1725
2017-01-05 06:45 | 161.7983
2017-01-05 07:00 | 234.3331
2017-01-05 07:15 | 202.3407
2017-01-05 07:30 | 107.1175
2017-01-05 07:45 | 16.3935
2017-01-05 08:00 | -25.191
2017-01-05 08:15 | 54.8429
2017-01-05 08:30 | 75.5881
2017-01-05 08:45 | 0.71945
2017-01-05 09:00 | -50.1433
2017-01-05 09:15 | -84.9429
2017-01-05 09:30 | -55.6001
2017-01-05 09:45 | -44.0575
2017-01-05 10:00 | -16.3901
2017-01-05 10:15 | -51.6074
2017-01-05 10:30 | 24.9983
2017-01-05 10:45 | 70.5006
2017-01-05 11:00 | 4.6505
2017-01-05 11:15 | -110.4061
2017-01-05 11:30 | -114.296
2017-01-05 11:45 | -147.0117
2017-01-05 12:00 | -130.06
2017-01-05 12:15 | -136.2845
2017-01-05 12:30 | -163.5496
2017-01-05 12:45 | -170.9922
2017-01-05 13:00 | -242.1378
2017-01-05 13:15 | -339.5761
2017-01-05 13:30 | -441.2837
2017-01-05 13:45 | -481.8201
2017-01-05 14:00 | -507.2611
2017-01-05 14:15 | -523.4011
2017-01-05 14:30 | -537.7663
2017-01-05 14:45 | -533.9365
2017-01-05 15:00 | -476.7283
2017-01-05 15:15 | -382.1328
2017-01-05 15:30 | -329.9193
2017-01-05 15:45 | -236.2394
2017-01-05 16:00 | -155.714
2017-01-05 16:15 | -89.0082
2017-01-05 16:30 | 47.6094
2017-01-05 16:45 | 90.2465
2017-01-05 17:00 | 141.6363
2017-01-05 17:15 | 92.1596
2017-01-05 17:30 | 32.8672
2017-01-05 17:45 | 15.1329
2017-01-05 18:00 | 15.9068
2017-01-05 18:15 | 46.9407
2017-01-05 18:30 | 106.0271
2017-01-05 18:45 | 165.027
2017-01-05 19:00 | 208.3996
2017-01-05 19:15 | 281.4637
2017-01-05 19:30 | 319.4082
2017-01-05 19:45 | 276.6884
2017-01-05 20:00 | 249.5065
2017-01-05 20:15 | 141.4178
2017-01-05 20:30 | 121.327
2017-01-05 20:45 | 88.9418
2017-01-05 21:00 | 0.9723
2017-01-05 21:15 | 42.3622
2017-01-05 21:30 | -10.5858
2017-01-05 21:45 | 57.7828
2017-01-05 22:00 | 163.1736
2017-01-05 22:15 | 257.9523
2017-01-05 22:30 | 268.1794
2017-01-05 22:45 | 319.5842
2017-01-05 23:00 | 287.1581
2017-01-05 23:15 | 260.5518
2017-01-05 23:30 | 263.1261
2017-01-05 23:45 | 338.0212
2017-01-06 | 386.4216
2017-01-06 00:15 | 495.8958
2017-01-06 00:30 | 489.3065
2017-01-06 00:45 | 492.5376
2017-01-06 01:00 | 477.501
2017-01-06 01:15 | 472.323
2017-01-06 01:30 | 474.5686
2017-01-06 01:45 | 505.6211
2017-01-06 02:00 | 485.466
2017-01-06 02:15 | 442.3286
2017-01-06 02:30 | 422.3407
2017-01-06 02:45 | 400.9725
2017-01-06 03:00 | 337.067
2017-01-06 03:15 | 317.6003
2017-01-06 03:30 | 330.3612
2017-01-06 03:45 | 327.9878
2017-01-06 04:00 | 352.0793
2017-01-06 04:15 | 415.6435
2017-01-06 04:30 | 448.6083
2017-01-06 04:45 | 449.5767
2017-01-06 05:00 | 461.974
2017-01-06 05:15 | 517.1645
2017-01-06 05:30 | 586.3428
2017-01-06 05:45 | 554.359
2017-01-06 06:00 | 502.8941
2017-01-06 06:15 | 353.3135
2017-01-06 06:30 | 232.2018
2017-01-06 06:45 | 202.3372
2017-01-06 07:00 | 190.6999
2017-01-06 07:15 | 220.3611
2017-01-06 07:30 | 192.6207
2017-01-06 07:45 | 103.4113
2017-01-06 08:00 | 28.7493
2017-01-06 08:15 | 68.2052
2017-01-06 08:30 | 82.2926
2017-01-06 08:45 | 57.303
2017-01-06 09:00 | 38.6288
2017-01-06 09:15 | 36.3334
2017-01-06 09:30 | 51.4066
2017-01-06 09:45 | 74.5286
2017-01-06 10:00 | 40.6011
2017-01-06 10:15 | -29.3897
2017-01-06 10:30 | -68.7001
2017-01-06 10:45 | -93.653
2017-01-06 11:00 | -120.3376
2017-01-06 11:15 | -65.6769
2017-01-06 11:30 | -34.3025
2017-01-06 11:45 | 73.1861
2017-01-06 12:00 | 99.484
2017-01-06 12:15 | 67.5083
2017-01-06 12:30 | 97.4848
2017-01-06 12:45 | 56.5072
2017-01-06 13:00 | -2.9994
2017-01-06 13:15 | -54.4172
2017-01-06 13:30 | 7.464
2017-01-06 13:45 | -34.7743
2017-01-06 14:00 | -50.1286
2017-01-06 14:15 | -28.9723
2017-01-06 14:30 | 48.1099
2017-01-06 14:45 | 142.4046
2017-01-06 15:00 | 143.4669
2017-01-06 15:15 | 180.2903
2017-01-06 15:30 | 221.2647
2017-01-06 15:45 | 238.1129
2017-01-06 16:00 | 219.6581
2017-01-06 16:15 | 214.4275
2017-01-06 16:30 | 171.1409
2017-01-06 16:45 | 188.148
2017-01-06 17:00 | 196.2164
2017-01-06 17:15 | 154.0067
2017-01-06 17:30 | 214.2847
2017-01-06 17:45 | 253.9544
2017-01-06 18:00 | 314.8513
2017-01-06 18:15 | 405.7463
2017-01-06 18:30 | 412.3777
2017-01-06 18:45 | 410.0966
2017-01-06 19:00 | 450.9688
2017-01-06 19:15 | 519.9497
2017-01-06 19:30 | 543.4441
2017-01-06 19:45 | 531.0408
2017-01-06 20:00 | 470.2952
2017-01-06 20:15 | 439.5208
2017-01-06 20:30 | 415.4356
2017-01-06 20:45 | 424.0659
2017-01-06 21:00 | 350.5244
2017-01-06 21:15 | 319.091
2017-01-06 21:30 | 319.4558
2017-01-06 21:45 | 352.3624
2017-01-06 22:00 | 417.7883
2017-01-06 22:15 | 577.1016
2017-01-06 22:30 | 577.0073
2017-01-06 22:45 | 592.45
2017-01-06 23:00 | 566.7789
2017-01-06 23:15 | 568.0982
2017-01-06 23:30 | 587.8175
2017-01-06 23:45 | 579.126
2017-01-07 | 524.8791
2017-01-07 00:15 | 565.0226
2017-01-07 00:30 | 624.3087
2017-01-07 00:45 | 675.585
2017-01-07 01:00 | 768.3998
2017-01-07 01:15 | 721.439
2017-01-07 01:30 | 707.0499
2017-01-07 01:45 | 731.1699
2017-01-07 02:00 | 738.6781
2017-01-07 02:15 | 809.2753
2017-01-07 02:30 | 829.9178
2017-01-07 02:45 | 819.644
2017-01-07 03:00 | 847.1043
2017-01-07 03:15 | 791.616
2017-01-07 03:30 | 744.7232
2017-01-07 03:45 | 743.2981
2017-01-07 04:00 | 744.1561
2017-01-07 04:15 | 777.3965
2017-01-07 04:30 | 717.4086
2017-01-07 04:45 | 654.942
2017-01-07 05:00 | 598.8325
2017-01-07 05:15 | 640.9136
2017-01-07 05:30 | 673.8586
2017-01-07 05:45 | 635.4504
2017-01-07 06:00 | 664.1629
2017-01-07 06:15 | 631.2318
2017-01-07 06:30 | 611.1667
2017-01-07 06:45 | 607.5463
2017-01-07 07:00 | 623.7001
2017-01-07 07:15 | 643.2389
2017-01-07 07:30 | 628.8705
2017-01-07 07:45 | 623.2578
2017-01-07 08:00 | 623.985
2017-01-07 08:15 | 564.5622
2017-01-07 08:30 | 493.4229
2017-01-07 08:45 | 529.2747
2017-01-07 09:00 | 487.8382
2017-01-07 09:15 | 478.5813
2017-01-07 09:30 | 435.3438
2017-01-07 09:45 | 379.7379
2017-01-07 10:00 | 305.0071
2017-01-07 10:15 | 338.3062
2017-01-07 10:30 | 332.7285
2017-01-07 10:45 | 379.7439
2017-01-07 11:00 | 297.7707
2017-01-07 11:15 | 226.677
2017-01-07 11:30 | 264.062
2017-01-07 11:45 | 281.4866
2017-01-07 12:00 | 241.2325
2017-01-07 12:15 | 236.8175
2017-01-07 12:30 | 292.2678
2017-01-07 12:45 | 332.4346
2017-01-07 13:00 | 311.0121
2017-01-07 13:15 | 314.1675
2017-01-07 13:30 | 285.9179
2017-01-07 13:45 | 292.0144
2017-01-07 14:00 | 244.8415
2017-01-07 14:15 | 252.2578
2017-01-07 14:30 | 279.7084
2017-01-07 14:45 | 302.1286
2017-01-07 15:00 | 273.8811
2017-01-07 15:15 | 233.2374
2017-01-07 15:30 | 153.1804
2017-01-07 15:45 | 191.6223
2017-01-07 16:00 | 193.7521
2017-01-07 16:15 | 167.8368
2017-01-07 16:30 | 164.276
2017-01-07 16:45 | 172.4215
2017-01-07 17:00 | 202.9553
2017-01-07 17:15 | 221.849
2017-01-07 17:30 | 308.3052
2017-01-07 17:45 | 401.298
2017-01-07 18:00 | 446.4409
2017-01-07 18:15 | 455.5644
2017-01-07 18:30 | 413.3955
2017-01-07 18:45 | 440.341
2017-01-07 19:00 | 415.5275
2017-01-07 19:15 | 465.2688
2017-01-07 19:30 | 485.654
2017-01-07 19:45 | 562.2718
2017-01-07 20:00 | 524.988
2017-01-07 20:15 | 430.4187
2017-01-07 20:30 | 428.7485
2017-01-07 20:45 | 416.9166
2017-01-07 21:00 | 416.275
2017-01-07 21:15 | 440.8637
2017-01-07 21:30 | 363.2778
2017-01-07 21:45 | 379.7329
2017-01-07 22:00 | 420.2005
2017-01-07 22:15 | 443.1923
2017-01-07 22:30 | 403.4932
2017-01-07 22:45 | 386.1319
2017-01-07 23:00 | 345.5893
2017-01-07 23:15 | 287.8282
2017-01-07 23:30 | 329.8872
2017-01-07 23:45 | 308.8143
2017-01-08 | 289.3012
2017-01-08 00:15 | 273.3581
2017-01-08 00:30 | 265.4013
2017-01-08 00:45 | 327.0266
2017-01-08 01:00 | 376.0079
2017-01-08 01:15 | 507.5952
2017-01-08 01:30 | 469.5501
2017-01-08 01:45 | 552.9592
2017-01-08 02:00 | 494.9142
2017-01-08 02:15 | 422.3919
2017-01-08 02:30 | 404.6026
2017-01-08 02:45 | 384.3947
2017-01-08 03:00 | 398.7965
2017-01-08 03:15 | 441.9159
2017-01-08 03:30 | 442.7153
2017-01-08 03:45 | 458.5668
2017-01-08 04:00 | 492.8704
2017-01-08 04:15 | 539.1411
2017-01-08 04:30 | 562.2565
2017-01-08 04:45 | 581.9913
2017-01-08 05:00 | 602.883
2017-01-08 05:15 | 660.2144
2017-01-08 05:30 | 668.3932
2017-01-08 05:45 | 686.8654
2017-01-08 06:00 | 723.6032
2017-01-08 06:15 | 719.9443
2017-01-08 06:30 | 639.3658
2017-01-08 06:45 | 653.1945
2017-01-08 07:00 | 673.93
2017-01-08 07:15 | 621.5729
2017-01-08 07:30 | 544.7856
2017-01-08 07:45 | 528.1351
2017-01-08 08:00 | 497.5475
2017-01-08 08:15 | 498.4866
2017-01-08 08:30 | 484.0679
2017-01-08 08:45 | 479.9876
2017-01-08 09:00 | 397.0976
2017-01-08 09:15 | 390.0226
2017-01-08 09:30 | 367.6466
2017-01-08 09:45 | 234.0297
2017-01-08 10:00 | 173.0929
2017-01-08 10:15 | 257.7374
2017-01-08 10:30 | 298.0726
2017-01-08 10:45 | 333.5464
2017-01-08 11:00 | 272.2209
2017-01-08 11:15 | 187.8614
2017-01-08 11:30 | 140.2334
2017-01-08 11:45 | 100.0682
2017-01-08 12:00 | 58.5758
2017-01-08 12:15 | -6.151
2017-01-08 12:30 | -56.7012
2017-01-08 12:45 | -47.368
2017-01-08 13:00 | 52.9275
2017-01-08 13:15 | -12.3825
2017-01-08 13:30 | -19.9965
2017-01-08 13:45 | 18.1854
2017-01-08 14:00 | 48.2798
2017-01-08 14:15 | 36.8144
2017-01-08 14:30 | 153.2953
2017-01-08 14:45 | 208.3036
2017-01-08 15:00 | 230.8726
2017-01-08 15:15 | 345.0197
2017-01-08 15:30 | 393.8201
2017-01-08 15:45 | 376.8835
2017-01-08 16:00 | 382.9091
2017-01-08 16:15 | 404.747
2017-01-08 16:30 | 352.9994
2017-01-08 16:45 | 327.8257
2017-01-08 17:00 | 359.5175
2017-01-08 17:15 | 330.2368
2017-01-08 17:30 | 299.0385
2017-01-08 17:45 | 327.1751
2017-01-08 18:00 | 331.4369
2017-01-08 18:15 | 398.9898
2017-01-08 18:30 | 399.8629
2017-01-08 18:45 | 499.3218
2017-01-08 19:00 | 529.374
2017-01-08 19:15 | 576.1395
2017-01-08 19:30 | 617.6015
2017-01-08 19:45 | 623.6567
2017-01-08 20:00 | 599.4433
2017-01-08 20:15 | 554.073
2017-01-08 20:30 | 556.6057
2017-01-08 20:45 | 637.8218
2017-01-08 21:00 | 632.0388
2017-01-08 21:15 | 581.109
2017-01-08 21:30 | 553.6155
2017-01-08 21:45 | 621.7952
2017-01-08 22:00 | 761.6911
2017-01-08 22:15 | 771.5938
2017-01-08 22:30 | 755.086
2017-01-08 22:45 | 833.5983
2017-01-08 23:00 | 858.6967
2017-01-08 23:15 | 811.9632
2017-01-08 23:30 | 844.4575
2017-01-08 23:45 | 803.4488
2017-01-09 | 731.6105
2017-01-09 00:15 | 693.3459
2017-01-09 00:30 | 675.6577
2017-01-09 00:45 | 624.6559
2017-01-09 01:00 | 557.4295
2017-01-09 01:15 | 620.0913
2017-01-09 01:30 | 582.2117
2017-01-09 01:45 | 613.3712
2017-01-09 02:00 | 656.0519
2017-01-09 02:15 | 649.6502
2017-01-09 02:30 | 653.8862
2017-01-09 02:45 | 642.1056
2017-01-09 03:00 | 616.6061
2017-01-09 03:15 | 564.7388
2017-01-09 03:30 | 503.6537
2017-01-09 03:45 | 495.8011
2017-01-09 04:00 | 481.1628
2017-01-09 04:15 | 481.9799
2017-01-09 04:30 | 546.3899
2017-01-09 04:45 | 566.5939
2017-01-09 05:00 | 563.2374
2017-01-09 05:15 | 529.4604
2017-01-09 05:30 | 548.7946
2017-01-09 05:45 | 587.79
2017-01-09 06:00 | 634.8883
2017-01-09 06:15 | 567.5408
2017-01-09 06:30 | 511.5358
2017-01-09 06:45 | 551.6378
2017-01-09 07:00 | 536.7001
2017-01-09 07:15 | 639.4489
2017-01-09 07:30 | 627.7053
2017-01-09 07:45 | 627.7501
2017-01-09 08:00 | 632.812
2017-01-09 08:15 | 532.6562
2017-01-09 08:30 | 525.0665
2017-01-09 08:45 | 547.3539
2017-01-09 09:00 | 555.8669
2017-01-09 09:15 | 625.7318
2017-01-09 09:30 | 666.1736
2017-01-09 09:45 | 649.6948
2017-01-09 10:00 | 599.1375
2017-01-09 10:15 | 589.1331
2017-01-09 10:30 | 540.0225
2017-01-09 10:45 | 480.3383
2017-01-09 11:00 | 540.5743
2017-01-09 11:15 | 555.9978
2017-01-09 11:30 | 625.6072
2017-01-09 11:45 | 599.5204
2017-01-09 12:00 | 541.4211
2017-01-09 12:15 | 568.1561
2017-01-09 12:30 | 566.4694
2017-01-09 12:45 | 539.0192
2017-01-09 13:00 | 444.4402
2017-01-09 13:15 | 386.0705
2017-01-09 13:30 | 323.2556
2017-01-09 13:45 | 329.6173
2017-01-09 14:00 | 351.415
2017-01-09 14:15 | 311.9701
2017-01-09 14:30 | 292.5179
2017-01-09 14:45 | 337.4061
2017-01-09 15:00 | 387.7307
2017-01-09 15:15 | 386.8448
2017-01-09 15:30 | 354.1585
2017-01-09 15:45 | 388.6462
2017-01-09 16:00 | 414.7082
2017-01-09 16:15 | 428.289
2017-01-09 16:30 | 406.5592
2017-01-09 16:45 | 374.2838
2017-01-09 17:00 | 434.4902
2017-01-09 17:15 | 432.2248
2017-01-09 17:30 | 492.7969
2017-01-09 17:45 | 470.1671
2017-01-09 18:00 | 471.7767
2017-01-09 18:15 | 470.6652
2017-01-09 18:30 | 433.4906
2017-01-09 18:45 | 460.1732
2017-01-09 19:00 | 480.4461
2017-01-09 19:15 | 560.1204
2017-01-09 19:30 | 584.1276
2017-01-09 19:45 | 553.9321
2017-01-09 20:00 | 509.8232
2017-01-09 20:15 | 550.5215
2017-01-09 20:30 | 549.0645
2017-01-09 20:45 | 595.9048
2017-01-09 21:00 | 637.2825
2017-01-09 21:15 | 596.2597
2017-01-09 21:30 | 622.3559
2017-01-09 21:45 | 685.0474
2017-01-09 22:00 | 669.9079
2017-01-09 22:15 | 661.2138
2017-01-09 22:30 | 653.5253
2017-01-09 22:45 | 609.4078
2017-01-09 23:00 | 497.4132
2017-01-09 23:15 | 458.59
2017-01-09 23:30 | 524.174
2017-01-09 23:45 | 486.595
2017-01-10 | 435.0851
2017-01-10 00:15 | 421.0424
2017-01-10 00:30 | 469.2697
2017-01-10 00:45 | 451.3391
2017-01-10 01:00 | 458.2132
2017-01-10 01:15 | 416.5708
2017-01-10 01:30 | 445.5627
2017-01-10 01:45 | 433.3203
2017-01-10 02:00 | 407.5091
2017-01-10 02:15 | 425.6658
2017-01-10 02:30 | 421.3909
2017-01-10 02:45 | 433.1089
2017-01-10 03:00 | 425.8982
2017-01-10 03:15 | 377.2536
2017-01-10 03:30 | 370.5621
2017-01-10 03:45 | 367.8434
2017-01-10 04:00 | 349.8499
2017-01-10 04:15 | 422.5855
2017-01-10 04:30 | 438.503
2017-01-10 04:45 | 427.6641
2017-01-10 05:00 | 451.2851
2017-01-10 05:15 | 401.1259
2017-01-10 05:30 | 393.3163
2017-01-10 05:45 | 420.2051
2017-01-10 06:00 | 448.5467
2017-01-10 06:15 | 459.5544
2017-01-10 06:30 | 471.0671
2017-01-10 06:45 | 483.7155
2017-01-10 07:00 | 413.7002
2017-01-10 07:15 | 384.09
2017-01-10 07:30 | 324.0623
2017-01-10 07:45 | 332.2933
2017-01-10 08:00 | 358.5313
2017-01-10 08:15 | 410.7016
2017-01-10 08:30 | 323.6825
2017-01-10 08:45 | 362.609
2017-01-10 09:00 | 228.2559
2017-01-10 09:15 | 190.675
2017-01-10 09:30 | 43.6845
2017-01-10 09:45 | 68.8007
2017-01-10 10:00 | 65.4262
2017-01-10 10:15 | 72.5928
2017-01-10 10:30 | 85.7473
2017-01-10 10:45 | 43.8504
2017-01-10 11:00 | -24.3846
2017-01-10 11:15 | -104.7529
2017-01-10 11:30 | -88.8969
2017-01-10 11:45 | -111.7552
2017-01-10 12:00 | -110.653
2017-01-10 12:15 | -203.766
2017-01-10 12:30 | -278.9143
2017-01-10 12:45 | -311.9042
2017-01-10 13:00 | -270.3067
2017-01-10 13:15 | -310.4543
2017-01-10 13:30 | -298.3421
2017-01-10 13:45 | -261.0505
2017-01-10 14:00 | -196.1084
2017-01-10 14:15 | -124.2007
2017-01-10 14:30 | -98.3204
2017-01-10 14:45 | 65.9765
2017-01-10 15:00 | 168.1283
2017-01-10 15:15 | 155.0786
2017-01-10 15:30 | 209.4724
2017-01-10 15:45 | 212.9078
2017-01-10 16:00 | 174.8884
2017-01-10 16:15 | 215.739
2017-01-10 16:30 | 158.7024
2017-01-10 16:45 | 191.4997
2017-01-10 17:00 | 345.5786
2017-01-10 17:15 | 397.4828
2017-01-10 17:30 | 405.2545
2017-01-10 17:45 | 499.3529
2017-01-10 18:00 | 583.5273
2017-01-10 18:15 | 639.9871
2017-01-10 18:30 | 659.9147
2017-01-10 18:45 | 634.6766
2017-01-10 19:00 | 647.6866
2017-01-10 19:15 | 720.8386
2017-01-10 19:30 | 799.7231
2017-01-10 19:45 | 795.9078
2017-01-10 20:00 | 749.8608
2017-01-10 20:15 | 749.1806
2017-01-10 20:30 | 714.1968
2017-01-10 20:45 | 686.248
2017-01-10 21:00 | 677.5657
2017-01-10 21:15 | 674.0397
2017-01-10 21:30 | 673.1625
2017-01-10 21:45 | 663.1035
2017-01-10 22:00 | 624.3215
2017-01-10 22:15 | 575.6049
2017-01-10 22:30 | 569.7361
2017-01-10 22:45
2017-01-10 23:00 | 517.8427
2017-01-10 23:15 | 478.3345
2017-01-10 23:30 | 454.4539
2017-01-10 23:45 | 428.4513
2017-01-11 | 372.6061
2017-01-11 00:15 | 463.1586
2017-01-11 00:30 | 442.8477
2017-01-11 00:45 | 425.6927
2017-01-11 01:00 | 375.2799
2017-01-11 01:15 | 296.8676
2017-01-11 01:30 | 251.8122
2017-01-11 01:45 | 134.7242
2017-01-11 02:00 | 41.0869
2017-01-11 02:15 | 36.4198
2017-01-11 02:30 | 27.873
2017-01-11 02:45 | 79.3604
2017-01-11 03:00 | 124.1737
2017-01-11 03:15 | 161.0526
2017-01-11 03:30 | 185.538
2017-01-11 03:45 | 209.1506
2017-01-11 04:00 | 244.0384
2017-01-11 04:15 | 266.2805
2017-01-11 04:30 | 336.0499
2017-01-11 04:45 | 324.6122
2017-01-11 05:00 | 268.5826
2017-01-11 05:15 | 246.1028
2017-01-11 05:30 | 241.2623
2017-01-11 05:45 | 224.3156
2017-01-11 06:00 | 203.4659
2017-01-11 06:15 | 125.4033
2017-01-11 06:30 | 75.2271
2017-01-11 06:45 | 116.3433
2017-01-11 07:00 | 131.4037
2017-01-11 07:15 | 137.1356
2017-01-11 07:30 | 111.1241
2017-01-11 07:45 | 69.525
2017-01-11 08:00 | 20.7072
2017-01-11 08:15 | 91.652
2017-01-11 08:30 | 122.3785
2017-01-11 08:45 | 94.0302
2017-01-11 09:00 | 39.9259
2017-01-11 09:15 | 2.5301
2017-01-11 09:30 | -108.8801
2017-01-11 09:45 | -227.3763
2017-01-11 10:00 | -244.1509
2017-01-11 10:15 | -237.7964
2017-01-11 10:30 | -204.5697
2017-01-11 10:45 | -315.4669
2017-01-11 11:00 | -343.5368
2017-01-11 11:15 | -300.9531
2017-01-11 11:30 | -360.276
2017-01-11 11:45 | -349.6952
2017-01-11 12:00 | -391.3921
2017-01-11 12:15 | -506.9971
2017-01-11 12:30 | -531.6631
2017-01-11 12:45 | -615.5281
2017-01-11 13:00 | -610.6132
2017-01-11 13:15 | -625.6418
2017-01-11 13:30 | -583.8643
2017-01-11 13:45 | -600.3771
2017-01-11 14:00
2017-01-11 14:15 | -509.9109
2017-01-11 14:30 | -496.7747
2017-01-11 14:45 | -468.5203
2017-01-11 15:00 | -365.7654
2017-01-11 15:15 | -231.1168
2017-01-11 15:30 | -173.5826
2017-01-11 15:45 | -84.1795
2017-01-11 16:00 | -68.4402
2017-01-11 16:15 | 22.855
2017-01-11 16:30 | -21.47
2017-01-11 16:45 | -27.7564
2017-01-11 17:00 | 58.3224
2017-01-11 17:15 | 88.1891
2017-01-11 17:30 | 140.3557
2017-01-11 17:45 | 142.9412
2017-01-11 18:00 | 152.5024
2017-01-11 18:15 | 188.7937
2017-01-11 18:30 | 243.8714
2017-01-11 18:45 | 307.2947
2017-01-11 19:00 | 328.1553
2017-01-11 19:15 | 346.0887
2017-01-11 19:30 | 338.0824
2017-01-11 19:45 | 351.1648
2017-01-11 20:00 | 318.8715
2017-01-11 20:15 | 360.0677
2017-01-11 20:30 | 423.7277
2017-01-11 20:45 | 402.0193
2017-01-11 21:00 | 375.5025
2017-01-11 21:15 | 409.4252
2017-01-11 21:30 | 408.3725
2017-01-11 21:45 | 393.3796
2017-01-11 22:00 | 351.1129
2017-01-11 22:15 | 453.3071
2017-01-11 22:30 | 613.9864
2017-01-11 22:45 | 633.9454
2017-01-11 23:00 | 604.1366
2017-01-11 23:15 | 631.1909
2017-01-11 23:30 | 652.0645
2017-01-11 23:45 | 657.6574
2017-01-12 | 594.1495
2017-01-12 00:15 | 598.3347
2017-01-12 00:30 | 631.1907
2017-01-12 00:45 | 601.7642
2017-01-12 01:00 | 551.2563
2017-01-12 01:15 | 488.0207
2017-01-12 01:30 | 420.7033
2017-01-12 01:45 | 372.7874
2017-01-12 02:00 | 351.7955
2017-01-12 02:15 | 375.2915
2017-01-12 02:30 | 385.5584
2017-01-12 02:45 | 401.0359
2017-01-12 03:00 | 363.7856
2017-01-12 03:15 | 313.9929
2017-01-12 03:30 | 315.4365
2017-01-12 03:45 | 266.7902
2017-01-12 04:00 | 211.6435
2017-01-12 04:15 | 231.3328
2017-01-12 04:30 | 233.086
2017-01-12 04:45 | 208.8622
2017-01-12 05:00 | 175.4191
2017-01-12 05:15 | 127.6786
2017-01-12 05:30 | 72.8713
2017-01-12 05:45 | 78.5143
2017-01-12 06:00 | 91.3255
2017-01-12 06:15 | -0.71259
2017-01-12 06:30 | -38.0973
2017-01-12 06:45 | -40.54
2017-01-12 07:00 | -20.8794
2017-01-12 07:15 | -36.0558
2017-01-12 07:30 | -162.2018
2017-01-12 07:45 | -195.2609
2017-01-12 08:00 | -250.6741
2017-01-12 08:15 | -265.4063
2017-01-12 08:30 | -249.407
2017-01-12 08:45 | -253.0364
2017-01-12 09:00 | -259.1819
2017-01-12 09:15 | -209.2638
2017-01-12 09:30 | -264.3846
2017-01-12 09:45 | -281.25
2017-01-12 10:00 | -287.7323
2017-01-12 10:15 | -41.4738
2017-01-12 10:30 | 17.6166
2017-01-12 10:45 | -9.8354
2017-01-12 11:00 | -47.295
2017-01-12 11:15 | 29.332
2017-01-12 11:30 | 13.3797
2017-01-12 11:45 | 62.1892
2017-01-12 12:00 | 98.3819
2017-01-12 12:15 | 129.0931
2017-01-12 12:30 | 105.8334
2017-01-12 12:45 | 53.6326
2017-01-12 13:00 | 55.7886
2017-01-12 13:15 | 133.5928
2017-01-12 13:30 | 189.2482
2017-01-12 13:45 | 296.9433
2017-01-12 14:00 | 302.1145
2017-01-12 14:15 | 367.4116
2017-01-12 14:30 | 332.5724
2017-01-12 14:45 | 288.692
2017-01-12 15:00 | 232.3014
2017-01-12 15:15 | 169.512
2017-01-12 15:30 | 176.0652
2017-01-12 15:45 | 102.869
2017-01-12 16:00 | 125.3368
2017-01-12 16:15 | 87.0993
2017-01-12 16:30 | 4.286
2017-01-12 16:45 | -16.2305
2017-01-12 17:00 | -56.296
2017-01-12 17:15 | -93.9984
2017-01-12 17:30 | -41.468
2017-01-12 17:45 | 24.0033
2017-01-12 18:00 | 98.7795
2017-01-12 18:15 | 141.76
2017-01-12 18:30 | 115.8331
2017-01-12 18:45 | 147.5914
2017-01-12 19:00 | 175.38
2017-01-12 19:15 | 135.9147
2017-01-12 19:30 | 158.5686
2017-01-12 19:45 | 185.9706
2017-01-12 20:00 | 110.3095
2017-01-12 20:15 | 123.6523
2017-01-12 20:30 | 137.4948
2017-01-12 20:45 | 108.6484
2017-01-12 21:00 | 61.3577
2017-01-12 21:15 | -9.0523
2017-01-12 21:30 | 5.5267
2017-01-12 21:45 | 131.0349
2017-01-12 22:00 | 176.3542
2017-01-12 22:15 | 192.0916
2017-01-12 22:30 | 249.5166
2017-01-12 22:45 | 245.3376
2017-01-12 23:00 | 324.5732
2017-01-12 23:15 | 415.8756
2017-01-12 23:30 | 426.5624
2017-01-12 23:45 | 432.8525
2017-01-13 | 461.8989
2017-01-13 00:15 | 493.2607
2017-01-13 00:30 | 477.2125
2017-01-13 00:45 | 473.4773
2017-01-13 01:00 | 455.1558
2017-01-13 01:15 | 439.5837
2017-01-13 01:30 | 409.3396
2017-01-13 01:45 | 401.1634
2017-01-13 02:00 | 408.6868
2017-01-13 02:15 | 363.8275
2017-01-13 02:30 | 397.0836
2017-01-13 02:45 | 365.8058
2017-01-13 03:00 | 363.7829
2017-01-13 03:15 | 316.1135
2017-01-13 03:30 | 312.4404
2017-01-13 03:45 | 332.7142
2017-01-13 04:00 | 308.1367
2017-01-13 04:15 | 335.1707
2017-01-13 04:30 | 326.639
2017-01-13 04:45 | 278.2755
2017-01-13 05:00 | 248.2873
2017-01-13 05:15 | 310.2753
2017-01-13 05:30 | 297.9754
2017-01-13 05:45 | 285.0046
2017-01-13 06:00 | 232.0632
2017-01-13 06:15 | 155.7353
2017-01-13 06:30 | 169.9819
2017-01-13 06:45 | 191.3359
2017-01-13 07:00 | 214.8489
2017-01-13 07:15 | 261.0814
2017-01-13 07:30 | 270.0715
2017-01-13 07:45 | 282.1415
2017-01-13 08:00 | 294.0794
2017-01-13 08:15 | 297.5561
2017-01-13 08:30 | 214.6814
2017-01-13 08:45 | 171.318
2017-01-13 09:00 | 147.2551
2017-01-13 09:15 | 131.4273
2017-01-13 09:30 | 98.7332
2017-01-13 09:45 | 135.6272
2017-01-13 10:00 | 181.7097
2017-01-13 10:15 | 229.6085
2017-01-13 10:30 | 256.6413
2017-01-13 10:45 | 284.742
2017-01-13 11:00 | 304.8344
2017-01-13 11:15 | 281.6527
2017-01-13 11:30 | 269.2207
2017-01-13 11:45 | 299.0984
2017-01-13 12:00 | 270.1287
2017-01-13 12:15 | 267.7926
2017-01-13 12:30 | 285.8336
2017-01-13 12:45 | 297.4768
2017-01-13 13:00 | 310.1588
2017-01-13 13:15 | 329.9267
2017-01-13 13:30 | 328.999
2017-01-13 13:45 | 366.2108
2017-01-13 14:00 | 385.6034
2017-01-13 14:15 | 363.1945
2017-01-13 14:30 | 346.9315
2017-01-13 14:45 | 355.5968
2017-01-13 15:00 | 340.7385
2017-01-13 15:15 | 307.8224
2017-01-13 15:30 | 246.7938
2017-01-13 15:45 | 243.2841
2017-01-13 16:00 | 283.0776
2017-01-13 16:15 | 211.5659
2017-01-13 16:30 | 171.9144
2017-01-13 16:45 | 188.9289
2017-01-13 17:00 | 253.9673
2017-01-13 17:15 | 192.92
2017-01-13 17:30 | 237.3234
2017-01-13 17:45 | 240.0251
2017-01-13 18:00 | 236.9099
2017-01-13 18:15 | 266.0194
2017-01-13 18:30 | 275.6494
2017-01-13 18:45 | 283.5924
2017-01-13 19:00 | 257.9536
2017-01-13 19:15 | 341.0811
2017-01-13 19:30 | 400.4299
2017-01-13 19:45 | 387.9999
2017-01-13 20:00 | 369.0571
2017-01-13 20:15 | 418.9789
2017-01-13 20:30 | 435.2641
2017-01-13 20:45 | 437.088
2017-01-13 21:00 | 432.1878
2017-01-13 21:15 | 320.7453
2017-01-13 21:30 | 281.1517
2017-01-13 21:45 | 364.0126
2017-01-13 22:00 | 393.8078
2017-01-13 22:15 | 438.6032
2017-01-13 22:30 | 484.1861
2017-01-13 22:45 | 480.5
2017-01-13 23:00 | 494.0607
2017-01-13 23:15 | 500.9413
2017-01-13 23:30 | 467.0071
2017-01-13 23:45 | 494.5741
2017-01-14 | 542.3988
2017-01-14 00:15 | 558.483
2017-01-14 00:30 | 571.0626
2017-01-14 00:45 | 623.2352
2017-01-14 01:00 | 612.741
2017-01-14 01:15 | 634.47
2017-01-14 01:30 | 680.9416
2017-01-14 01:45 | 693.6403
2017-01-14 02:00 | 669.6416
2017-01-14 02:15 | 637.6576
2017-01-14 02:30 | 635.7663
2017-01-14 02:45 | 626.2168
2017-01-14 03:00 | 620.6153
2017-01-14 03:15 | 645.0565
2017-01-14 03:30 | 618.9188
2017-01-14 03:45 | 632.7202
2017-01-14 04:00 | 609.4444
2017-01-14 04:15 | 676.195
2017-01-14 04:30 | 689.7842
2017-01-14 04:45 | 670.4984
2017-01-14 05:00 | 672.1116
2017-01-14 05:15 | 703.4244
2017-01-14 05:30 | 659.5012
2017-01-14 05:45 | 602.5808
2017-01-14 06:00 | 614.2833
2017-01-14 06:15 | 535.0206
2017-01-14 06:30 | 474.7261
2017-01-14 06:45 | 450.6786
2017-01-14 07:00 | 422.8379
2017-01-14 07:15 | 423.5279
2017-01-14 07:30 | 380.4057
2017-01-14 07:45 | 319.9773
2017-01-14 08:00 | 217.4303
2017-01-14 08:15 | 193.7724
2017-01-14 08:30 | 44.9527
2017-01-14 08:45 | 9.1544
2017-01-14 09:00 | -44.2076
2017-01-14 09:15 | 22.9514
2017-01-14 09:30 | 21.0478
2017-01-14 09:45 | -3.6405
2017-01-14 10:00 | -1.4641
2017-01-14 10:15 | -92.0554
2017-01-14 10:30 | -95.6266
2017-01-14 10:45 | -50.2808
2017-01-14 11:00 | 0.40517
2017-01-14 11:15 | 1.6832
2017-01-14 11:30 | -30.7064
2017-01-14 11:45 | 5.6157
2017-01-14 12:00 | -0.85598
2017-01-14 12:15 | 33.314
2017-01-14 12:30 | 111.1607
2017-01-14 12:45 | 119.3512
2017-01-14 13:00 | 167.2811
2017-01-14 13:15 | 146.1149
2017-01-14 13:30 | 141.5871
2017-01-14 13:45 | 141.2818
2017-01-14 14:00 | 128.2745
2017-01-14 14:15 | 136.2657
2017-01-14 14:30 | 200.8554
2017-01-14 14:45 | 249.2266
2017-01-14 15:00 | 262.4985
2017-01-14 15:15 | 384.3865
2017-01-14 15:30 | 449.1078
2017-01-14 15:45 | 463.0087
2017-01-14 16:00 | 507.0171
2017-01-14 16:15 | 444.517
2017-01-14 16:30 | 448.1697
2017-01-14 16:45 | 470.2118
2017-01-14 17:00 | 459.7353
2017-01-14 17:15 | 408.4184
2017-01-14 17:30 | 416.8641
2017-01-14 17:45 | 418.5529
2017-01-14 18:00 | 424.6326
2017-01-14 18:15 | 447.2797
2017-01-14 18:30 | 412.3597
2017-01-14 18:45 | 421.9962
2017-01-14 19:00 | 437.3499
2017-01-14 19:15 | 520.3349
2017-01-14 19:30 | 540.2301
2017-01-14 19:45 | 515.7599
2017-01-14 20:00 | 486.369
2017-01-14 20:15 | 403.0055
2017-01-14 20:30 | 403.5551
2017-01-14 20:45 | 407.1192
2017-01-14 21:00 | 406.5523
2017-01-14 21:15 | 328.6084
2017-01-14 21:30 | 265.6042
2017-01-14 21:45 | 288.0033
2017-01-14 22:00 | 322.8693
2017-01-14 22:15 | 352.7378
2017-01-14 22:30 | 387.7124
2017-01-14 22:45 | 401.6643
2017-01-14 23:00 | 403.4048
2017-01-14 23:15 | 464.7748
2017-01-14 23:30 | 485.2918
2017-01-14 23:45 | 486.317
2017-01-15 | 458.6457
2017-01-15 00:15 | 475.0373
2017-01-15 00:30 | 390.209
2017-01-15 00:45 | 365.4494
2017-01-15 01:00 | 364.7104
2017-01-15 01:15 | 344.175
2017-01-15 01:30 | 366.4659
2017-01-15 01:45 | 379.4677
2017-01-15 02:00 | 359.3903
2017-01-15 02:15 | 385.908
2017-01-15 02:30 | 389.5372
2017-01-15 02:45 | 368.3523
2017-01-15 03:00 | 383.3722
2017-01-15 03:15 | 418.8326
2017-01-15 03:30 | 454.412
2017-01-15 03:45 | 491.9228
2017-01-15 04:00 | 519.1713
2017-01-15 04:15 | 604.0023
2017-01-15 04:30 | 608.1529
2017-01-15 04:45 | 645.7625
2017-01-15 05:00 | 632.0341
2017-01-15 05:15 | 582.4454
2017-01-15 05:30 | 574.7838
2017-01-15 05:45 | 573.3756
2017-01-15 06:00 | 555.2372
2017-01-15 06:15 | 577.9354
2017-01-15 06:30 | 579.1635
2017-01-15 06:45 | 534.4217
2017-01-15 07:00 | 537.0414
2017-01-15 07:15 | 632.6628
2017-01-15 07:30 | 625.4949
2017-01-15 07:45 | 567.2635
2017-01-15 08:00 | 499.0178
2017-01-15 08:15 | 448.1225
2017-01-15 08:30 | 334.5763
2017-01-15 08:45 | 248.6282
2017-01-15 09:00 | 163.7037
2017-01-15 09:15 | 231.0225
2017-01-15 09:30 | 179.1876
2017-01-15 09:45 | 106.1395
2017-01-15 10:00 | 65.7029
2017-01-15 10:15 | 25.5682
2017-01-15 10:30 | 3.9026
2017-01-15 10:45 | 28.4579
2017-01-15 11:00 | 37.695
2017-01-15 11:15 | 35.1633
2017-01-15 11:30 | 48.1413
2017-01-15 11:45 | 101.8404
2017-01-15 12:00 | 130.3325
2017-01-15 12:15 | 148.2253
2017-01-15 12:30 | 171.0031
2017-01-15 12:45 | 186.7164
2017-01-15 13:00 | 127.6392
2017-01-15 13:15 | 117.5959
2017-01-15 13:30 | 115.9732
2017-01-15 13:45 | 138.0118
2017-01-15 14:00 | 135.157
2017-01-15 14:15 | 146.9484
2017-01-15 14:30 | 176.3364
2017-01-15 14:45 | 259.5983
2017-01-15 15:00 | 295.9497
2017-01-15 15:15 | 355.7811
2017-01-15 15:30 | 350.2354
2017-01-15 15:45 | 375.8911
2017-01-15 16:00 | 409.1912
2017-01-15 16:15 | 381.4509
2017-01-15 16:30 | 358.5784
2017-01-15 16:45 | 399.5108
2017-01-15 17:00 | 489.6799
2017-01-15 17:15 | 396.7533
2017-01-15 17:30 | 334.5415
2017-01-15 17:45 | 417.5065
2017-01-15 18:00 | 456.5942
2017-01-15 18:15 | 462.242
2017-01-15 18:30 | 454.2429
2017-01-15 18:45 | 498.3752
2017-01-15 19:00 | 470.371
2017-01-15 19:15 | 568.8633
2017-01-15 19:30 | 626.5552
2017-01-15 19:45 | 649.1429
2017-01-15 20:00 | 600.4262
2017-01-15 20:15 | 574.6777
2017-01-15 20:30 | 641.4482
2017-01-15 20:45 | 688.1693
2017-01-15 21:00 | 653.0536
2017-01-15 21:15 | 651.2819
2017-01-15 21:30 | 701.3759
2017-01-15 21:45 | 757.9102
2017-01-15 22:00 | 776.1693
2017-01-15 22:15 | 760.0685
2017-01-15 22:30 | 727.4941
2017-01-15 22:45 | 739.0858
2017-01-15 23:00 | 739.141
2017-01-15 23:15 | 645.9761
2017-01-15 23:30 | 653.0812
2017-01-15 23:45 | 617.7368
2017-01-16 | 609.5841
2017-01-16 00:15 | 662.8616
2017-01-16 00:30 | 617.4863
2017-01-16 00:45 | 631.0233
2017-01-16 01:00 | 640.2404
2017-01-16 01:15 | 648.0851
2017-01-16 01:30 | 650.9025
2017-01-16 01:45 | 622.7121
2017-01-16 02:00 | 589.3454
2017-01-16 02:15 | 623.5658
2017-01-16 02:30 | 598.0211
2017-01-16 02:45 | 590.7209
2017-01-16 03:00 | 564.9719
2017-01-16 03:15 | 563.4683
2017-01-16 03:30 | 550.2361
2017-01-16 03:45 | 513.0306
2017-01-16 04:00 | 485.0759
2017-01-16 04:15 | 468.6146
2017-01-16 04:30 | 436.4078
2017-01-16 04:45 | 440.0952
2017-01-16 05:00 | 438.9834
2017-01-16 05:15 | 411.3101
2017-01-16 05:30 | 386.3772
2017-01-16 05:45 | 381.0595
2017-01-16 06:00 | 387.1423
2017-01-16 06:15 | 380.2447
2017-01-16 06:30 | 337.7812
2017-01-16 06:45 | 324.3726
2017-01-16 07:00 | 293.7065
2017-01-16 07:15 | 291.044
2017-01-16 07:30 | 273.4462
2017-01-16 07:45 | 195.1314
2017-01-16 08:00 | 182.4501
2017-01-16 08:15 | 221.9274
2017-01-16 08:30 | 154.3403
2017-01-16 08:45 | 101.1458
2017-01-16 09:00 | 29.3097
2017-01-16 09:15 | 157.5988
2017-01-16 09:30 | 265.83
2017-01-16 09:45 | 295.6079
2017-01-16 10:00 | 256.31
2017-01-16 10:15 | 229.4401
2017-01-16 10:30 | 225.3593
2017-01-16 10:45 | 201.2289
2017-01-16 11:00 | 208.6844
2017-01-16 11:15 | 189.3462
2017-01-16 11:30 | 160.0607
2017-01-16 11:45 | 115.9919
2017-01-16 12:00 | 103.4047
2017-01-16 12:15 | 35.5461
2017-01-16 12:30 | 7.9975
2017-01-16 12:45 | 16.8571
2017-01-16 13:00 | 16.5923
2017-01-16 13:15 | -25.5538
2017-01-16 13:30 | 4.6748
2017-01-16 13:45 | -12.148
2017-01-16 14:00 | -17.6238
2017-01-16 14:15 | -4.6173
2017-01-16 14:30 | 2.7238
2017-01-16 14:45 | 63.082
2017-01-16 15:00 | 160.4346
2017-01-16 15:15 | 157.6121
2017-01-16 15:30 | 215.785
2017-01-16 15:45 | 281.6323
2017-01-16 16:00 | 303.5753
2017-01-16 16:15 | 296.2002
2017-01-16 16:30 | 337.0634
2017-01-16 16:45 | 373.3488
2017-01-16 17:00 | 448.9735
2017-01-16 17:15 | 312.4968
2017-01-16 17:30 | 332.1832
2017-01-16 17:45 | 390.6396
2017-01-16 18:00 | 390.5707
2017-01-16 18:15 | 432.662
2017-01-16 18:30 | 444.4541
2017-01-16 18:45 | 507.7083
2017-01-16 19:00 | 487.8062
2017-01-16 19:15 | 507.1429
2017-01-16 19:30 | 499.8476
2017-01-16 19:45 | 533.8932
2017-01-16 20:00 | 487.5649
2017-01-16 20:15 | 460.9088
2017-01-16 20:30 | 518.9301
2017-01-16 20:45 | 560.4682
2017-01-16 21:00 | 527.3909
2017-01-16 21:15 | 534.4003
2017-01-16 21:30 | 546.6739
2017-01-16 21:45 | 509.1353
2017-01-16 22:00 | 532.1376
2017-01-16 22:15 | 530.4624
2017-01-16 22:30 | 542.9539
2017-01-16 22:45 | 572.6809
2017-01-16 23:00 | 523.8337
2017-01-16 23:15 | 588.6552
2017-01-16 23:30 | 631.5912
2017-01-16 23:45 | 641.4984
2017-01-17 | 606.2151
2017-01-17 00:15 | 464.7487
2017-01-17 00:30 | 454.7406
2017-01-17 00:45 | 500.5149
2017-01-17 01:00 | 524.9343
2017-01-17 01:15 | 552.1163
2017-01-17 01:30 | 529.5462
2017-01-17 01:45 | 534.6815
2017-01-17 02:00 | 547.6339
2017-01-17 02:15 | 585.2015
2017-01-17 02:30 | 603.967
2017-01-17 02:45 | 588.1561
2017-01-17 03:00 | 615.7642
2017-01-17 03:15 | 673.0029
2017-01-17 03:30 | 645.3809
2017-01-17 03:45 | 613.4758
2017-01-17 04:00 | 590.3704
2017-01-17 04:15 | 629.2001
2017-01-17 04:30 | 620.7874
2017-01-17 04:45 | 603.2332
2017-01-17 05:00 | 589.9737
2017-01-17 05:15 | 660.4417
2017-01-17 05:30 | 637.6524
2017-01-17 05:45 | 594.3904
2017-01-17 06:00 | 577.5186
2017-01-17 06:15 | 591.9459
2017-01-17 06:30 | 552.1978
2017-01-17 06:45 | 520.9312
2017-01-17 07:00 | 480.4339
2017-01-17 07:15 | 460.8541
2017-01-17 07:30 | 413.3728
2017-01-17 07:45 | 402.1672
2017-01-17 08:00 | 261.6917
2017-01-17 08:15 | 238.0971
2017-01-17 08:30 | 274.896
2017-01-17 08:45 | 266.0831
2017-01-17 09:00 | 194.1188
2017-01-17 09:15 | 281.2701
2017-01-17 09:30 | 284.7305
2017-01-17 09:45 | 273.3467
2017-01-17 10:00 | 240.923
2017-01-17 10:15 | 204.7088
2017-01-17 10:30 | 253.4453
2017-01-17 10:45 | 253.0144
2017-01-17 11:00 | 221.6711
2017-01-17 11:15 | 176.6406
2017-01-17 11:30 | 168.0331
2017-01-17 11:45
2017-01-17 12:00
2017-01-17 12:15
2017-01-17 12:30
2017-01-17 12:45
2017-01-17 13:00
2017-01-17 13:15
2017-01-17 13:30
2017-01-17 13:45
2017-01-17 14:00
2017-01-17 14:15 | 318.9837
2017-01-17 14:30 | 351.5271
2017-01-17 14:45 | 358.3836
2017-01-17 15:00 | 391.564
2017-01-17 15:15 | 380.8932
2017-01-17 15:30 | 307.0931
2017-01-17 15:45 | 332.2715
2017-01-17 16:00 | 378.2102
2017-01-17 16:15 | 371.1997
2017-01-17 16:30 | 327.3888
2017-01-17 16:45 | 410.3797
2017-01-17 17:00 | 437.1868
2017-01-17 17:15 | 422.393
2017-01-17 17:30 | 411.4818
2017-01-17 17:45 | 361.3354
2017-01-17 18:00 | 352.1845
2017-01-17 18:15 | 408.2602
2017-01-17 18:30 | 443.3091
2017-01-17 18:45 | 473.8354
2017-01-17 19:00 | 491.6609
2017-01-17 19:15 | 551.1929
2017-01-17 19:30 | 595.3342
2017-01-17 19:45 | 602.6165
2017-01-17 20:00 | 594.3623
2017-01-17 20:15 | 501.6198
2017-01-17 20:30 | 485.5952
2017-01-17 20:45 | 483.6687
2017-01-17 21:00 | 449.9298
2017-01-17 21:15 | 524.1604
2017-01-17 21:30 | 530.9625
2017-01-17 21:45 | 494.903
2017-01-17 22:00 | 514.9519
2017-01-17 22:15 | 668.3867
2017-01-17 22:30 | 768.2441
2017-01-17 22:45 | 728.6257
2017-01-17 23:00 | 739.6541
2017-01-17 23:15 | 684.7269
2017-01-17 23:30 | 715.2418
2017-01-17 23:45 | 697.487
2017-01-18 | 662.7398
2017-01-18 00:15 | 621.2845
2017-01-18 00:30 | 647.8514
2017-01-18 00:45 | 670.66
2017-01-18 01:00 | 692.7299
2017-01-18 01:15 | 687.786
2017-01-18 01:30 | 681.7064
2017-01-18 01:45 | 703.6589
2017-01-18 02:00 | 674.4207
2017-01-18 02:15 | 648.8861
2017-01-18 02:30 | 615.7058
2017-01-18 02:45 | 599.2001
2017-01-18 03:00 | 603.6982
2017-01-18 03:15 | 620.8868
2017-01-18 03:30 | 644.8538
2017-01-18 03:45 | 633.0162
2017-01-18 04:00 | 581.6115
2017-01-18 04:15 | 560.955
2017-01-18 04:30 | 479.6608
2017-01-18 04:45 | 442.7719
2017-01-18 05:00 | 460.8162
2017-01-18 05:15 | 451.8753
2017-01-18 05:30 | 464.6197
2017-01-18 05:45 | 411.1198
2017-01-18 06:00 | 370.6566
2017-01-18 06:15 | 317.7278
2017-01-18 06:30 | 247.9131
2017-01-18 06:45 | 216.2468
2017-01-18 07:00
2017-01-18 07:15
2017-01-18 07:30
2017-01-18 07:45
2017-01-18 08:00
2017-01-18 08:15
2017-01-18 08:30
2017-01-18 08:45
2017-01-18 09:00
2017-01-18 09:15
2017-01-18 09:30
2017-01-18 09:45
2017-01-18 10:00
2017-01-18 10:15
2017-01-18 10:30
2017-01-18 10:45
2017-01-18 11:00
2017-01-18 11:15
2017-01-18 11:30
2017-01-18 11:45
2017-01-18 12:00
2017-01-18 12:15
2017-01-18 12:30
2017-01-18 12:45
2017-01-18 13:00
2017-01-18 13:15
2017-01-18 13:30
2017-01-18 13:45 | 275.6741
2017-01-18 14:00 | 277.1277
2017-01-18 14:15 | 292.4901
2017-01-18 14:30 | 334.3597
2017-01-18 14:45 | 229.9794
2017-01-18 15:00 | 238.4565
2017-01-18 15:15 | 265.0531
2017-01-18 15:30 | 213.237
2017-01-18 15:45 | 202.9517
2017-01-18 16:00 | 185.7204
2017-01-18 16:15 | 120.4266
2017-01-18 16:30 | 132.4871
2017-01-18 16:45
2017-01-18 17:00 | 200.0014
2017-01-18 17:15 | 208.7057
2017-01-18 17:30
2017-01-18 17:45 | 204.1454
2017-01-18 18:00 | 229.7397
2017-01-18 18:15 | 262.8487
2017-01-18 18:30 | 298.3526
2017-01-18 18:45 | 314.1574
2017-01-18 19:00 | 334.3116
2017-01-18 19:15 | 284.8329
2017-01-18 19:30 | 316.0696
2017-01-18 19:45 | 378.7173
2017-01-18 20:00 | 350.8225
2017-01-18 20:15
2017-01-18 20:30
2017-01-18 20:45
2017-01-18 21:00
2017-01-18 21:15
2017-01-18 21:30
2017-01-18 21:45
2017-01-18 22:00
2017-01-18 22:15
2017-01-18 22:30
2017-01-18 22:45
2017-01-18 23:00
2017-01-18 23:15
2017-01-18 23:30
2017-01-18 23:45
2017-01-19
2017-01-19 00:15
2017-01-19 00:30
2017-01-19 00:45
2017-01-19 01:00
2017-01-19 01:15
2017-01-19 01:30
2017-01-19 01:45
2017-01-19 02:00
2017-01-19 02:15
2017-01-19 02:30
2017-01-19 02:45
2017-01-19 03:00
2017-01-19 03:15
2017-01-19 03:30
2017-01-19 03:45
2017-01-19 04:00
2017-01-19 04:15
2017-01-19 04:30
2017-01-19 04:45
2017-01-19 05:00
2017-01-19 05:15
2017-01-19 05:30
2017-01-19 05:45
2017-01-19 06:00
2017-01-19 06:15
2017-01-19 06:30
2017-01-19 06:45
2017-01-19 07:00
2017-01-19 07:15
2017-01-19 07:30
2017-01-19 07:45
2017-01-19 08:00
2017-01-19 08:15
2017-01-19 08:30
2017-01-19 08:45
2017-01-19 09:00
2017-01-19 09:15 | 78.0949
2017-01-19 09:30
2017-01-19 09:45
2017-01-19 10:00
2017-01-19 10:15
2017-01-19 10:30
2017-01-19 10:45
2017-01-19 11:00
2017-01-19 11:15
2017-01-19 11:30
2017-01-19 11:45
2017-01-19 12:00
2017-01-19 12:15
2017-01-19 12:30
2017-01-19 12:45
2017-01-19 13:00
2017-01-19 13:15
2017-01-19 13:30
2017-01-19 13:45
2017-01-19 14:00
2017-01-19 14:15
2017-01-19 14:30
2017-01-19 14:45 | 35.7477
2017-01-19 15:00 | 36.7339
2017-01-19 15:15 | 107.3359
2017-01-19 15:30 | 140.1547
2017-01-19 15:45 | 139.7982
2017-01-19 16:00 | 147.8835
2017-01-19 16:15 | 148.462
2017-01-19 16:30
2017-01-19 16:45
2017-01-19 17:00
2017-01-19 17:15
2017-01-19 17:30
2017-01-19 17:45
2017-01-19 18:00
2017-01-19 18:15 | 147.7623
2017-01-19 18:30
2017-01-19 18:45 | 210.0828
2017-01-19 19:00 | 237.5944
2017-01-19 19:15 | 537.4563
2017-01-19 19:30 | 541.5145
2017-01-19 19:45 | 555.8063
2017-01-19 20:00 | 523.1253
2017-01-19 20:15 | 534.5575
2017-01-19 20:30 | 572.3344
2017-01-19 20:45 | 549.0466
2017-01-19 21:00 | 519.5691
2017-01-19 21:15 | 525.7918
2017-01-19 21:30 | 536.6981
2017-01-19 21:45 | 594.8835
2017-01-19 22:00 | 558.1933
2017-01-19 22:15 | 540.1179
2017-01-19 22:30 | 567.1353
2017-01-19 22:45 | 513.0433
2017-01-19 23:00 | 524.442
2017-01-19 23:15 | 494.3834
2017-01-19 23:30 | 508.2348
2017-01-19 23:45 | 574.9659
2017-01-20 | 573.1456
2017-01-20 00:15 | 524.1274
2017-01-20 00:30 | 540.534
2017-01-20 00:45 | 574.7117
2017-01-20 01:00 | 572.3287
2017-01-20 01:15 | 609.5183
2017-01-20 01:30 | 598.0237
2017-01-20 01:45 | 584.1102
2017-01-20 02:00 | 545.1509
2017-01-20 02:15 | 516.5251
2017-01-20 02:30 | 514.0848
2017-01-20 02:45 | 528.5113
2017-01-20 03:00 | 526.0789
2017-01-20 03:15 | 448.2775
2017-01-20 03:30 | 400.6051
2017-01-20 03:45 | 329.9163
2017-01-20 04:00 | 323.4814
2017-01-20 04:15 | 365.1564
2017-01-20 04:30 | 416.3165
2017-01-20 04:45 | 458.3701
2017-01-20 05:00 | 432.46
2017-01-20 05:15 | 500.7851
2017-01-20 05:30 | 465.7327
2017-01-20 05:45 | 383.1408
2017-01-20 06:00 | 347.9116
2017-01-20 06:15 | 385.282
2017-01-20 06:30 | 293.2677
2017-01-20 06:45 | 267.3708
2017-01-20 07:00 | 322.1024
2017-01-20 07:15 | 326.1924
2017-01-20 07:30 | 280.9783
2017-01-20 07:45 | 282.7713
2017-01-20 08:00 | 220.6266
2017-01-20 08:15 | 143.7203
2017-01-20 08:30 | 156.6694
2017-01-20 08:45 | 210.6886
2017-01-20 09:00 | 199.1586
2017-01-20 09:15 | 275.2502
2017-01-20 09:30 | 375.8478
2017-01-20 09:45 | 355.9342
2017-01-20 10:00 | 386.539
2017-01-20 10:15 | 458.1725
2017-01-20 10:30 | 514.4451
2017-01-20 10:45 | 495.4155
2017-01-20 11:00 | 386.7353
2017-01-20 11:15 | 458.3833
2017-01-20 11:30 | 576.1379
2017-01-20 11:45 | 556.2333
2017-01-20 12:00 | 590.8874
2017-01-20 12:15 | 605.9454
2017-01-20 12:30 | 562.5064
2017-01-20 12:45 | 545.8248
2017-01-20 13:00 | 506.1881
2017-01-20 13:15 | 579.567
2017-01-20 13:30 | 663.456
2017-01-20 13:45 | 577.2717
2017-01-20 14:00 | 500.2176
2017-01-20 14:15 | 515.7466
2017-01-20 14:30 | 541.5622
2017-01-20 14:45 | 669.1149
2017-01-20 15:00 | 645.3891
2017-01-20 15:15 | 728.6071
2017-01-20 15:30 | 712.1685
2017-01-20 15:45 | 647.7866
2017-01-20 16:00 | 571.5436
2017-01-20 16:15 | 675.3452
2017-01-20 16:30 | 612.9355
2017-01-20 16:45 | 574.6475
2017-01-20 17:00 | 606.7893
2017-01-20 17:15 | 655.9476
2017-01-20 17:30 | 649.5657
2017-01-20 17:45 | 663.8279
2017-01-20 18:00 | 652.8652
2017-01-20 18:15 | 677.4357
2017-01-20 18:30 | 670.6562
2017-01-20 18:45 | 639.8199
2017-01-20 19:00 | 648.709
2017-01-20 19:15 | 664.1356
2017-01-20 19:30 | 694.5057
2017-01-20 19:45 | 724.4683
2017-01-20 20:00 | 669.566
2017-01-20 20:15 | 613.6928
2017-01-20 20:30 | 611.285
2017-01-20 20:45 | 629.6245
2017-01-20 21:00 | 599.7963
2017-01-20 21:15 | 568.5293
2017-01-20 21:30 | 606.2739
2017-01-20 21:45 | 649.1637
2017-01-20 22:00 | 652.3018
2017-01-20 22:15 | 625.816
2017-01-20 22:30 | 473.3776
2017-01-20 22:45 | 388.1956
2017-01-20 23:00 | 342.7483
2017-01-20 23:15 | 414.2556
2017-01-20 23:30 | 433.9471
2017-01-20 23:45 | 548.5021
2017-01-21 | 573.9184
2017-01-21 00:15 | 530.6558
2017-01-21 00:30 | 559.0315
2017-01-21 00:45 | 636.8915
2017-01-21 01:00 | 575.5805
2017-01-21 01:15 | 516.8583
2017-01-21 01:30 | 494.6309
2017-01-21 01:45 | 516.9434
2017-01-21 02:00 | 502.9619
2017-01-21 02:15 | 515.79
2017-01-21 02:30 | 510.5948
2017-01-21 02:45 | 500.9067
2017-01-21 03:00 | 486.9796
2017-01-21 03:15 | 484.7121
2017-01-21 03:30 | 530.062
2017-01-21 03:45 | 528.2766
2017-01-21 04:00 | 492.6431
2017-01-21 04:15 | 468.295
2017-01-21 04:30 | 466.4946
2017-01-21 04:45 | 481.3961
2017-01-21 05:00 | 444.8077
2017-01-21 05:15 | 500.8057
2017-01-21 05:30 | 497.2652
2017-01-21 05:45 | 475.1014
2017-01-21 06:00 | 467.0805
2017-01-21 06:15 | 513.5273
2017-01-21 06:30 | 480.1631
2017-01-21 06:45 | 462.3099
2017-01-21 07:00 | 430.722
2017-01-21 07:15 | 475.9902
2017-01-21 07:30 | 422.014
2017-01-21 07:45 | 310.5634
2017-01-21 08:00
2017-01-21 08:15
2017-01-21 08:30
2017-01-21 08:45
2017-01-21 09:00
2017-01-21 09:15
2017-01-21 09:30
2017-01-21 09:45
2017-01-21 10:00
2017-01-21 10:15
2017-01-21 10:30
2017-01-21 10:45
2017-01-21 11:00
2017-01-21 11:15
2017-01-21 11:30
2017-01-21 11:45
2017-01-21 12:00
2017-01-21 12:15
2017-01-21 12:30
2017-01-21 12:45
2017-01-21 13:00
2017-01-21 13:15
2017-01-21 13:30
2017-01-21 13:45
2017-01-21 14:00
2017-01-21 14:15
2017-01-21 14:30
2017-01-21 14:45
2017-01-21 15:00
2017-01-21 15:15
2017-01-21 15:30
2017-01-21 15:45 | 132.701
2017-01-21 16:00 | 155.8478
2017-01-21 16:15 | 181.3349
2017-01-21 16:30 | 267.515
2017-01-21 16:45 | 343.4348
2017-01-21 17:00 | 389.172
2017-01-21 17:15 | 326.8871
2017-01-21 17:30 | 343.7641
2017-01-21 17:45 | 370.9823
2017-01-21 18:00 | 363.0798
2017-01-21 18:15 | 414.2938
2017-01-21 18:30 | 469.942
2017-01-21 18:45 | 525.3319
2017-01-21 19:00 | 530.3571
2017-01-21 19:15 | 585.9665
2017-01-21 19:30 | 613.8372
2017-01-21 19:45 | 618.21
2017-01-21 20:00 | 539.8201
2017-01-21 20:15 | 569.3777
2017-01-21 20:30 | 589.2256
2017-01-21 20:45 | 588.3815
2017-01-21 21:00 | 589.3967
2017-01-21 21:15 | 619.5582
2017-01-21 21:30 | 638.224
2017-01-21 21:45 | 649.8737
2017-01-21 22:00 | 617.9016
2017-01-21 22:15 | 624.8066
2017-01-21 22:30 | 633.9329
2017-01-21 22:45 | 605.9341
2017-01-21 23:00 | 614.9774
2017-01-21 23:15 | 665.7017
2017-01-21 23:30 | 723.4964
2017-01-21 23:45 | 779.9252
2017-01-22 | 803.3896
2017-01-22 00:15 | 749.1746
2017-01-22 00:30 | 818.6796
2017-01-22 00:45 | 787.0789
2017-01-22 01:00 | 806.4683
2017-01-22 01:15 | 791.2737
2017-01-22 01:30 | 798.2527
2017-01-22 01:45 | 817.576
2017-01-22 02:00 | 788.3176
2017-01-22 02:15 | 739.3345
2017-01-22 02:30 | 763.9996
2017-01-22 02:45 | 774.6318
2017-01-22 03:00 | 724.6456
2017-01-22 03:15 | 721.9128
2017-01-22 03:30 | 679.9421
2017-01-22 03:45 | 667.2314
2017-01-22 04:00 | 637.9042
2017-01-22 04:15 | 669.5716
2017-01-22 04:30 | 728.5883
2017-01-22 04:45 | 819.6326
2017-01-22 05:00 | 829.6356
2017-01-22 05:15 | 900.1962
2017-01-22 05:30 | 839.3819
2017-01-22 05:45 | 846.7097
2017-01-22 06:00 | 783.4219
2017-01-22 06:15 | 759.3762
2017-01-22 06:30 | 752.5613
2017-01-22 06:45 | 745.4202
2017-01-22 07:00 | 709.3372
2017-01-22 07:15 | 732.8136
2017-01-22 07:30 | 723.6906
2017-01-22 07:45 | 687.699
2017-01-22 08:00 | 690.892
2017-01-22 08:15 | 714.8881
2017-01-22 08:30 | 752.4739
2017-01-22 08:45 | 701.6638
2017-01-22 09:00 | 708.3468
2017-01-22 09:15 | 698.7659
2017-01-22 09:30 | 719.3315
2017-01-22 09:45 | 698.5216
2017-01-22 10:00 | 746.9
2017-01-22 10:15 | 794.0941
2017-01-22 10:30 | 846.8917
2017-01-22 10:45 | 924.5947
2017-01-22 11:00 | 906.1048
2017-01-22 11:15 | 804.6669
2017-01-22 11:30
2017-01-22 11:45
2017-01-22 12:00
2017-01-22 12:15
2017-01-22 12:30 | 778.7666
2017-01-22 12:45 | 699.1644
2017-01-22 13:00 | 675.6777
2017-01-22 13:15 | 691.0727
2017-01-22 13:30 | 697.3112
2017-01-22 13:45 | 757.9196
2017-01-22 14:00 | 731.5932
2017-01-22 14:15 | 689.79
2017-01-22 14:30 | 716.4965
2017-01-22 14:45 | 753.3148
2017-01-22 15:00 | 716.9294
2017-01-22 15:15 | 717.4011
2017-01-22 15:30 | 651.4433
2017-01-22 15:45 | 649.7039
2017-01-22 16:00 | 673.8066
2017-01-22 16:15 | 713.6002
2017-01-22 16:30 | 666.4467
2017-01-22 16:45 | 708.4634
2017-01-22 17:00 | 684.3439
2017-01-22 17:15 | 769.2966
2017-01-22 17:30 | 726.9429
2017-01-22 17:45 | 763.9388
2017-01-22 18:00 | 792.4904
2017-01-22 18:15 | 805.165
2017-01-22 18:30 | 846.3618
2017-01-22 18:45 | 832.4429
2017-01-22 19:00 | 867.2144
2017-01-22 19:15 | 894.6798
2017-01-22 19:30 | 969.9101
2017-01-22 19:45 | 985.2214
2017-01-22 20:00 | 925.8196
2017-01-22 20:15 | 885.0413
2017-01-22 20:30 | 896.7416
2017-01-22 20:45 | 890.9429
2017-01-22 21:00 | 889.0609
2017-01-22 21:15 | 857.2585
2017-01-22 21:30 | 849.8843
2017-01-22 21:45 | 811.5494
2017-01-22 22:00 | 781.3266
2017-01-22 22:15 | 836.5153
2017-01-22 22:30 | 822.0372
2017-01-22 22:45 | 808.7205
2017-01-22 23:00 | 742.024
2017-01-22 23:15 | 641.9423
2017-01-22 23:30 | 700.0263
2017-01-22 23:45 | 750.1622
2017-01-23 | 769.5136
2017-01-23 00:15 | 723.6862
2017-01-23 00:30 | 699.7108
2017-01-23 00:45 | 711.1302
2017-01-23 01:00 | 688.3854
2017-01-23 01:15 | 655.2061
2017-01-23 01:30 | 671.6122
2017-01-23 01:45 | 707.7231
2017-01-23 02:00 | 698.0193
2017-01-23 02:15 | 741.617
2017-01-23 02:30 | 708.1765
2017-01-23 02:45 | 698.007
2017-01-23 03:00 | 663.4461
2017-01-23 03:15 | 667.925
2017-01-23 03:30 | 647.9379
2017-01-23 03:45 | 629.5469
2017-01-23 04:00 | 594.5782
2017-01-23 04:15 | 605.8619
2017-01-23 04:30 | 611.5955
2017-01-23 04:45 | 550.0411
2017-01-23 05:00 | 506.1483
2017-01-23 05:15 | 564.4767
2017-01-23 05:30 | 520.3912
2017-01-23 05:45 | 500.5222
2017-01-23 06:00 | 447.6306
2017-01-23 06:15 | 502.6134
2017-01-23 06:30 | 412.0001
2017-01-23 06:45 | 439.7675
2017-01-23 07:00 | 461.328
2017-01-23 07:15 | 410.64
2017-01-23 07:30 | 372.0261
2017-01-23 07:45 | 310.2593
2017-01-23 08:00 | 246.9794
2017-01-23 08:15
2017-01-23 08:30
2017-01-23 08:45
2017-01-23 09:00
2017-01-23 09:15 | 274.5929
2017-01-23 09:30 | 262.3542
2017-01-23 09:45 | 218.9887
2017-01-23 10:00
2017-01-23 10:15
2017-01-23 10:30
2017-01-23 10:45 | 159.6324
2017-01-23 11:00
2017-01-23 11:15
2017-01-23 11:30
2017-01-23 11:45
2017-01-23 12:00
2017-01-23 12:15
2017-01-23 12:30
2017-01-23 12:45
2017-01-23 13:00
2017-01-23 13:15
2017-01-23 13:30
2017-01-23 13:45
2017-01-23 14:00
2017-01-23 14:15
2017-01-23 14:30
2017-01-23 14:45
2017-01-23 15:00
2017-01-23 15:15
2017-01-23 15:30
2017-01-23 15:45
2017-01-23 16:00 | 85.0214
2017-01-23 16:15 | 196.4438
2017-01-23 16:30 | 194.3484
2017-01-23 16:45 | 126.0516
2017-01-23 17:00 | 200.3814
2017-01-23 17:15 | 214.9513
2017-01-23 17:30 | 234.1378
2017-01-23 17:45 | 221.6198
2017-01-23 18:00 | 124.9114
2017-01-23 18:15 | 274.6399
2017-01-23 18:30 | 312.8199
2017-01-23 18:45 | 309.7119
2017-01-23 19:00 | 334.8627
2017-01-23 19:15 | 334.0842
2017-01-23 19:30 | 324.1622
2017-01-23 19:45 | 330.162
2017-01-23 20:00 | 352.9989
2017-01-23 20:15 | 432.1688
2017-01-23 20:30 | 480.2946
2017-01-23 20:45 | 511.0703
2017-01-23 21:00 | 482.4761
2017-01-23 21:15 | 450.6653
2017-01-23 21:30 | 444.6569
2017-01-23 21:45 | 463.4958
2017-01-23 22:00 | 432.1866
2017-01-23 22:15 | 485.6905
2017-01-23 22:30 | 581.0152
2017-01-23 22:45 | 560.2464
2017-01-23 23:00 | 595.173
2017-01-23 23:15 | 628.9809
2017-01-23 23:30 | 589.9896
2017-01-23 23:45 | 630.5933
2017-01-24 | 631.4124
2017-01-24 00:15 | 580.5054
2017-01-24 00:30 | 500.6436
2017-01-24 00:45 | 483.9327
2017-01-24 01:00 | 451.28
2017-01-24 01:15 | 477.8215
2017-01-24 01:30 | 526.2282
2017-01-24 01:45 | 535.3566
2017-01-24 02:00 | 532.2491
2017-01-24 02:15 | 487.9532
2017-01-24 02:30 | 505.441
2017-01-24 02:45 | 519.087
2017-01-24 03:00 | 475.3122
2017-01-24 03:15 | 426.6129
2017-01-24 03:30 | 398.6961
2017-01-24 03:45 | 337.1105
2017-01-24 04:00 | 294.3185
2017-01-24 04:15 | 282.9219
2017-01-24 04:30 | 289.6736
2017-01-24 04:45 | 272.8429
2017-01-24 05:00 | 273.7012
2017-01-24 05:15 | 286.499
2017-01-24 05:30 | 337.8106
2017-01-24 05:45 | 311.5352
2017-01-24 06:00 | 277.6263
2017-01-24 06:15 | 326.2529
2017-01-24 06:30 | 218.2012
2017-01-24 06:45 | 119.0337
2017-01-24 07:00 | 68.8475
2017-01-24 07:15 | 103.1668
2017-01-24 07:30
2017-01-24 07:45
2017-01-24 08:00
2017-01-24 08:15
2017-01-24 08:30
2017-01-24 08:45
2017-01-24 09:00
2017-01-24 09:15
2017-01-24 09:30
2017-01-24 09:45
2017-01-24 10:00
2017-01-24 10:15
2017-01-24 10:30
2017-01-24 10:45
2017-01-24 11:00
2017-01-24 11:15
2017-01-24 11:30
2017-01-24 11:45
2017-01-24 12:00
2017-01-24 12:15
2017-01-24 12:30
2017-01-24 12:45
2017-01-24 13:00
2017-01-24 13:15
2017-01-24 13:30
2017-01-24 13:45
2017-01-24 14:00
2017-01-24 14:15
2017-01-24 14:30
2017-01-24 14:45
2017-01-24 15:00
2017-01-24 15:15
2017-01-24 15:30
2017-01-24 15:45
2017-01-24 16:00
2017-01-24 16:15
2017-01-24 16:30
2017-01-24 16:45 | 155.7146
2017-01-24 17:00 | 232.3883
2017-01-24 17:15 | 240.0023
2017-01-24 17:30 | 290.3833
2017-01-24 17:45 | 270.8029
2017-01-24 18:00 | 244.6939
2017-01-24 18:15 | 276.2007
2017-01-24 18:30 | 320.711
2017-01-24 18:45 | 312.0499
2017-01-24 19:00 | 348.3694
2017-01-24 19:15 | 340.7658
2017-01-24 19:30 | 333.9693
2017-01-24 19:45 | 369.3202
2017-01-24 20:00 | 342.7613
2017-01-24 20:15 | 271.114
2017-01-24 20:30 | 313.8016
2017-01-24 20:45 | 419.0782
2017-01-24 21:00 | 415.3162
2017-01-24 21:15 | 399.4745
2017-01-24 21:30 | 454.7901
2017-01-24 21:45 | 465.9688
2017-01-24 22:00 | 458.3397
2017-01-24 22:15 | 415.3758
2017-01-24 22:30 | 456.39
2017-01-24 22:45 | 506.8487
2017-01-24 23:00 | 538.1888
2017-01-24 23:15 | 552.5035
2017-01-24 23:30 | 515.0069
2017-01-24 23:45 | 521.5391
2017-01-25 | 519.743
2017-01-25 00:15 | 531.57
2017-01-25 00:30 | 482.7548
2017-01-25 00:45 | 546.2698
2017-01-25 01:00 | 567.9851
2017-01-25 01:15 | 575.1779
2017-01-25 01:30 | 641.4145
2017-01-25 01:45 | 670.3727
2017-01-25 02:00 | 653.678
2017-01-25 02:15 | 649.376
2017-01-25 02:30 | 673.4721
2017-01-25 02:45 | 670.5344
2017-01-25 03:00 | 680.1266
2017-01-25 03:15 | 660.1374
2017-01-25 03:30 | 634.5773
2017-01-25 03:45 | 625.2428
2017-01-25 04:00 | 550.618
2017-01-25 04:15 | 534.1222
2017-01-25 04:30 | 544.4362
2017-01-25 04:45 | 487.9281
2017-01-25 05:00 | 487.5477
2017-01-25 05:15 | 569.509
2017-01-25 05:30 | 561.9801
2017-01-25 05:45 | 580.7142
2017-01-25 06:00 | 534.6927
2017-01-25 06:15 | 513.5487
2017-01-25 06:30 | 512.2441
2017-01-25 06:45 | 492.1215
2017-01-25 07:00 | 430.326
2017-01-25 07:15 | 431.1819
2017-01-25 07:30 | 353.9368
2017-01-25 07:45 | 298.151
2017-01-25 08:00 | 306.8269
2017-01-25 08:15 | 170.5957
2017-01-25 08:30 | 85.3959
2017-01-25 08:45 | 68.1079
2017-01-25 09:00
2017-01-25 09:15
2017-01-25 09:30
2017-01-25 09:45
2017-01-25 10:00
2017-01-25 10:15
2017-01-25 10:30
2017-01-25 10:45
2017-01-25 11:00
2017-01-25 11:15
2017-01-25 11:30
2017-01-25 11:45
2017-01-25 12:00
2017-01-25 12:15
2017-01-25 12:30
2017-01-25 12:45
2017-01-25 13:00
2017-01-25 13:15
2017-01-25 13:30
2017-01-25 13:45
2017-01-25 14:00
2017-01-25 14:15
2017-01-25 14:30
2017-01-25 14:45
2017-01-25 15:00
2017-01-25 15:15
2017-01-25 15:30
2017-01-25 15:45
2017-01-25 16:00
2017-01-25 16:15
2017-01-25 16:30 | 147.5931
2017-01-25 16:45 | 291.2465
2017-01-25 17:00 | 392.179
2017-01-25 17:15 | 349.3549
2017-01-25 17:30 | 504.3119
2017-01-25 17:45 | 551.7479
2017-01-25 18:00 | 525.9152
2017-01-25 18:15 | 457.7615
2017-01-25 18:30 | 463.1883
2017-01-25 18:45 | 487.4423
2017-01-25 19:00 | 520.4352
2017-01-25 19:15 | 594.0967
2017-01-25 19:30 | 625.9003
2017-01-25 19:45 | 625.4639
2017-01-25 20:00 | 597.4166
2017-01-25 20:15 | 581.0339
2017-01-25 20:30 | 587.3589
2017-01-25 20:45 | 578.4827
2017-01-25 21:00 | 561.5723
2017-01-25 21:15 | 628.2333
2017-01-25 21:30 | 632.2012
2017-01-25 21:45 | 621.0416
2017-01-25 22:00 | 657.0272
2017-01-25 22:15 | 614.7206
2017-01-25 22:30 | 634.4497
2017-01-25 22:45 | 614.4539
2017-01-25 23:00 | 625.6887
2017-01-25 23:15 | 685.6054
2017-01-25 23:30 | 743.5039
2017-01-25 23:45 | 765.4511
2017-01-26 | 734.707
2017-01-26 00:15 | 650.2005
2017-01-26 00:30 | 646.9446
2017-01-26 00:45 | 668.0989
2017-01-26 01:00 | 705.0289
2017-01-26 01:15 | 604.7595
2017-01-26 01:30 | 605.6979
2017-01-26 01:45 | 633.9955
2017-01-26 02:00 | 645.8894
2017-01-26 02:15 | 594.2068
2017-01-26 02:30 | 559.5048
2017-01-26 02:45 | 572.8292
2017-01-26 03:00 | 612.1016
2017-01-26 03:15 | 644.5764
2017-01-26 03:30 | 613.9419
2017-01-26 03:45 | 589.9197
2017-01-26 04:00 | 573.5653
2017-01-26 04:15 | 567.0004
2017-01-26 04:30 | 572.1187
2017-01-26 04:45 | 546.7786
2017-01-26 05:00 | 503.0284
2017-01-26 05:15 | 594.299
2017-01-26 05:30 | 579.6586
2017-01-26 05:45 | 524.1908
2017-01-26 06:00 | 495.7542
2017-01-26 06:15 | 537.8077
2017-01-26 06:30 | 497.2177
2017-01-26 06:45 | 568.6966
2017-01-26 07:00 | 599.5493
2017-01-26 07:15 | 538.04
2017-01-26 07:30 | 476.328
2017-01-26 07:45 | 449.803
2017-01-26 08:00 | 412.6542
2017-01-26 08:15
2017-01-26 08:30
2017-01-26 08:45
2017-01-26 09:00
2017-01-26 09:15
2017-01-26 09:30
2017-01-26 09:45
2017-01-26 10:00
2017-01-26 10:15
2017-01-26 10:30
2017-01-26 10:45
2017-01-26 11:00
2017-01-26 11:15
2017-01-26 11:30
2017-01-26 11:45
2017-01-26 12:00
2017-01-26 12:15
2017-01-26 12:30
2017-01-26 12:45
2017-01-26 13:00
2017-01-26 13:15
2017-01-26 13:30
2017-01-26 13:45
2017-01-26 14:00
2017-01-26 14:15
2017-01-26 14:30
2017-01-26 14:45
2017-01-26 15:00
2017-01-26 15:15
2017-01-26 15:30
2017-01-26 15:45
2017-01-26 16:00
2017-01-26 16:15
2017-01-26 16:30
2017-01-26 16:45
2017-01-26 17:00 | 280.3002
2017-01-26 17:15 | 377.3052
2017-01-26 17:30 | 468.2423
2017-01-26 17:45 | 499.1644
2017-01-26 18:00 | 488.1538
2017-01-26 18:15 | 509.0239
2017-01-26 18:30 | 477.9056
2017-01-26 18:45 | 509.546
2017-01-26 19:00 | 513.2502
2017-01-26 19:15 | 501.9299
2017-01-26 19:30 | 526.0566
2017-01-26 19:45 | 465.8515
2017-01-26 20:00 | 448.9039
2017-01-26 20:15 | 462.7144
2017-01-26 20:30 | 462.6972
2017-01-26 20:45 | 511.9734
2017-01-26 21:00 | 521.5978
2017-01-26 21:15 | 554.5822
2017-01-26 21:30 | 513.3602
2017-01-26 21:45 | 487.9866
2017-01-26 22:00 | 445.7717
2017-01-26 22:15 | 412.0019
2017-01-26 22:30 | 452.6892
2017-01-26 22:45 | 523.3561
2017-01-26 23:00 | 536.6373
2017-01-26 23:15 | 454.6405
2017-01-26 23:30 | 521.0538
2017-01-26 23:45 | 562.9425
2017-01-27 | 552.5969
2017-01-27 00:15 | 530.2941
2017-01-27 00:30 | 490.8569
2017-01-27 00:45 | 525.5346
2017-01-27 01:00 | 555.1444
2017-01-27 01:15 | 586.7577
2017-01-27 01:30 | 612.5446
2017-01-27 01:45 | 634.485
2017-01-27 02:00 | 617.4124
2017-01-27 02:15 | 614.6243
2017-01-27 02:30 | 582.4682
2017-01-27 02:45 | 558.5146
2017-01-27 03:00 | 554.2188
2017-01-27 03:15 | 501.6478
2017-01-27 03:30 | 449.8571
2017-01-27 03:45 | 478.0469
2017-01-27 04:00 | 484.3926
2017-01-27 04:15 | 498.1528
2017-01-27 04:30 | 506.8565
2017-01-27 04:45 | 481.9153
2017-01-27 05:00 | 390.0315
2017-01-27 05:15 | 397.2242
2017-01-27 05:30 | 421.3661
2017-01-27 05:45 | 477.2337
2017-01-27 06:00 | 583.9449
2017-01-27 06:15 | 683.0065
2017-01-27 06:30 | 710.9035
2017-01-27 06:45 | 714.9785
2017-01-27 07:00 | 664.2839
2017-01-27 07:15 | 580.7346
2017-01-27 07:30 | 471.1963
2017-01-27 07:45 | 359.121
2017-01-27 08:00 | 410.0388
2017-01-27 08:15 | 456.7443
2017-01-27 08:30 | 425.9565
2017-01-27 08:45 | 377.0751
2017-01-27 09:00 | 387.2457
2017-01-27 09:15 | 374.4632
2017-01-27 09:30
2017-01-27 09:45
2017-01-27 10:00
2017-01-27 10:15
2017-01-27 10:30
2017-01-27 10:45
2017-01-27 11:00
2017-01-27 11:15
2017-01-27 11:30
2017-01-27 11:45
2017-01-27 12:00
2017-01-27 12:15
2017-01-27 12:30
2017-01-27 12:45
2017-01-27 13:00
2017-01-27 13:15
2017-01-27 13:30
2017-01-27 13:45
2017-01-27 14:00
2017-01-27 14:15
2017-01-27 14:30
2017-01-27 14:45
2017-01-27 15:00
2017-01-27 15:15
2017-01-27 15:30
2017-01-27 15:45
2017-01-27 16:00
2017-01-27 16:15
2017-01-27 16:30
2017-01-27 16:45 | 237.6967
2017-01-27 17:00 | 396.6893
2017-01-27 17:15 | 431.3769
2017-01-27 17:30 | 573.475
2017-01-27 17:45 | 727.5372
2017-01-27 18:00 | 742.4653
2017-01-27 18:15 | 745.9997
2017-01-27 18:30 | 707.4379
2017-01-27 18:45 | 718.1
2017-01-27 19:00 | 686.1132
2017-01-27 19:15 | 762.7243
2017-01-27 19:30 | 731.2258
2017-01-27 19:45 | 711.9718
2017-01-27 20:00 | 698.7614
2017-01-27 20:15 | 682.9189
2017-01-27 20:30 | 748.5092
2017-01-27 20:45 | 702.3005
2017-01-27 21:00 | 738.888
2017-01-27 21:15 | 684.6419
2017-01-27 21:30 | 637.5934
2017-01-27 21:45 | 690.4024
2017-01-27 22:00 | 678.7314
2017-01-27 22:15 | 627.5792
2017-01-27 22:30 | 650.5169
2017-01-27 22:45 | 681.7244
2017-01-27 23:00 | 708.7961
2017-01-27 23:15 | 655.8516
2017-01-27 23:30 | 586.7185
2017-01-27 23:45 | 543.2718
2017-01-28 | 603.8994
2017-01-28 00:15 | 636.4212
2017-01-28 00:30 | 672.8539
2017-01-28 00:45 | 666.9435
2017-01-28 01:00 | 677.1376
2017-01-28 01:15 | 695.905
2017-01-28 01:30 | 638.2179
2017-01-28 01:45 | 657.9222
2017-01-28 02:00 | 701.3001
2017-01-28 02:15 | 716.1261
2017-01-28 02:30 | 692.0898
2017-01-28 02:45 | 705.1829
2017-01-28 03:00 | 703.0656
2017-01-28 03:15 | 659.6133
2017-01-28 03:30 | 659.6419
2017-01-28 03:45 | 673.8629
2017-01-28 04:00 | 646.0035
2017-01-28 04:15 | 651.466
2017-01-28 04:30 | 648.8864
2017-01-28 04:45 | 640.5688
2017-01-28 05:00 | 638.0798
2017-01-28 05:15 | 664.6318
2017-01-28 05:30 | 664.5947
2017-01-28 05:45 | 662.6591
2017-01-28 06:00 | 643.7825
2017-01-28 06:15 | 737.6921
2017-01-28 06:30 | 801.2241
2017-01-28 06:45 | 753.7358
2017-01-28 07:00 | 717.3632
2017-01-28 07:15 | 678.0428
2017-01-28 07:30 | 597.85
2017-01-28 07:45 | 465.8835
2017-01-28 08:00 | 442.5361
2017-01-28 08:15 | 384.341
2017-01-28 08:30 | 326.4928
2017-01-28 08:45
2017-01-28 09:00
2017-01-28 09:15
2017-01-28 09:30
2017-01-28 09:45
2017-01-28 10:00
2017-01-28 10:15
2017-01-28 10:30
2017-01-28 10:45
2017-01-28 11:00
2017-01-28 11:15
2017-01-28 11:30
2017-01-28 11:45
2017-01-28 12:00
2017-01-28 12:15
2017-01-28 12:30
2017-01-28 12:45
2017-01-28 13:00
2017-01-28 13:15
2017-01-28 13:30
2017-01-28 13:45
2017-01-28 14:00
2017-01-28 14:15
2017-01-28 14:30
2017-01-28 14:45
2017-01-28 15:00
2017-01-28 15:15
2017-01-28 15:30
2017-01-28 15:45
2017-01-28 16:00
2017-01-28 16:15
2017-01-28 16:30
2017-01-28 16:45 | 349.4995
2017-01-28 17:00 | 456.2624
2017-01-28 17:15 | 460.7396
2017-01-28 17:30 | 499.7166
2017-01-28 17:45 | 507.4583
2017-01-28 18:00 | 503.1014
2017-01-28 18:15 | 530.6577
2017-01-28 18:30 | 532.2752
2017-01-28 18:45 | 545.9912
2017-01-28 19:00 | 604.079
2017-01-28 19:15 | 595.9778
2017-01-28 19:30 | 597.7953
2017-01-28 19:45 | 637.3926
2017-01-28 20:00 | 605.4517
2017-01-28 20:15 | 602.683
2017-01-28 20:30 | 645.7628
2017-01-28 20:45 | 686.7791
2017-01-28 21:00 | 654.8232
2017-01-28 21:15 | 544.238
2017-01-28 21:30 | 555.7203
2017-01-28 21:45 | 562.3199
2017-01-28 22:00 | 550.4019
2017-01-28 22:15 | 497.5997
2017-01-28 22:30 | 522.9304
2017-01-28 22:45 | 506.0982
2017-01-28 23:00 | 509.3117
2017-01-28 23:15 | 527.287
2017-01-28 23:30 | 582.7687
2017-01-28 23:45 | 574.1425
2017-01-29 | 552.2672
2017-01-29 00:15 | 588.205
2017-01-29 00:30 | 573.2698
2017-01-29 00:45 | 586.2546
2017-01-29 01:00 | 586.774
2017-01-29 01:15 | 660.9702
2017-01-29 01:30 | 626.9642
2017-01-29 01:45 | 634.4783
2017-01-29 02:00 | 635.6321
2017-01-29 02:15 | 599.961
2017-01-29 02:30 | 590.4064
2017-01-29 02:45 | 568.0686
2017-01-29 03:00 | 587.4324
2017-01-29 03:15 | 614.8094
2017-01-29 03:30 | 624.3561
2017-01-29 03:45 | 659.7845
2017-01-29 04:00 | 622.3815
2017-01-29 04:15 | 614.645
2017-01-29 04:30 | 574.608
2017-01-29 04:45 | 530.0698
2017-01-29 05:00 | 514.3058
2017-01-29 05:15 | 522.3301
2017-01-29 05:30 | 528.8109
2017-01-29 05:45
2017-01-29 06:00
2017-01-29 06:15 | 554.0199
2017-01-29 06:30 | 558.1642
2017-01-29 06:45 | 581.4758
2017-01-29 07:00 | 583.8724
2017-01-29 07:15 | 454.9503
2017-01-29 07:30
2017-01-29 07:45
2017-01-29 08:00
2017-01-29 08:15
2017-01-29 08:30
2017-01-29 08:45
2017-01-29 09:00
2017-01-29 09:15
2017-01-29 09:30
2017-01-29 09:45
2017-01-29 10:00
2017-01-29 10:15
2017-01-29 10:30
2017-01-29 10:45
2017-01-29 11:00
2017-01-29 11:15
2017-01-29 11:30
2017-01-29 11:45
2017-01-29 12:00
2017-01-29 12:15
2017-01-29 12:30
2017-01-29 12:45
2017-01-29 13:00
2017-01-29 13:15
2017-01-29 13:30
2017-01-29 13:45
2017-01-29 14:00
2017-01-29 14:15
2017-01-29 14:30
2017-01-29 14:45
2017-01-29 15:00
2017-01-29 15:15
2017-01-29 15:30
2017-01-29 15:45
2017-01-29 16:00
2017-01-29 16:15
2017-01-29 16:30
2017-01-29 16:45
2017-01-29 17:00
2017-01-29 17:15 | 253.9534
2017-01-29 17:30 | 345.2342
2017-01-29 17:45 | 436.7809
2017-01-29 18:00 | 448.1154
2017-01-29 18:15 | 470.4788
2017-01-29 18:30 | 543.6023
2017-01-29 18:45 | 522.7393
2017-01-29 19:00 | 539.6418
2017-01-29 19:15 | 591.9854
2017-01-29 19:30 | 550.522
2017-01-29 19:45 | 547.8832
2017-01-29 20:00 | 457.2427
2017-01-29 20:15 | 462.0011
2017-01-29 20:30 | 487.2827
2017-01-29 20:45 | 514.6655
2017-01-29 21:00 | 547.3748
2017-01-29 21:15 | 511.8848
2017-01-29 21:30 | 531.5607
2017-01-29 21:45 | 523.3007
2017-01-29 22:00 | 494.4369
2017-01-29 22:15 | 409.0329
2017-01-29 22:30 | 446.7734
2017-01-29 22:45 | 486.9172
2017-01-29 23:00 | 463.0139
2017-01-29 23:15 | 342.9361
2017-01-29 23:30 | 290.5624
2017-01-29 23:45 | 348.2093
2017-01-30 | 360.3542
2017-01-30 00:15 | 328.4296
2017-01-30 00:30 | 359.5969
2017-01-30 00:45 | 363.658
2017-01-30 01:00 | 367.1739
2017-01-30 01:15 | 370.7433
2017-01-30 01:30 | 385.5268
2017-01-30 01:45 | 342.7301
2017-01-30 02:00 | 334.0973
2017-01-30 02:15 | 347.9774
2017-01-30 02:30 | 382.7791
2017-01-30 02:45 | 374.6083
2017-01-30 03:00 | 407.8587
2017-01-30 03:15 | 380.553
2017-01-30 03:30 | 349.175
2017-01-30 03:45 | 310.9326
2017-01-30 04:00 | 310.6321
2017-01-30 04:15 | 374.9852
2017-01-30 04:30 | 367.297
2017-01-30 04:45 | 375.7988
2017-01-30 05:00 | 312.1655
2017-01-30 05:15
2017-01-30 05:30
2017-01-30 05:45 | 298.1102
2017-01-30 06:00
2017-01-30 06:15
2017-01-30 06:30
2017-01-30 06:45
2017-01-30 07:00
2017-01-30 07:15
2017-01-30 07:30
2017-01-30 07:45
2017-01-30 08:00
2017-01-30 08:15
2017-01-30 08:30
2017-01-30 08:45
2017-01-30 09:00
2017-01-30 09:15
2017-01-30 09:30
2017-01-30 09:45
2017-01-30 10:00
2017-01-30 10:15
2017-01-30 10:30
2017-01-30 10:45
2017-01-30 11:00
2017-01-30 11:15
2017-01-30 11:30
2017-01-30 11:45
2017-01-30 12:00
2017-01-30 12:15
2017-01-30 12:30
2017-01-30 12:45
2017-01-30 13:00
2017-01-30 13:15
2017-01-30 13:30
2017-01-30 13:45
2017-01-30 14:00
2017-01-30 14:15
2017-01-30 14:30
2017-01-30 14:45
2017-01-30 15:00
2017-01-30 15:15
2017-01-30 15:30
2017-01-30 15:45
2017-01-30 16:00
2017-01-30 16:15
2017-01-30 16:30 | 384.1732
2017-01-30 16:45
2017-01-30 17:00
2017-01-30 17:15
2017-01-30 17:30
2017-01-30 17:45
2017-01-30 18:00
2017-01-30 18:15
2017-01-30 18:30
2017-01-30 18:45
2017-01-30 19:00
2017-01-30 19:15
2017-01-30 19:30
2017-01-30 19:45
2017-01-30 20:00
2017-01-30 20:15
2017-01-30 20:30
2017-01-30 20:45
2017-01-30 21:00
2017-01-30 21:15
2017-01-30 21:30
2017-01-30 21:45
2017-01-30 22:00
2017-01-30 22:15 | 419.0986
2017-01-30 22:30 | 522.274
2017-01-30 22:45 | 459.871
2017-01-30 23:00 | 405.3449
2017-01-30 23:15 | 411.2018
2017-01-30 23:30 | 410.0536
2017-01-30 23:45 | 433.7167
2017-01-31 | 401.9526
2017-01-31 00:15 | 392.7367
2017-01-31 00:30 | 382.2628
2017-01-31 00:45 | 434.334
2017-01-31 01:00 | 439.3559
2017-01-31 01:15 | 472.0042
2017-01-31 01:30 | 519.5274
2017-01-31 01:45 | 551.5668
2017-01-31 02:00 | 566.0177
2017-01-31 02:15 | 572.6661
2017-01-31 02:30 | 544.1057
2017-01-31 02:45 | 518.0269
2017-01-31 03:00 | 540.9478
2017-01-31 03:15 | 506.5273
2017-01-31 03:30 | 475.5054
2017-01-31 03:45 | 507.7044
2017-01-31 04:00 | 502.499
2017-01-31 04:15 | 476.9552
2017-01-31 04:30 | 490.1624
2017-01-31 04:45 | 449.3674
2017-01-31 05:00 | 454.378
2017-01-31 05:15 | 414.0743
2017-01-31 05:30 | 394.6765
2017-01-31 05:45 | 358.6622
2017-01-31 06:00 | 368.97
2017-01-31 06:15 | 474.5356
2017-01-31 06:30 | 404.8039
2017-01-31 06:45 | 359.4941
2017-01-31 07:00 | 354.8685
2017-01-31 07:15 | 408.6278
2017-01-31 07:30 | 410.4637
2017-01-31 07:45
2017-01-31 08:00
2017-01-31 08:15 | 448.1424
2017-01-31 08:30
2017-01-31 08:45
2017-01-31 09:00
2017-01-31 09:15
2017-01-31 09:30
2017-01-31 09:45
2017-01-31 10:00
2017-01-31 10:15
2017-01-31 10:30
2017-01-31 10:45
2017-01-31 11:00
2017-01-31 11:15
2017-01-31 11:30
2017-01-31 11:45
2017-01-31 12:00
2017-01-31 12:15
2017-01-31 12:30
2017-01-31 12:45
2017-01-31 13:00
2017-01-31 13:15
2017-01-31 13:30
2017-01-31 13:45
2017-01-31 14:00
2017-01-31 14:15
2017-01-31 14:30
2017-01-31 14:45
2017-01-31 15:00
2017-01-31 15:15
2017-01-31 15:30
2017-01-31 15:45
2017-01-31 16:00
2017-01-31 16:15
2017-01-31 16:30
2017-01-31 16:45
2017-01-31 17:00 | 285.3327
2017-01-31 17:15
2017-01-31 17:30
2017-01-31 17:45 | 444.7828
2017-01-31 18:00 | 461.2799
2017-01-31 18:15
2017-01-31 18:30 | 429.6907
2017-01-31 18:45 | 513.1482
2017-01-31 19:00 | 551.1831
2017-01-31 19:15 | 651.342
2017-01-31 19:30 | 525.0683
2017-01-31 19:45 | 447.4981
2017-01-31 20:00
2017-01-31 20:15
2017-01-31 20:30
2017-01-31 20:45
2017-01-31 21:00
2017-01-31 21:15
2017-01-31 21:30
2017-01-31 21:45
2017-01-31 22:00
2017-01-31 22:15
2017-01-31 22:30
2017-01-31 22:45 | 288.9101
2017-01-31 23:00 | 345.7799
2017-01-31 23:15 | 332.5944
2017-01-31 23:30
2017-01-31 23:45
2017-02-01

## Notes
TOT.2 PATH
Actual Loadings: 01/01/17 - 02/01/17 (31 Days)
Source: 15-minute average of 2-second SCADA MW readings via PI,
as received at BPA from Interutility Data Exchange
SCADA/PI Point PACE.GEN.230kV.MW.41829 (TOT.2: Actual)
Actual Averages, All Hours: 381. Heavy Hours Only: 295. Light Hours Only: 484.
BPA Technical Operations/TOT-OpInfo@bpa.gov/Feb 01, 2017
Actual Averages, All Hours: 381. Heavy Hours Only: 295. Light Hours Only: 484.
BPA Technical Operations/TOT-OpInfo@bpa.gov/Feb 01, 2017