## WOH CHART
Average hourly FLOW (mw):
All hours: -934 Heavy hours only: -947 Light hours only: -916
Note: a new methodology for calculating path capacity is used beginning 07/27/97
Source: Hourly data via RODS and IDES (AVA & NWE); Internal distribution; Comments to Roy Ellis/TOT
E-to-W
W-to-E

## Sheet1
WEST-OF-HATWAI PATH CAPABILITIES, SCHEDULES, & ACTUAL FLOW:
HOURLY LOADINGS: 01MAR04 - 31MAR04
Note: a new methodology for calculating path capacity is used beginning 07/27/97
Source: Hourly data via RODS and IDES (AVA & NWE); Internal distribution; Comments to Roy Ellis/TOT
(BPA Technical Operations/TOT/x2964 05APR04 12:16)
Average hourly FLOW (mw): |  |  | All hours: -934 Heavy hours only: -947 Light hours only: -916
MEANS ONLY
|  | MEAN | SIGNS REVERSED: MEAN | SIGNS REVERSED: MEAN | MEAN
Date | Hour of | W-OF-HATWAI CUTPLANE: ACTUAL FLOW (42064) | W-OF-HATWAI CUTPLANE: ESTIMATED CAPABILITY (46960) | W-OF-HATWAI CUTPLANE: AVA SCHEDULE (36975) | AMBIENT TEMP AT HATWAI (15270)
2004-03-01 | 1:00 | -681.1985 | -2497.5833 | 22 | 37.43
2004-03-01 | 2:00 | -687.3908 | -2500 | 45 | 36.23
2004-03-01 | 3:00 | -706.2506 | -2500 | 56 | 35.1425
2004-03-01 | 4:00 | -687.3776 | -2500 | 48 | 34.3925
2004-03-01 | 5:00 | -420.6569 | -2500 | -13 | 34.1975
2004-03-01 | 6:00 | -259.384 | -2500 | -56 | 34.055
2004-03-01 | 7:00 | -372.4011 | -2500 | -198 | 33.74
2004-03-01 | 8:00 | -429.2223 | -2500 | -213 | 35.105
2004-03-01 | 9:00 | -503.576 | -2496.4167 | -213 | 38.7575
2004-03-01 | 10:00 | -589.726 | -2484.4583 | -221 | 42.5225
2004-03-01 | 11:00 | -671.5664 | -2469.0833 | -238 | 45.71
2004-03-01 | 12:00 | -744.5997 | -2447.4167 | -201 | 48.7025
2004-03-01 | 13:00 | -759.2449 | -2430.625 | -182 | 49.625
2004-03-01 | 14:00 | -804.0896 | -2418.25 | -164 | 50.12
2004-03-01 | 15:00 | -761.4888 | -2410.125 | -107 | 46.82
2004-03-01 | 16:00 | -723.6113 | -2407.875 | -108 | 46.4675
2004-03-01 | 17:00 | -676.649 | -2408.5833 | -52 | 46.415
2004-03-01 | 18:00 | -473.1167 | -2423.875 | -231 | 45.485
2004-03-01 | 19:00 | -539.3053 | -2444.3333 | -230 | 44.06
2004-03-01 | 20:00 | -577.1085 | -2458.25 | -207 | 43.67
2004-03-01 | 21:00 | -691.6815 | -2471.4583 | -177 | 42.8525
2004-03-01 | 22:00 | -749.5978 | -2476.5 | -93 | 42.23
2004-03-01 | 23:00 | -753.9111 | -2478.8333 | -164 | 41.5025
2004-03-01 | 23:59 | -727.8921 | -2491.625 | -77 | 39.4925
2004-03-02 | 1:00 | -811.6504 | -2493.875 | -116 | 39.9425
2004-03-02 | 2:00 | -817.9077 | -2490.5417 | -65 | 40.0925
2004-03-02 | 3:00 | -857.627 | -2485.5 | -4 | 40.205
2004-03-02 | 4:00 | -863.6541 | -2487.3333 | -13 | 39.38
2004-03-02 | 5:00 | -674.0789 | -2490.2917 | -28 | 38.8625
2004-03-02 | 6:00 | -432.2937 | -2497.0833 | 47 | 37.9925
2004-03-02 | 7:00 | -624.4612 | -2499.875 | -257 | 38.27
2004-03-02 | 8:00 | -631.5248 | -2495.3333 | -270 | 39.005
2004-03-02 | 9:00 | -669.9127 | -2473.375 | -263 | 39.6725
2004-03-02 | 10:00 | -715.0457 | -2459.875 | -249 | 42.695
2004-03-02 | 11:00 | -726.6152 | -2450.0417 | -282 | 46.1825
2004-03-02 | 12:00 | -786.0335 | -2442.7083 | -184 | 47.7275
2004-03-02 | 13:00 | -826.5405 | -2437 | -185 | 50.045
2004-03-02 | 14:00 | -856.0908 | -2429 | -181 | 49.4525
2004-03-02 | 15:00 | -824.7043 | -2423.4583 | -178 | 48.2975
2004-03-02 | 16:00 | -801.9419 | -2420.7917 | -180 | 48.875
2004-03-02 | 17:00 | -704.3806 | -2425.2917 | -73 | 46.985
2004-03-02 | 18:00 | -584.121 | -2437.2083 | -207 | 43.13
2004-03-02 | 19:00 | -647.735 | -2456.9583 | -204 | 39.4925
2004-03-02 | 20:00 | -623.9478 | -2484.125 | -188 | 36.605
2004-03-02 | 21:00 | -748.9062 | -2495.7917 | -202 | 35.225
2004-03-02 | 22:00 | -837.8467 | -2499.0833 | -172 | 34.265
2004-03-02 | 23:00 | -836.6005 | -2500 | -67 | 34.1
2004-03-02 | 23:59 | -772.5213 | -2500 | -80 | 32.66
2004-03-03 | 1:00 | -675.7808 | -2500 | -75 | 31.6175
2004-03-03 | 2:00 | -707.0622 | -2500 | -48 | 31.175
2004-03-03 | 3:00 | -662.1857 | -2500 | -35 | 30.9725
2004-03-03 | 4:00 | -620.1159 | -2500 | -46 | 29.84
2004-03-03 | 5:00 | -436.01 | -2500 | -126 | 31.5875
2004-03-03 | 6:00 | -349.4125 | -2500 | -126 | 31.3625
2004-03-03 | 7:00 | -403.9533 | -2500 | -311 | 31.0475
2004-03-03 | 8:00 | -515.0313 | -2500 | -245 | 32.69
2004-03-03 | 9:00 | -576.1091 | -2500 | -167 | 36.26
2004-03-03 | 10:00 | -665.5725 | -2497.0833 | -167 | 37.205
2004-03-03 | 11:00 | -609.45 | -2486.6818 | -167 | 39.2818
2004-03-03 | 12:00 | -684.653 | -2477.75 | -167 | 40.985
2004-03-03 | 13:00 | -638.125 | -2481.1667 | -167 | 37.145
2004-03-03 | 14:00 | -570.8108 | -2477.8333 | -194 | 35.3
2004-03-03 | 15:00 | -568.8412 | -2475.1667 | -194 | 34.3175
2004-03-03 | 16:00 | -496.5506 | -2478.7083 | -201 | 34.76
2004-03-03 | 17:00 | -395.6236 | -2478.3333 | -144 | 35.51
2004-03-03 | 18:00 | -412.5797 | -2480.8333 | -208 | 35.6075
2004-03-03 | 19:00 | -385.367 | -2481.9167 | -310 | 35
2004-03-03 | 20:00 | -496.6961 | -2483.7917 | -292 | 34.835
2004-03-03 | 21:00 | -597.4499 | -2485.0833 | -337 | 35.2325
2004-03-03 | 22:00 | -741.4979 | -2483 | -319 | 35.1575
2004-03-03 | 23:00 | -785.8314 | -2482.625 | -183 | 35.495
2004-03-03 | 23:59 | -741.4949 | -2481.7083 | -104 | 36.155
2004-03-04 | 1:00 | -782.7633 | -2480.6667 | -5 | 36.6125
2004-03-04 | 2:00 | -851.0761 | -2478.5417 | 23 | 37.07
2004-03-04 | 3:00 | -848.4722 | -2477.625 | 35 | 37.28
2004-03-04 | 4:00 | -782.4308 | -2481.3333 | 26 | 37.2275
2004-03-04 | 5:00 | -517.3438 | -2487.5417 | 36 | 35.375
2004-03-04 | 6:00 | -279.7248 | -2484.1667 | -100 | 35.12
2004-03-04 | 7:00 | -481.0539 | -2483.2917 | -176 | 35.1275
2004-03-04 | 8:00 | -498.2226 | -2476.2083 | -197 | 35.7725
2004-03-04 | 9:00 | -509.5186 | -2469.1667 | -187 | 38.27
2004-03-04 | 10:00 | -500.3486 | -2460.625 | -189 | 40.16
2004-03-04 | 11:00 | -524.544 | -2448.8333 | -203 | 41.5475
2004-03-04 | 12:00 | -582.9334 | -2446.6667 | -161 | 46.9925
2004-03-04 | 13:00 | -603.7915 | -2444.0833 | -151 | 45.74
2004-03-04 | 14:00 | -629.2979 | -2439.25 | -182 | 44.57
2004-03-04 | 15:00 | -695.1661 | -2432.5417 | -132 | 44.54
2004-03-04 | 16:00 | -703.5123 | -2419.6667 | -132 | 46.0325
2004-03-04 | 17:00 | -627.8048 | -2433.8333 | -132 | 40.5425
2004-03-04 | 18:00 | -492.4589 | -2456.9583 | -206 | 37.31
2004-03-04 | 19:00 | -548.8756 | -2472.4167 | -206 | 36.6125
2004-03-04 | 20:00 | -700.5631 | -2488.2083 | -187 | 36.635
2004-03-04 | 21:00 | -779.833 | -2494.625 | -205 | 36.755
2004-03-04 | 22:00 | -943.4364 | -2498.7917 | -120 | 37.145
2004-03-04 | 23:00 | -1031.1574 | -2500 | 33 | 35.825
2004-03-04 | 23:59 | -867.5753 | -2500 | 7 | 35.2625
2004-03-05 | 1:00 | -820.156 | -2500 | -1 | 34.9625
2004-03-05 | 2:00 | -847.3002 | -2496.9167 | 25 | 33.6425
2004-03-05 | 3:00 | -880.4511 | -2488.2083 | 38 | 33.395
2004-03-05 | 4:00 | -875.1829 | -2488.9583 | 26 | 32.735
2004-03-05 | 5:00 | -716.9194 | -2492.2083 | 40 | 33.695
2004-03-05 | 6:00 | -609.1426 | -2493.1667 | 141 | 35.3
2004-03-05 | 7:00 | -812.7821 | -2488 | -258 | 36.05
2004-03-05 | 8:00 | -862.0493 | -2482.0417 | -245 | 37.4375
2004-03-05 | 9:00 | -809.7712 | -2477.0417 | -270 | 39.3125
2004-03-05 | 10:00 | -792.1013 | -2474.125 | -270 | 41.045
2004-03-05 | 11:00 | -795.4059 | -2481.9167 | -292 | 41.3825
2004-03-05 | 12:00 | -814.7433 | -2484.375 | -244 | 41.5925
2004-03-05 | 13:00 | -826.8737 | -2483.0417 | -176 | 41.7875
2004-03-05 | 14:00 | -886.2528 | -2473.5417 | -208 | 40.985
2004-03-05 | 15:00 | -900.4732 | -2457.8333 | -178 | 41.615
2004-03-05 | 16:00 | -873.3041 | -2451.4167 | -179 | 42.29
2004-03-05 | 17:00 | -824.7147 | -2440.9167 | -124 | 42.1925
2004-03-05 | 18:00 | -679.8424 | -2453.4583 | -258 | 43.025
2004-03-05 | 19:00 | -794.2786 | -2461.0417 | -255 | 44.69
2004-03-05 | 20:00 | -907.028 | -2470.625 | -235 | 43.0175
2004-03-05 | 21:00 | -993.9153 | -2480.0417 | -186 | 39.29
2004-03-05 | 22:00 | -1000.8053 | -2486.375 | -169 | 38.4875
2004-03-05 | 23:00 | -920.3538 | -2489.9167 | 29 | 37.8425
2004-03-05 | 23:59 | -916.815 | -2491.5 | 7 | 37.6175
2004-03-06 | 1:00 | -848.2267 | -2493.7917 | -85 | 37.325
2004-03-06 | 2:00 | -872.4507 | -2496.9583 | -72 | 37.685
2004-03-06 | 3:00 | -912.6749 | -2498.25 | -44 | 37.4825
2004-03-06 | 4:00 | -857.0027 | -2500 | -14 | 36.9725
2004-03-06 | 5:00 | -802.0223 | -2500 | -26 | 37.025
2004-03-06 | 6:00 | -815.5306 | -2500 | -91 | 36.92
2004-03-06 | 7:00 | -1019.8563 | -2500 | -218 | 36.29
2004-03-06 | 8:00 | -872.3423 | -2498.4583 | -239 | 37.6325
2004-03-06 | 9:00 | -879.7893 | -2484.375 | -132 | 39.8
2004-03-06 | 10:00 | -850.893 | -2469.8333 | -104 | 41.78
2004-03-06 | 11:00 | -921.9221 | -2456.875 | -135 | 43.3925
2004-03-06 | 12:00 | -993.3829 | -2442.875 | -99 | 45.0275
2004-03-06 | 13:00 | -1122.9021 | -2434.2917 | -73 | 49.445
2004-03-06 | 14:00 | -1140.842 | -2432.0833 | -119 | 51.59
2004-03-06 | 15:00 | -1090.9138 | -2428.1667 | -88 | 51.02
2004-03-06 | 16:00 | -1142.5921 | -2421.5833 | -68 | 51.2975
2004-03-06 | 17:00 | -1101.9782 | -2426.625 | -105 | 49.3175
2004-03-06 | 18:00 | -996.9942 | -2436.75 | -121 | 45.35
2004-03-06 | 19:00 | -994.5576 | -2458.3333 | -132 | 41.8625
2004-03-06 | 20:00 | -1072.3271 | -2466.7917 | -78 | 39.845
2004-03-06 | 21:00 | -1119.6829 | -2461.875 | -62 | 39.1025
2004-03-06 | 22:00 | -1156.6342 | -2459.625 | -162 | 39.425
2004-03-06 | 23:00 | -1120.0504 | -2459.0417 | 65 | 39.0275
2004-03-06 | 23:59 | -1085.2469 | -2456.0417 | 19 | 40.985
2004-03-07 | 1:00 | -1135.2323 | -2456.9583 | -128 | 42.1775
2004-03-07 | 2:00 | -1081.5339 | -2455.6667 | -141 | 42.4475
2004-03-07 | 3:00 | -973.3969 | -2455.2083 | -122 | 43.0025
2004-03-07 | 4:00 | -972.4697 | -2453.5417 | -183 | 43.4525
2004-03-07 | 5:00 | -942.3287 | -2444.8333 | -173 | 43.1675
2004-03-07 | 6:00 | -927.6883 | -2444.875 | -154 | 43.1525
2004-03-07 | 7:00 | -906.1731 | -2437.125 | -208 | 43.9025
2004-03-07 | 8:00 | -810.1165 | -2430.4167 | -251 | 45.395
2004-03-07 | 9:00 | -877.5523 | -2423.5 | -150 | 47.2925
2004-03-07 | 10:00 | -912.1688 | -2402.9167 | -141 | 49.4075
2004-03-07 | 11:00 | -980.8911 | -2385.8333 | -129 | 50.975
2004-03-07 | 12:00 | -1016.9022 | -2357.375 | -110 | 53.8325
2004-03-07 | 13:00 | -1008.8627 | -2350.3333 | -107 | 55.4525
2004-03-07 | 14:00 | -1050.1471 | -2355.7917 | -144 | 57.815
2004-03-07 | 15:00 | -1084.9511 | -2360.25 | -42 | 63.26
2004-03-07 | 16:00 | -1106.4887 | -2364.1667 | -29 | 63.1625
2004-03-07 | 17:00 | -1019.9995 | -2367.7917 | -172 | 61.0925
2004-03-07 | 18:00 | -1038.6555 | -2373.375 | -108 | 58.5425
2004-03-07 | 19:00 | -1105.5938 | -2380.75 | -118 | 55.0175
2004-03-07 | 20:00 | -1253.4058 | -2384 | -140 | 53.2475
2004-03-07 | 21:00 | -1315.8465 | -2391.75 | -178 | 51.725
2004-03-07 | 22:00 | -1232.1304 | -2393.7083 | -112 | 52.025
2004-03-07 | 23:00 | -1218.8257 | -2397.2917 | -105 | 52.025
2004-03-07 | 23:59 | -1191.1363 | -2403.2917 | -148 | 50.57
2004-03-08 | 1:00 | -1178.6006 | -2411.9167 | -91 | 47.615
2004-03-08 | 2:00 | -886.9984 | -2424.6667 | -30 | 47.015
2004-03-08 | 3:00 | -1081.6364 | -2435.7083 | -53 | 46.0025
2004-03-08 | 4:00 | -1113.4529 | -2450.9583 | -63 | 44.6375
2004-03-08 | 5:00 | -887.0652 | -2459.7917 | -53 | 44.8175
2004-03-08 | 6:00 | -817.7028 | -2461.0833 | -1 | 43.8275
2004-03-08 | 7:00 | -782.7442 | -2470.25 | -208 | 44.6225
2004-03-08 | 8:00 | -791.6063 | -2466 | -195 | 46.76
2004-03-08 | 9:00 | -837.9374 | -2451.5 | -188 | 50.4425
2004-03-08 | 10:00 | -915.533 | -2426.5417 | -134 | 54.0125
2004-03-08 | 11:00 | -943.368 | -2396.0833 | -134 | 57.7175
2004-03-08 | 12:00 | -1050.1779 | -2374.9167 | -133 | 61.475
2004-03-08 | 13:00 | -1098.1647 | -2360.1667 | -100 | 64.1525
2004-03-08 | 14:00 | -1156.3474 | -2348.5417 | -132 | 67.19
2004-03-08 | 15:00 | -1162.7644 | -2341.3333 | -128 | 69.1775
2004-03-08 | 16:00 | -1169.6573 | -2337.4583 | -129 | 69.515
2004-03-08 | 17:00 | -1161.2183 | -2339.375 | -73 | 68.7425
2004-03-08 | 18:00 | -1081.6093 | -2349.8333 | -131 | 63.215
2004-03-08 | 19:00 | -1071.301 | -2374.25 | -131 | 59.3225
2004-03-08 | 20:00 | -1147.2503 | -2395.2917 | -87 | 58.07
2004-03-08 | 21:00 | -1348.656 | -2411.0417 | -104 | 57.485
2004-03-08 | 22:00 | -1155.74 | -2425.1667 | -189 | 56.5775
2004-03-08 | 23:00 | -1323.8968 | -2431.8333 | -58 | 55.25
2004-03-08 | 23:59 | -1165.6498 | -2437.125 | -80 | 54.155
2004-03-09 | 1:00 | -1024.1351 | -2449.9167 | -52 | 54.53
2004-03-09 | 2:00 | -1093.6762 | -2458 |  | 53.93
2004-03-09 | 3:00 | -1064.8063 | -2467.2083 | 12 | 52.13
2004-03-09 | 4:00 | -1012.278 | -2471.7083 | 2 | 52.235
2004-03-09 | 5:00 | -905.899 | -2475.5417 | 11 | 49.9775
2004-03-09 | 6:00 | -761.1495 | -2471.7083 | -50 | 48.0275
2004-03-09 | 7:00 | -594.8111 | -2472.125 | -164 | 48.41
2004-03-09 | 8:00 | -644.6093 | -2461 | -199 | 50.9375
2004-03-09 | 9:00 | -754.9959 | -2450.625 | -193 | 52.8725
2004-03-09 | 10:00 | -848.9439 | -2421.875 | -172 | 54.1775
2004-03-09 | 11:00 | -940.4783 | -2387.125 | -204 | 55.3475
2004-03-09 | 12:00 | -947.4443 | -2363.375 | -171 | 55.4975
2004-03-09 | 13:00 | -1010.7338 | -2356.0417 | -181 | 54.965
2004-03-09 | 14:00 | -1018.1867 | -2349.1667 | -216 | 55.085
2004-03-09 | 15:00 | -1068.582 | -2345.4583 | -223 | 56.945
2004-03-09 | 16:00 | -1184.0818 | -2343.25 | -226 | 58.535
2004-03-09 | 17:00 | -1284.9079 | -2343.2917 | -96 | 59.135
2004-03-09 | 18:00 | -1236.5302 | -2356.25 | -158 | 56.735
2004-03-09 | 19:00 | -1121.3581 | -2371.5 | -229 | 54.785
2004-03-09 | 20:00 | -1181.2801 | -2392.7083 | -208 | 54.4175
2004-03-09 | 21:00 | -1279.6288 | -2418.6667 | -197 | 52.1975
2004-03-09 | 22:00 | -1387.6423 | -2439.0833 | -180 | 49.43
2004-03-09 | 23:00 | -1431.6968 | -2448.5833 | -61 | 48.8375
2004-03-09 | 23:59 | -1381.2413 | -2467.7083 | -44 | 47.3375
2004-03-10 | 1:00 | -1249.4065 | -2506.25 | -29 | 45.0425
2004-03-10 | 2:00 | -1135.2655 | -2549.7917 | 23 | 44.165
2004-03-10 | 3:00 | -1139.5728 | -2557.25 | 54 | 42.65
2004-03-10 | 4:00 | -1012.0778 | -2530.8333 | 24 | 42.005
2004-03-10 | 5:00 | -729.1719 | -2530.9583 | 60 | 40.88
2004-03-10 | 6:00 | -769.6338 | -2507.0417 | 23 | 39.395
2004-03-10 | 7:00 | -793.1968 | -2494.7917 | -233 | 38.9525
2004-03-10 | 8:00 | -920.7532 | -2488.9583 | -218 | 41.9225
2004-03-10 | 9:00 | -1068.286 | -2457.5833 | -214 | 45.0275
2004-03-10 | 10:00 | -1153.8314 | -2430.375 | -156 | 47.69
2004-03-10 | 11:00 | -1209.4977 | -2411.6667 | -156 | 51.1625
2004-03-10 | 12:00 | -1250.9792 | -2397.875 | -189 | 54.485
2004-03-10 | 13:00 | -1334.9768 | -2387.4583 | -158 | 57.29
2004-03-10 | 14:00 | -1369.9488 | -2372.9167 | -154 | 59.6825
2004-03-10 | 15:00 | -1423.4895 | -2369.6667 | -149 | 60.0425
2004-03-10 | 16:00 | -1413.8096 | -2367 | -76 | 60.1775
2004-03-10 | 17:00 | -1200.2474 | -2369.75 | -95 | 58.175
2004-03-10 | 18:00 | -988.9316 | -2385.0833 | -280 | 54.455
2004-03-10 | 19:00 | -968.8008 | -2414.3333 | -228 | 48.725
2004-03-10 | 20:00 | -1072.4338 | -2432.4167 | -209 | 46.46
2004-03-10 | 21:00 | -1163.8904 | -2436.0833 | -226 | 46.0625
2004-03-10 | 22:00 | -1310.8318 | -2446.375 | -140 | 44.0675
2004-03-10 | 23:00 | -1305.2869 | -2456.4167 | -85 | 43.34
2004-03-10 | 23:59 | -1223.3909 | -2468.875 | -60 | 42.6275
2004-03-11 | 1:00 | -1120.2861 | -2479.9583 | -31 | 41.96
2004-03-11 | 2:00 | -1106.7636 | -2484.6667 | -2 | 40.37
2004-03-11 | 3:00 | -1091.9574 | -2490.25 | 9 | 39.11
2004-03-11 | 4:00 | -1043.6441 | -2493.5417 | -1 | 39.035
2004-03-11 | 5:00 | -740.0925 | -2500 | 9 | 38.105
2004-03-11 | 6:00 | -653.2796 | -2500 | 22 | 37.7975
2004-03-11 | 7:00 | -525.5528 | -2500 | -235 | 37.9325
2004-03-11 | 8:00 | -649.1023 | -2495.9167 | -221 | 39.3875
2004-03-11 | 9:00 | -721.1621 | -2483.7083 | -214 | 43.5275
2004-03-11 | 10:00 | -810.2616 | -2468.9167 | -193 | 46.0775
2004-03-11 | 11:00 | -874.6862 | -2438.7917 | -133 | 49.355
2004-03-11 | 12:00 | -1040.8957 | -2414.6667 | -112 | 54.05
2004-03-11 | 13:00 | -1021.3345 | -2394.5 | -112 | 59.63
2004-03-11 | 14:00 | -1060.0297 | -2383.9583 | -156 | 61.6775
2004-03-11 | 15:00 | -1102.8231 | -2375.8333 | -151 | 62.3375
2004-03-11 | 16:00 | -1088.0206 | -2370.25 | -154 | 62.4575
2004-03-11 | 17:00 | -1036.4907 | -2369.5833 | -97 | 61.4975
2004-03-11 | 18:00 | -828.2603 | -2382.125 | -157 | 58.1375
2004-03-11 | 19:00 | -810.8579 | -2413.375 | -229 | 52.0175
2004-03-11 | 20:00 | -867.7343 | -2435.2083 | -210 | 49.82
2004-03-11 | 21:00 | -960.8618 | -2445 | -230 | 48.5
2004-03-11 | 22:00 | -1189.8182 | -2452.5 | -143 | 47.42
2004-03-11 | 23:00 | -1221.486 | -2457.125 | -82 | 47.3225
2004-03-11 | 23:59 | -1128.9174 | -2464.9167 | -19 | 47.285
2004-03-12 | 1:00 | -929.0422 | -2469.625 | -4 | 47.9
2004-03-12 | 2:00 | -975.0446 | -2471.8333 | 23 | 46.5425
2004-03-12 | 3:00 | -1009.859 | -2473.8333 | 36 | 45.0125
2004-03-12 | 4:00 | -905.7168 | -2479.4167 | 51 | 44.5025
2004-03-12 | 5:00 | -726.3755 | -2488.4167 | 35 | 44.195
2004-03-12 | 6:00 | -538.6559 | -2494.5833 | -101 | 42.59
2004-03-12 | 7:00 | -650.4771 | -2487 | -234 | 42.17
2004-03-12 | 8:00 | -661.765 | -2471.8333 | -218 | 45.455
2004-03-12 | 9:00 | -783.4899 | -2434.2917 | -213 | 49.0325
2004-03-12 | 10:00 | -910.2888 | -2409.0833 | -91 | 51.8225
2004-03-12 | 11:00 | -818.7052 | -2385.5417 | -56 | 54.71
2004-03-12 | 12:00 | -906.384 | -2371.4167 | -140 | 57.8525
2004-03-12 | 13:00 | -982.9423 | -2364.25 | -106 | 60.83
2004-03-12 | 14:00 | -957.9225 | -2351.875 | -139 | 60.68
2004-03-12 | 15:00 | -960.2998 | -2351.0833 | -99 | 60.0875
2004-03-12 | 16:00 | -891.8497 | -2347.0417 | -161 | 61.955
2004-03-12 | 17:00 | -836.9043 | -2351.625 | 79 | 61.7825
2004-03-12 | 18:00 | -671.3378 | -2358.2917 | -94 | 57.335
2004-03-12 | 19:00 | -827.8905 | -2373.5833 | -92 | 55.25
2004-03-12 | 20:00 | -960.5965 | -2394.8333 | -49 | 54.1025
2004-03-12 | 21:00 | -1131.1177 | -2408.25 | -176 | 50.93
2004-03-12 | 22:00 | -1105.4447 | -2417.25 | -191 | 49.8575
2004-03-12 | 23:00 | -1166.5399 | -2429.875 | -162 | 47.6675
2004-03-12 | 23:59 | -1045.2407 | -2444.8333 | -85 | 45.4025
2004-03-13 | 1:00 | -982.9987 | -2453.7083 | -151 | 44.2925
2004-03-13 | 2:00 | -1012.0782 | -2470.0833 | -122 | 41.8475
2004-03-13 | 3:00 | -1041.4287 | -2485.0833 | -110 | 40.8875
2004-03-13 | 4:00 | -1002.8793 | -2485.9583 | -148 | 41.285
2004-03-13 | 5:00 | -917.4939 | -2496.7917 | -166 | 38.7425
2004-03-13 | 6:00 | -821.9073 | -2494.75 | -120 | 38.15
2004-03-13 | 7:00 | -587.8965 | -2499.4583 | -142 | 37.175
2004-03-13 | 8:00 | -577.591 | -2481.8333 | -13 | 40.8875
2004-03-13 | 9:00 | -885.1398 | -2455.875 | 43 | 45.7925
2004-03-13 | 10:00 | -948.5379 | -2437.875 | 73 | 48.8675
2004-03-13 | 11:00 | -953.7646 | -2418.75 | 84 | 51.5
2004-03-13 | 12:00 | -1013.4913 | -2406.7917 | 64 | 53.72
2004-03-13 | 13:00 | -1032.8605 | -2388.3333 | 14 | 56.57
2004-03-13 | 14:00 | -1048.1512 | -2384.4167 | -59 | 57.455
2004-03-13 | 15:00 | -980.6287 | -2387.8333 | -59 | 56.855
2004-03-13 | 16:00 | -960.5986 | -2392.2083 | -72 | 56.195
2004-03-13 | 17:00 | -876.8763 | -2395.375 | -43 | 53.8025
2004-03-13 | 18:00 | -789.9483 | -2406.5 | -51 | 51.0725
2004-03-13 | 19:00 | -754.9578 | -2433.7917 | 1 | 46.925
2004-03-13 | 20:00 | -781.593 | -2454.5 | -23 | 44.66
2004-03-13 | 21:00 | -804.7344 | -2464.9167 | -62 | 43.88
2004-03-13 | 22:00 | -1038.0628 | -2467.8333 | -54 | 43.16
2004-03-13 | 23:00 | -989.2589 | -2478.7083 | 19 | 42.3875
2004-03-13 | 23:59 | -997.7317 | -2482.2083 | -104 | 41.2175
2004-03-14 | 1:00 | -830.8168 | -2482.5417 | 97 | 39.635
2004-03-14 | 2:00 | -849.6501 | -2478.375 | 77 | 40.505
2004-03-14 | 3:00 | -961.1287 | -2486.3333 | 69 | 41.0975
2004-03-14 | 4:00 | -934.0096 | -2528.5 | 162 | 42.1625
2004-03-14 | 5:00 | -891.1208 | -2505.0417 | 154 | 41.4275
2004-03-14 | 6:00 | -734.5164 | -2482.4167 | 112 | 41.7725
2004-03-14 | 7:00 | -656.878 | -2477.4167 | 69 | 41.3675
2004-03-14 | 8:00 | -603.4996 | -2470.5417 | -7 | 41.7725
2004-03-14 | 9:00 | -842.647 | -2452.25 | 15 | 43.3025
2004-03-14 | 10:00 | -893.0484 | -2423.6667 | 64 | 45.485
2004-03-14 | 11:00 | -852.7518 | -2403.4583 | 58 | 50.795
2004-03-14 | 12:00 | -864.6643 | -2389.9583 | 44 | 57.215
2004-03-14 | 13:00 | -931.7437 | -2375.625 | 14 | 58.925
2004-03-14 | 14:00 | -995.0619 | -2363.7917 | 33 | 62.36
2004-03-14 | 15:00 | -1088.3148 | -2355.0833 | 52 | 64.55
2004-03-14 | 16:00 | -1001.6453 | -2351.9167 | 29 | 62.765
2004-03-14 | 17:00 | -906.9017 | -2348.875 | 63 | 60.7025
2004-03-14 | 18:00 | -722.8564 | -2362.7917 | 66 | 57.875
2004-03-14 | 19:00 | -750.4413 | -2381.1667 | 81 | 55.82
2004-03-14 | 20:00 | -864.1733 | -2400.5833 | 57 | 54.875
2004-03-14 | 21:00 | -988.9307 | -2410.125 | 62 | 53.2025
2004-03-14 | 22:00 | -1116.0508 | -2420.4167 | 110 | 50.9675
2004-03-14 | 23:00 | -914.4826 | -2442.0833 | 157 | 49.22
2004-03-14 | 23:59 | -842.9307 | -2455.9583 | 166 | 46.9175
2004-03-15 | 1:00 | -848.0259 | -2466.1667 | 200 | 45.5225
2004-03-15 | 2:00 | -794.3982 | -2473.2083 | 202 | 44.5325
2004-03-15 | 3:00 | -686.35 | -2480.375 | 215 | 43.5725
2004-03-15 | 4:00 | -709.1472 | -2475.25 | 203 | 42.3875
2004-03-15 | 5:00 | -616.8864 | -2481.75 | 213 | 42.905
2004-03-15 | 6:00 | -497.0543 | -2491 | 150 | 42.335
2004-03-15 | 7:00 | -445.4353 | -2496.1667 | -234 | 41.9825
2004-03-15 | 8:00 | -603.8261 | -2471.625 | -221 | 44.1875
2004-03-15 | 9:00 | -710.082 | -2443.125 | -179 | 48.92
2004-03-15 | 10:00 | -736.7052 | -2420.9167 | -158 | 52.2425
2004-03-15 | 11:00 | -816.3772 | -2395.0833 | -192 | 55.475
2004-03-15 | 12:00 | -961.0664 | -2376.5833 | -193 | 59.315
2004-03-15 | 13:00 | -910.2186 | -2382.7083 | -196 | 60.515
2004-03-15 | 14:00 | -1035.1045 | -2379.6667 | -192 | 61.445
2004-03-15 | 15:00 | -961.5806 | -2375.625 | -151 | 59.7425
2004-03-15 | 16:00 | -747.316 | -2386.6667 | -155 | 59.375
2004-03-15 | 17:00 | -626.7385 | -2391.8333 | -99 | 58.0925
2004-03-15 | 18:00 | -556.2419 | -2399.2917 | -232 | 56.18
2004-03-15 | 19:00 | -639.0452 | -2403.7083 | -230 | 55.5125
2004-03-15 | 20:00 | -679.8006 | -2411.9167 | -213 | 54.8825
2004-03-15 | 21:00 | -820.7302 | -2422.5 | -158 | 53.675
2004-03-15 | 22:00 | -960.1154 | -2428.875 | -144 | 52.01
2004-03-15 | 23:00 | -858.8832 | -2435.8333 | 40 | 50.6375
2004-03-15 | 23:59 | -829.9234 | -2447.2917 | 94 | 50.96
2004-03-16 | 1:00 | -813.3047 | -2450.125 | -30 | 49.805
2004-03-16 | 2:00 | -836.8207 | -2455.9583 | -3 | 48.95
2004-03-16 | 3:00 | -822.0288 | -2491.0417 | 9 | 47.99
2004-03-16 | 4:00 | -712.1826 | -2471.0417 |  | 46.895
2004-03-16 | 5:00 | -545.2307 | -2468.0833 | -80 | 46.13
2004-03-16 | 6:00 | -553.5908 | -2470.0417 | 23 | 45.035
2004-03-16 | 7:00 | -735.6992 | -2464.3333 | -232 | 44.9075
2004-03-16 | 8:00 | -763.4404 | -2442.8333 | -220 | 47.5625
2004-03-16 | 9:00 | -887.2373 | -2422.5833 | -214 | 51.32
2004-03-16 | 10:00 | -849.9801 | -2412.5 | -191 | 53.5325
2004-03-16 | 11:00 | -874.2918 | -2393.625 | -191 | 53.6675
2004-03-16 | 12:00 | -944.9489 | -2376.8333 | -191 | 56.1125
2004-03-16 | 13:00 | -1039.0931 | -2365.5833 | -191 | 61.715
2004-03-16 | 14:00 | -1117.2443 | -2359.4583 | -191 | 64.6175
2004-03-16 | 15:00 | -1165.2752 | -2354.5417 | -191 | 65.75
2004-03-16 | 16:00 | -1081.4742 | -2356.875 | -151 | 62.645
2004-03-16 | 17:00 | -976.2463 | -2364.5833 | -95 | 63.605
2004-03-16 | 18:00 | -960.2674 | -2366.375 | -230 | 61.3925
2004-03-16 | 19:00 | -851.7421 | -2365.9583 | -227 | 59.2925
2004-03-16 | 20:00 | -947.8021 | -2367.5 | -209 | 58.6175
2004-03-16 | 21:00 | -1057.1183 | -2370.6667 | -157 | 58.205
2004-03-16 | 22:00 | -1098.1846 | -2385.9167 | -141 | 57.2075
2004-03-16 | 23:00 | -1145.8626 | -2395.0417 | -139 | 56.1275
2004-03-16 | 23:59 | -1086.3083 | -2397.2917 | -76 | 54.935
2004-03-17 | 1:00 | -909.9109 | -2399.4583 | 21 | 54.305
2004-03-17 | 2:00 | -877.7451 | -2405.625 | 47 | 51.6425
2004-03-17 | 3:00 | -914.3818 | -2414.6667 | 59 | 50.2925
2004-03-17 | 4:00 | -857.3555 | -2421.9167 | 50 | 49.82
2004-03-17 | 5:00 | -661.6698 | -2428.5 | 107 | 49.8875
2004-03-17 | 6:00 | -565.5958 | -2433.5 | 71 | 49.235
2004-03-17 | 7:00 | -593.4072 | -2441.5 | -282 | 49.0775
2004-03-17 | 8:00 | -667.1415 | -2429.6667 | -269 | 50.705
2004-03-17 | 9:00 | -800.3491 | -2414.3333 | -263 | 54.4325
2004-03-17 | 10:00 | -758.2318 | -2392.4167 | -242 | 57.575
2004-03-17 | 11:00 | -815.37 | -2372.4091 | -242 | 60.5545
2004-03-17 | 12:00 | -968.9888 | -2349.7917 | -242 | 63.545
2004-03-17 | 13:00 | -971.0116 | -2342.0833 | -242 | 64.8125
2004-03-17 | 14:00 | -951.7681 | -2335.0833 | -242 | 63.4175
2004-03-17 | 15:00 | -988.0428 | -2344.75 | -242 | 66.26
2004-03-17 | 16:00 | -952.7222 | -2352.75 | -242 | 64.58
2004-03-17 | 17:00 | -912.2287 | -2355.875 | -242 | 63.515
2004-03-17 | 18:00 | -751.1379 | -2360.7917 | -242 | 59.555
2004-03-17 | 19:00 | -710.9212 | -2370 | -242 | 56.2625
2004-03-17 | 20:00 | -800.5045 | -2376.125 | -242 | 55.3625
2004-03-17 | 21:00 | -869.2709 | -2379.3333 | -242 | 54.8675
2004-03-17 | 22:00 | -953.836 | -2384.375 | -242 | 52.82
2004-03-17 | 23:00 | -857.6965 | -2385.6667 | -242 | 51.8825
2004-03-17 | 23:59 | -871.8835 | -2387.4583 | -242 | 53.24
2004-03-18 | 1:00 | -837.1769 | -2387.7083 | -242 | 53.8025
2004-03-18 | 2:00 | -813.6653 | -2389.7917 | -242 | 52.295
2004-03-18 | 3:00 | -893.8642 | -2390.75 | -242 | 50.915
2004-03-18 | 4:00 | -863.9033 | -2392.0417 | -242 | 51.32
2004-03-18 | 5:00 | -656.7816 | -2400.2917 | -242 | 50.195
2004-03-18 | 6:00 | -472.6715 | -2408.25 | -242 | 49.9775
2004-03-18 | 7:00 | -559.3366 | -2406.5417 | -242 | 52.4075
2004-03-18 | 8:00 | -710.4343 | -2388.75 | -242 | 54.2825
2004-03-18 | 9:00 | -854.3102 | -2367.7917 | -228 | 57.95
2004-03-18 | 10:00 | -801.5142 | -2350.3333 | -208 | 61.6175
2004-03-18 | 11:00 | -823.1777 | -2339.5 | -126 | 62.7725
2004-03-18 | 12:00 | -833.9059 | -2333.5833 | -126 | 63.71
2004-03-18 | 13:00 | -907.9301 | -2337.875 | -192 | 64.5725
2004-03-18 | 14:00 | -943.0218 | -2326.6667 | -192 | 66.2375
2004-03-18 | 15:00 | -1005.9426 | -2336.3333 | -192 | 65.315
2004-03-18 | 16:00 | -922.7596 | -2343.7083 | -150 | 61.5125
2004-03-18 | 17:00 | -861.0537 | -2352.375 | -143 | 59.09
2004-03-18 | 18:00 | -709.1677 | -2367.9583 | -186 | 57.74
2004-03-18 | 19:00 | -697.6865 | -2393.375 | -236 | 55.5425
2004-03-18 | 20:00 | -829.087 | -2412.625 | -276 | 52.085
2004-03-18 | 21:00 | -976.4571 | -2427.25 | -274 | 48.7775
2004-03-18 | 22:00 | -1112.9297 | -2446.7083 | -229 | 46.52
2004-03-18 | 23:00 | -1013.7518 | -2460.9583 | -158 | 44.885
2004-03-18 | 23:59 | -996.7973 | -2465.4583 | -22 | 43.4
2004-03-19 | 1:00 | -831.8623 | -2472.3333 | -54 | 41.72
2004-03-19 | 2:00 | -788.9816 | -2476.125 | -27 | 40.7525
2004-03-19 | 3:00 | -772.2362 | -2482.5833 | -15 | 39.2075
2004-03-19 | 4:00 | -697.0418 | -2489.8333 | -24 | 38.7125
2004-03-19 | 5:00 | -558.1697 | -2491.25 | -52 | 36.425
2004-03-19 | 6:00 | -590.9861 | -2492.375 | -2 | 35.915
2004-03-19 | 7:00 | -763.6597 | -2499.8333 | -258 | 36.6425
2004-03-19 | 8:00 | -800.0752 | -2487.4167 | -246 | 40.025
2004-03-19 | 9:00 | -897.2872 | -2465.5 | -239 | 44.9675
2004-03-19 | 10:00 | -921.1102 | -2442.875 | -217 | 48.4625
2004-03-19 | 11:00 | -934.1852 | -2423.5 | -255 | 51.95
2004-03-19 | 12:00 | -975.9113 | -2405.25 | -218 | 52.58
2004-03-19 | 13:00 | -1013.9623 | -2402.5833 | -155 | 53.8625
2004-03-19 | 14:00 | -1027.0064 | -2401.9583 | -216 | 55.1675
2004-03-19 | 15:00 | -1010.1218 | -2399.75 | -126 | 54.995
2004-03-19 | 16:00 | -1051.333 | -2400 | -103 | 53.135
2004-03-19 | 17:00 | -1216.7256 | -2403.3333 | -22 | 51.875
2004-03-19 | 18:00 | -1133.0363 | -2410.4167 | -136 | 49.13
2004-03-19 | 19:00 | -1053.7867 | -2440.125 | -196 | 44.72
2004-03-19 | 20:00 | -1102.1337 | -2459.5417 | -186 | 43.7675
2004-03-19 | 21:00 | -1306.6713 | -2469.875 | -217 | 41.0975
2004-03-19 | 22:00 | -1424.7783 | -2485.2083 | -143 | 40.1375
2004-03-19 | 23:00 | -1257.1282 | -2496.9167 | -59 | 39.7175
2004-03-19 | 23:59 | -966.5764 | -2500 | -45 | 38.33
2004-03-20 | 1:00 | -754.5244 | -2500 | -40 | 38.3675
2004-03-20 | 2:00 | -697.17 | -2500 | -43 | 38.2025
2004-03-20 | 3:00 | -661.7666 | -2500 | -45 | 37.28
2004-03-20 | 4:00 | -593.9067 | -2500 | -47 | 37.235
2004-03-20 | 5:00 | -582.9871 | -2500 | -58 | 36.5
2004-03-20 | 6:00 | -499.2056 | -2500 | -182 | 35.9225
2004-03-20 | 7:00 | -513.7338 | -2500 | -157 | 36.305
2004-03-20 | 8:00 | -510.5626 | -2499.7083 | -237 | 40.0625
2004-03-20 | 9:00 | -704.3554 | -2485.5 | -105 | 43.01
2004-03-20 | 10:00 | -811.0785 | -2460.4583 | -90 | 46.2875
2004-03-20 | 11:00 | -944.8439 | -2423.8333 | -88 | 51.2075
2004-03-20 | 12:00 | -1129.7636 | -2400.8333 | -15 | 56.2175
2004-03-20 | 13:00 | -1367.5724 | -2384.75 | -16 | 60.7625
2004-03-20 | 14:00 | -1383.1653 | -2374.8333 | -64 | 63.3275
2004-03-20 | 15:00 | -1397.348 | -2368.2083 | -130 | 64.655
2004-03-20 | 16:00 | -1332.5135 | -2360.4167 | -119 | 65.0525
2004-03-20 | 17:00 | -1266.0976 | -2360.9167 | -162 | 62.8475
2004-03-20 | 18:00 | -1170.8068 | -2374.4583 | -184 | 59.5025
2004-03-20 | 19:00 | -1089.4031 | -2398.0417 | -127 | 55.4525
2004-03-20 | 20:00 | -1185.995 | -2420.875 | -94 | 53.6225
2004-03-20 | 21:00 | -1318.5171 | -2441.6667 | -50 | 53.4575
2004-03-20 | 22:00 | -1301.2263 | -2447.7917 | -79 | 52.445
2004-03-20 | 23:00 | -1123.8206 | -2457.2083 | -89 | 51.3125
2004-03-20 | 23:59 | -1012.6108 | -2468.875 | -140 | 49.73
2004-03-21 | 1:00 | -723.266 | -2477.125 | -116 | 48.9425
2004-03-21 | 2:00 | -782.3186 | -2478.0417 | -21 | 47.27
2004-03-21 | 3:00 | -733.4157 | -2482.9167 | -4 | 47.1725
2004-03-21 | 4:00 | -707.9396 | -2484.7917 | 7 | 46.8425
2004-03-21 | 5:00 | -647.2329 | -2487.0417 |  | 46.34
2004-03-21 | 6:00 | -573.64 | -2485.125 | -5 | 45.74
2004-03-21 | 7:00 | -512.1132 | -2486.5833 | -110 | 45.8675
2004-03-21 | 8:00 | -462.0086 | -2471.3333 | -179 | 47.735
2004-03-21 | 9:00 | -540.5558 | -2445.6667 | -111 | 50.7575
2004-03-21 | 10:00 | -668.4862 | -2419.5833 | -159 | 55.46
2004-03-21 | 11:00 | -824.8722 | -2393.9167 | -150 | 59.375
2004-03-21 | 12:00 | -898.2908 | -2376.1667 | -139 | 63.0725
2004-03-21 | 13:00 | -892.0617 | -2355.75 | -149 | 66.0275
2004-03-21 | 14:00 | -986.0961 | -2338.4167 | -64 | 68.75
2004-03-21 | 15:00 | -933.165 | -2325.7083 | 56 | 69.89
2004-03-21 | 16:00 | -979.0584 | -2318.2083 | -8 | 70.4075
2004-03-21 | 17:00 | -1109.7375 | -2320.1667 | 57 | 66.605
2004-03-21 | 18:00 | -1187.2917 | -2339.5417 | 6 | 60.2
2004-03-21 | 19:00 | -1000.0385 | -2368.75 | -35 | 56.3975
2004-03-21 | 20:00 | -1032.5449 | -2387.7917 | -103 | 55.37
2004-03-21 | 21:00 | -1209.0798 | -2386.2083 | -38 | 53.7275
2004-03-21 | 22:00 | -1395.1209 | -2387.375 | -80 | 53.0525
2004-03-21 | 23:00 | -1293.5167 | -2401.5417 | -28 | 51.995
2004-03-21 | 23:59 | -906.6225 | -2414.2917 | 46 | 51.26
2004-03-22 | 1:00 | -868.0882 | -2421.2917 | -103 | 50.0225
2004-03-22 | 2:00 | -872.3191 | -2423.4583 | -76 | 49.1225
2004-03-22 | 3:00 | -864.6429 | -2437.75 | -65 | 47.9225
2004-03-22 | 4:00 | -838.8652 | -2448.875 | -75 | 46.4
2004-03-22 | 5:00 | -775.5984 | -2449.0833 | -15 | 45.8375
2004-03-22 | 6:00 | -688.8892 | -2453.375 | -51 | 44.3675
2004-03-22 | 7:00 | -604.5888 | -2454.5 | -219 | 44.96
2004-03-22 | 8:00 | -593.3066 | -2444.4167 | -242 | 50.78
2004-03-22 | 9:00 | -598.3062 | -2426.2083 | -233 | 53.525
2004-03-22 | 10:00 | -510.3408 | -2400.8333 | -233 | 56.69
2004-03-22 | 11:00 | -508.6868 | -2372.9583 | -233 | 60.575
2004-03-22 | 12:00 | -637.5134 | -2349.7083 | -233 | 65.99
2004-03-22 | 13:00 | -684.1617 | -2336.125 | -233 | 70.2875
2004-03-22 | 14:00 | -746.6294 | -2327.2917 | -233 | 73.4675
2004-03-22 | 15:00 | -945.9947 | -2322.375 | -233 | 75.6725
2004-03-22 | 16:00 | -1143.9281 | -2315.8333 | -172 | 76.55
2004-03-22 | 17:00 | -1068.5442 | -2315.9583 | -172 | 75.4475
2004-03-22 | 18:00 | -892.6629 | -2326 | -194 | 70.7
2004-03-22 | 19:00 | -741.8366 | -2349.5833 | -198 | 64.4375
2004-03-22 | 20:00 | -877.9673 | -2370.1667 | -154 | 62.8925
2004-03-22 | 21:00 | -1069.7067 | -2381.4583 | -159 | 62.705
2004-03-22 | 22:00 | -1153.661 | -2399.1667 | -122 | 60.545
2004-03-22 | 23:00 | -1139.2153 | -2412.2083 | -133 | 59.87
2004-03-22 | 23:59 | -1126.7153 | -2424.625 | -43 | 59.1125
2004-03-23 | 1:00 | -807.7902 | -2435.4167 | -54 | 57.845
2004-03-23 | 2:00 | -672.6901 | -2443.875 | -27 | 55.7075
2004-03-23 | 3:00 | -658.0072 | -2447.4583 | -15 | 54.3575
2004-03-23 | 4:00 | -632.3412 | -2441.9583 | -25 | 51.11
2004-03-23 | 5:00 | -605.7873 | -2441.375 | 13 | 50.7575
2004-03-23 | 6:00 | -504.9867 | -2451.0417 | -28 | 49.925
2004-03-23 | 7:00 | -607.7292 | -2445.4583 | -199 | 49.6475
2004-03-23 | 8:00 | -795.9935 | -2429.1667 | -190 | 55.1075
2004-03-23 | 9:00 | -968.4935 | -2416.5417 | -138 | 58.325
2004-03-23 | 10:00 | -858.1503 | -2374.625 | -169 | 61.805
2004-03-23 | 11:00 | -872.4558 | -2355.7083 | -201 | 64.9925
2004-03-23 | 12:00 | -927.3863 | -2335.875 | -157 | 67.8125
2004-03-23 | 13:00 | -1000.5074 | -2320.25 | -157 | 71.03
2004-03-23 | 14:00 | -1093.7437 | -2316.5833 | -157 | 70.115
2004-03-23 | 15:00 | -1234.4264 | -2315.9167 | -150 | 65.8025
2004-03-23 | 16:00 | -1211.2774 | -2320.375 | -151 | 63.56
2004-03-23 | 17:00 | -1173.8858 | -2326.125 | -96 | 62.345
2004-03-23 | 18:00 | -1130.5948 | -2342.5417 | -105 | 61.625
2004-03-23 | 19:00 | -1071.8137 | -2363.9583 | -103 | 57.4325
2004-03-23 | 20:00 | -1102.7363 | -2377.2917 | -103 | 55.3475
2004-03-23 | 21:00 | -1223.6442 | -2390.2917 | -193 | 52.355
2004-03-23 | 22:00 | -1412.813 | -2409.6667 | -141 | 50.5925
2004-03-23 | 23:00 | -1285.4507 | -2414.0417 | -31 | 48.86
2004-03-23 | 23:59 | -1202.5678 | -2415.75 | -68 | 47.5475
2004-03-24 | 1:00 | -790.3625 | -2428.2083 | -50 | 47.435
2004-03-24 | 2:00 | -854.4318 | -2439.375 | -51 | 46.6925
2004-03-24 | 3:00 | -859.0614 | -2442 | -40 | 45.6275
2004-03-24 | 4:00 | -793.6496 | -2446.7917 | -50 | 45.455
2004-03-24 | 5:00 | -662.6804 | -2457.7917 | 10 | 45.365
2004-03-24 | 6:00 | -614.8183 | -2458.7917 | -30 | 44.6675
2004-03-24 | 7:00 | -933.7283 | -2452.5 | -112 | 44.9675
2004-03-24 | 8:00 | -1009.2092 | -2440.5833 | -113 | 46.3025
2004-03-24 | 9:00 | -1103.8633 | -2426.25 | -111 | 48.0725
2004-03-24 | 10:00 | -1131.5 | -2410.1667 | -97 | 49.445
2004-03-24 | 11:00 | -1280.4367 | -2385.9545 | -62 | 54.6636
2004-03-24 | 12:00 | -1292.3508 | -2371.9583 | -132 | 58.1375
2004-03-24 | 13:00 | -1281.6118 | -2406.6667 | -97 | 54.2825
2004-03-24 | 14:00 | -1294.2565 | -2421.125 | -58 | 52.88
2004-03-24 | 15:00 | -1341.2289 | -2385.8333 | -97 | 54.95
2004-03-24 | 16:00 | -1301.8198 | -2377.625 | -32 | 55.28
2004-03-24 | 17:00 | -1279.6245 | -2379.8333 | -74 | 56.6375
2004-03-24 | 18:00 | -1291.6533 | -2390.5 | -93 | 54.1325
2004-03-24 | 19:00 | -1201.5627 | -2406.9583 | -110 | 50.1425
2004-03-24 | 20:00 | -1128.7335 | -2417.75 | -145 | 47.0525
2004-03-24 | 21:00 | -1224.4602 | -2429.875 | -134 | 46.4525
2004-03-24 | 22:00 | -1333.7033 | -2439.5417 | -111 | 47.0225
2004-03-24 | 23:00 | -1273.4781 | -2446.875 | -122 | 46.5425
2004-03-24 | 23:59 | -1351.9674 | -2452.3333 | -118 | 46.1225
2004-03-25 | 1:00 | -1050.6269 | -2453.4583 | -153 | 43.685
2004-03-25 | 2:00 | -828.4836 | -2456.75 | -172 | 42.425
2004-03-25 | 3:00 | -834.2 | -2470.8333 | -146 | 43.835
2004-03-25 | 4:00 | -846.4345 | -2471.6667 | -147 | 42.5225
2004-03-25 | 5:00 | -716.1771 | -2479.6667 | -135 | 42.41
2004-03-25 | 6:00 | -672.0176 | -2477.25 | -35 | 42.455
2004-03-25 | 7:00 | -923.6551 | -2477 | 2 | 43.055
2004-03-25 | 8:00 | -1061.494 | -2467.625 | -51 | 45.125
2004-03-25 | 9:00 | -981.09 | -2493.6667 | -68 | 46.9325
2004-03-25 | 10:00 | -972.8444 | -2500 | 12 | 50.99
2004-03-25 | 11:00 | -1009.095 | -2500 | 18 | 52.385
2004-03-25 | 12:00 | -1132.4307 | -2500 | -45 | 55.9025
2004-03-25 | 13:00 | -1180.5819 | -2500 | -50 | 60.0275
2004-03-25 | 14:00 | -1214.8712 | -2500 | -60 | 62.615
2004-03-25 | 15:00 | -1267.5976 | -2500 | -51 | 62.0975
2004-03-25 | 16:00 | -1301.5546 | -2476.2083 | 45 | 60.7325
2004-03-25 | 17:00 | -1168.8028 | -2356.5833 | 54 | 59.9825
2004-03-25 | 18:00 | -1052.4273 | -2366.125 | 5 | 59.1575
2004-03-25 | 19:00 | -968.4395 | -2378.5417 | -53 | 56.06
2004-03-25 | 20:00 | -1009.5693 | -2385.4583 | -39 | 52.325
2004-03-25 | 21:00 | -1247.2259 | -2393.5 | -65 | 53.555
2004-03-25 | 22:00 | -1431.8532 | -2411.5833 | 97 | 52.1675
2004-03-25 | 23:00 | -1490.7459 | -2411.2917 | 92 | 50.795
2004-03-25 | 23:59 | -1364.1847 | -2411.75 | -44 | 48.035
2004-03-26 | 1:00 | -1088.5615 | -2416.1667 | -43 | 42.5975
2004-03-26 | 2:00 | -886.6042 | -2433.25 | 4 | 42.2
2004-03-26 | 3:00 | -833.7698 | -2443.2917 | 36 | 42.2
2004-03-26 | 4:00 | -764.2495 | -2448.125 | 19 | 41.45
2004-03-26 | 5:00 | -572.1322 | -2447.6667 | 22 | 39.455
2004-03-26 | 6:00 | -572.2265 | -2452.125 | 73 | 37.2125
2004-03-26 | 7:00 | -689.0393 | -2462.7917 | -162 | 38.8625
2004-03-26 | 8:00 | -679.9512 | -2455.75 | -73 | 43.7675
2004-03-26 | 9:00 | -718.5077 | -2439.6667 | 10 | 47.2325
2004-03-26 | 10:00 | -718.3331 | -2422.7083 | 129 | 50.3825
2004-03-26 | 11:00 | -756.5318 | -2404.3333 | 46 | 49.955
2004-03-26 | 12:00 | -828.165 | -2426.3358 | 65 | 54.425
2004-03-26 | 13:00 | -905.7074 | -2441.8208 | 68 | 53.81
2004-03-26 | 14:00 | -955.8975 | -2436.31 | 81 | 54.755
2004-03-26 | 15:00 | -1004.3289 | -2437.935 | 70 | 51.335
2004-03-26 | 16:00 | -1033.1122 | -2396.1075 | 47 | 55.115
2004-03-26 | 17:00 | -1023.9404 | -2394.4167 | 167 | 53.0075
2004-03-26 | 18:00 | -1017.7953 | -2400.8333 | 4 | 48.11
2004-03-26 | 19:00 | -943.185 | -2422.625 | 81 | 44.69
2004-03-26 | 20:00 | -944.4082 | -2432.1667 | 45 | 42.3275
2004-03-26 | 21:00 | -1119.2644 | -2431.7083 | 26 | 41.435
2004-03-26 | 22:00 | -1075.6373 | -2430.875 | 45 | 41.33
2004-03-26 | 23:00 | -1207.7179 | -2428.9583 | 71 | 41.9375
2004-03-26 | 23:59 | -1159.9092 | -2429.0833 | 49 | 43.5425
2004-03-27 | 1:00 | -962.8687 | -2431.5417 | -140 | 43.91
2004-03-27 | 2:00 | -1026.5308 | -2433.125 | -125 | 42.575
2004-03-27 | 3:00 | -1050.3501 | -2440.2083 | -115 | 41.975
2004-03-27 | 4:00 | -1043.5583 | -2449.75 | -105 | 41.2625
2004-03-27 | 5:00 | -925.6939 | -2452.5417 | -133 | 42.3725
2004-03-27 | 6:00 | -802.5116 | -2455.375 | -128 | 42.1775
2004-03-27 | 7:00 | -742.5498 | -2446.3333 | -132 | 42.35
2004-03-27 | 8:00 | -695.5483 | -2438.0417 | -178 | 42.335
2004-03-27 | 9:00 | -873.934 | -2432.625 | -84 | 43.835
2004-03-27 | 10:00 | -888.7492 | -2421.5 | -37 | 47.1425
2004-03-27 | 11:00 | -915.5406 | -2409.125 | -25 | 48.8525
2004-03-27 | 12:00 | -1048.9477 | -2393.7083 | -55 | 54.32
2004-03-27 | 13:00 | -1062.2751 | -2384.1667 | 4 | 55.4075
2004-03-27 | 14:00 | -1107.1816 | -2369.0417 | 68 | 55.0325
2004-03-27 | 15:00 | -1025.6661 | -2381.3333 | -80 | 52.715
2004-03-27 | 16:00 | -942.4619 | -2415.9167 | -30 | 48.7325
2004-03-27 | 17:00 | -903.6903 | -2399.0417 | -90 | 51.4175
2004-03-27 | 18:00 | -855.6187 | -2401.125 | -129 | 52.1825
2004-03-27 | 19:00 | -788.7038 | -2420.375 | -106 | 49.3475
2004-03-27 | 20:00 | -947.2092 | -2438.0833 | 11 | 47.405
2004-03-27 | 21:00 | -1032.482 | -2447 | 69 | 47.0675
2004-03-27 | 22:00 | -1127.9682 | -2460.5417 | 13 | 45.6575
2004-03-27 | 23:00 | -1246.3056 | -2458.625 | -68 | 45.59
2004-03-27 | 23:59 | -1039.5461 | -2464.25 | -88 | 42.965
2004-03-28 | 1:00 | -962.0137 | -2472.7083 | 31 | 41.12
2004-03-28 | 2:00 | -929.7431 | -2480.4583 | -4 | 41.045
2004-03-28 | 3:00 | -979.0434 | -2483.5417 | 7 | 39.92
2004-03-28 | 4:00 | -975.0761 | -2485.25 | 4 | 40.175
2004-03-28 | 5:00 | -881.1136 | -2496.0417 | -18 | 39.635
2004-03-28 | 6:00 | -788.2532 | -2499.375 | -51 | 39.635
2004-03-28 | 7:00 | -783.6411 | -2493.3333 | -71 | 41.795
2004-03-28 | 8:00 | -860.0146 | -2476.25 | -191 | 46.22
2004-03-28 | 9:00 | -1150.2742 | -2456.875 | 60 | 48.89
2004-03-28 | 10:00 | -1243.4907 | -2430.5 | -18 | 51.6425
2004-03-28 | 11:00 | -1341.378 | -2409.7917 | -25 | 55.6925
2004-03-28 | 12:00 | -1295.9414 | -2392.5 | -24 | 59.2625
2004-03-28 | 13:00 | -1224.3951 | -2378.2917 | -25 | 60.5375
2004-03-28 | 14:00 | -1281.6359 | -2367.5833 | 18 | 62.3075
2004-03-28 | 15:00 | -1312.1313 | -2368.6667 | 53 | 63.4325
2004-03-28 | 16:00 | -1300.5754 | -2367.125 | 28 | 64.145
2004-03-28 | 17:00 | -1283.7872 | -2367.2917 | -21 | 63.515
2004-03-28 | 18:00 | -1202.2066 | -2371.3333 | -21 | 59.4125
2004-03-28 | 19:00 | -1150.1364 | -2390.5833 | 29 | 54.275
2004-03-28 | 20:00 | -1090.3773 | -2414.0833 | 31 | 52.8725
2004-03-28 | 21:00 | -1096.0018 | -2424.875 | 68 | 51.5525
2004-03-28 | 22:00 | -1280.333 | -2440.6667 | 27 | 50.0675
2004-03-28 | 23:00 | -1047.7003 | -2447.875 | -52 | 48.83
2004-03-28 | 23:59 | -855.5068 | -2453.125 | -53 | 47.51
2004-03-29 | 1:00 | -901.322 | -2464.4583 | -67 | 46.6925
2004-03-29 | 2:00 | -890.803 | -2474.4167 | -39 | 45.7325
2004-03-29 | 3:00 | -861.1453 | -2483.6667 | -28 | 44.78
2004-03-29 | 4:00 | -829.15 | -2491 | -64 | 43.46
2004-03-29 | 5:00 | -752.4421 | -2494.0833 | -3 | 43.0025
2004-03-29 | 6:00 | -839.0954 | -2498.2917 | 47 | 42.3575
2004-03-29 | 7:00 | -985.4493 | -2491.5417 | -209 | 44.0525
2004-03-29 | 8:00 | -1177.4088 | -2465.4583 | -196 | 48.2
2004-03-29 | 9:00 | -1154.1413 | -2490.1667 | -190 | 52.67
2004-03-29 | 10:00 | -1128.9411 | -2467.5 | -190 | 57.1325
2004-03-29 | 11:00 | -1212.1557 | -2438.5833 | -190 | 61.865
2004-03-29 | 12:00 | -1353.1099 | -2410 | -190 | 66.455
2004-03-29 | 13:00 | -1420.5937 | -2386.4583 | -190 | 70.9925
2004-03-29 | 14:00 | -1492.3354 | -2366.6667 | -190 | 75.2825
2004-03-29 | 15:00 | -1504.1082 | -2352.9583 | -190 | 77.12
2004-03-29 | 16:00 | -1400.528 | -2346.375 | -190 | 77.8325
2004-03-29 | 17:00 | -1423.9765 | -2346.2083 | -190 | 77.36
2004-03-29 | 18:00 | -1332.015 | -2356 | -190 | 73.775
2004-03-29 | 19:00 | -1205.1443 | -2383.4167 | -190 | 69.1325
2004-03-29 | 20:00 | -1233.9249 | -2412.5833 | -190 | 67.5875
2004-03-29 | 21:00 | -1302.2381 | -2431.8333 | -190 | 65.5925
2004-03-29 | 22:00 | -1520.8527 | -2450.4167 | -190 | 63.2675
2004-03-29 | 23:00 | -1597.339 | -2470.1667 | -190 | 62.99
2004-03-29 | 23:59 | -1544.0753 | -2485.2083 | -190 | 60.785
2004-03-30 | 1:00 | -1103.1853 | -2507.625 | -190 | 59.6675
2004-03-30 | 2:00 | -1020.2356 | -2514.375 | -190 | 58.3175
2004-03-30 | 3:00 | -1104.5306 | -2522.9167 | -190 | 56.2625
2004-03-30 | 4:00 | -1039.0263 | -2527.6667 | -190 | 55.7825
2004-03-30 | 5:00 | -887.8467 | -2521.8333 | -190 | 54.635
2004-03-30 | 6:00 | -928.8848 | -2522 | -190 | 53.99
2004-03-30 | 7:00 | -1132.6314 | -2499.125 | -190 | 54.9275
2004-03-30 | 8:00 | -1264.1919 | -2472.7083 | -190 | 58.58
2004-03-30 | 9:00 | -1234.9393 | -2438.5 | -190 | 61.565
2004-03-30 | 10:00 | -1276.7031 | -2414.9167 | -190 | 66.335
2004-03-30 | 11:00 | -1269.5991 | -2381.0833 | -190 | 70.3475
2004-03-30 | 12:00 | -1428.4517 | -2338.5833 | -127 | 74.525
2004-03-30 | 13:00 | -1387.5345 | -2321.75 | -128 | 78.065
2004-03-30 | 14:00 | -1420.1171 | -2316.0833 | -161 | 77.6375
2004-03-30 | 15:00 | -1390.3047 | -2319.1667 | -157.5 | 68.1275
2004-03-30 | 16:00 | -1395.4464 | -2331.1667 | -157 | 63.305
2004-03-30 | 17:00 | -1269.1711 | -2352.7083 | -101 | 58.8275
2004-03-30 | 18:00 | -1294.1973 | -2371.3333 | -275 | 54.8525
2004-03-30 | 19:00 | -1260.0625 | -2394.5417 | -198 | 50.03
2004-03-30 | 20:00 | -1296.0493 | -2417.125 | -182 | 47.855
2004-03-30 | 21:00 | -1246.0691 | -2444.375 | -197 | 46.19
2004-03-30 | 22:00 | -1444.9179 | -2466.9167 | -129 | 43.8875
2004-03-30 | 23:00 | -1191.7123 | -2494.125 | 79 | 41.8175
2004-03-30 | 23:59 | -1111.1386 | -2497.2083 | 156 | 40.7525
2004-03-31 | 1:00 | -1104.7807 | -2482.2917 | 157 | 40.1525
2004-03-31 | 2:00 | -1206.9089 | -2485.7083 | 194 | 39.83
2004-03-31 | 3:00 | -1146.8667 | -2487.4583 | 231 | 39.785
2004-03-31 | 4:00 | -1131.9347 | -2495.5 | 180 | 39.59
2004-03-31 | 5:00 | -1079.2862 | -2511.2917 | 145 | 39.7775
2004-03-31 | 6:00 | -917.4317 | -2518.9167 | 282 | 39.98
2004-03-31 | 7:00 | -1102.6359 | -2509.875 | -101 | 39.4925
2004-03-31 | 8:00 | -1070.5943 | -2501.375 | -159 | 40.7
2004-03-31 | 9:00 | -1021.8507 | -2489.7917 | -152 | 42.8075
2004-03-31 | 10:00 | -1013.3205 | -2467.9167 | -63 | 45.875
2004-03-31 | 11:00 | -1019.3239 | -2450.7917 | -129.9167 | 47.3225
2004-03-31 | 12:00 | -1065.6787 | -2443.5833 | -131 | 49.4975
2004-03-31 | 13:00 | -951.0045 | -2432 | -134 | 50.2025
2004-03-31 | 14:00 | -943.0742 | -2429.875 | -164 | 49.0025
2004-03-31 | 15:00 | -965.7075 | -2428.9167 | -91 | 48.1475
2004-03-31 | 16:00 | -938.7492 | -2432 | -93 | 47.12
2004-03-31 | 17:00 | -936.6178 | -2435.0833 | -70 | 46.4375
2004-03-31 | 18:00 | -1011.5567 | -2445.9167 | -171 | 45.32
2004-03-31 | 19:00 | -1103.1129 | -2471.6667 | -167 | 44.075
2004-03-31 | 20:00 | -1211.8298 | -2484.9167 | -151 | 43.355
2004-03-31 | 21:00 | -1375.6528 | -2491.625 | -167 | 43.025
2004-03-31 | 22:00 | -1575.3333 | -2500.5 | -117 | 41.63
2004-03-31 | 23:00 | -1499.6747 | -2515.7917 | 105 | 39.11
2004-03-31 | 23:59 | -1458.4014 | -2523.9167 | 115 | 37.52