## Sheet1
Daily Interruptions Report, Automatic Outages Only Apr 16 2024 05:00 through Apr 17 2024 04:59 and still out outages
Source: Bonneville Power Administration, Transmission Services, System Operations, Internal Operations, Organizational Performance - TOII
Customer Service Interruptions (2 outage(s))
Out Datetime | In Datetime | Name | Voltage (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | MW Intrpt | O&M District | Outage ID
04/30/2023 19:09 |  | Valhalla: Chelan Co PUD 115kV Feeder T1 | 115.0 | still out | Auto | Unknown | BPA |  | WEN | 224196
09/20/2022 10:11 |  | Intalco: Alcoa 13.8kV Feeder 4 | 13.8 | still out | Auto | Terminal Equipment Failure | Customer |  | SNO | 223041
Transmission Line Interruptions (1 outage(s))
Out Datetime | In Datetime | Name | Voltage (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | Transmission Owner NERC TADS | O&M District(s) | Outage ID
01/13/2024 11:23 |  | Walton-Mapleton section of Lane-Wendson No 1 115kV line | 115.0 | still out | Auto | Tree | BPA | BPAT | EUG | 225440
Transformer Interruptions (1 outage(s))
Out Datetime | In Datetime | Name | Voltage High (kV) | Voltage Low (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | O&M District | Transmission Owner NERC TADS | Outage ID
01/09/2024 15:45 |  | Pomeroy: 115/69kV Transformer 2 | 115.0 | 69.0 | still out | Auto | Line Material Failure | BPA | SPK |  | 225360