## Sheet1
Daily Interruptions Report, Automatic Outages Only May 3 2024 05:00 through May 4 2024 04:59 and still out outages
Source: Bonneville Power Administration, Transmission Services, System Operations, Internal Operations, Organizational Performance - TOII
Customer Service Interruptions (3 outage(s))
Out Datetime | In Datetime | Name | Voltage (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | MW Intrpt | O&M District | Outage ID
05/04/2024 03:46 | 05/04/2024 03:46 | Elmo: Mission Vly Power 115kV Feeder 1 | 115.0 | 0 | Auto | Unknown | BPA |  | KAL | 226223
04/30/2023 19:09 |  | Valhalla: Chelan Co PUD 115kV Feeder T1 | 115.0 | still out | Auto | Unknown | BPA |  | WEN | 224196
09/20/2022 10:11 |  | Intalco: Alcoa 13.8kV Feeder 4 | 13.8 | still out | Auto | Terminal Equipment Failure | Customer |  | SNO | 223041
Transmission Line Interruptions (4 outage(s))
Out Datetime | In Datetime | Name | Voltage (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | Transmission Owner NERC TADS | O&M District(s) | Outage ID
05/04/2024 03:46 | 05/04/2024 03:46 | Kalispell-Kerr No 1 115kV line | 115.0 | 0 | Auto | Unknown | BPA | BPAT | KAL | 226222
05/03/2024 07:21 | 05/03/2024 07:21 | Benton-Saddle Mountain No 1 115kV line | 115.0 | 0 | Auto | Unknown | Unknown | AVA | TRI | 226221
05/01/2024 06:24 |  | Lower Monumental PH-Lower Monumental No 1 500kV line | 500.0 | still out | Auto | Unknown | BPA | BPAT | TRI | 226208
01/13/2024 11:23 |  | Walton-Mapleton section of Lane-Wendson No 1 115kV line | 115.0 | still out | Auto | Tree | BPA | BPAT | EUG | 225440
Transformer Interruptions (1 outage(s))
Out Datetime | In Datetime | Name | Voltage High (kV) | Voltage Low (kV) | Duration (minutes) | Outage Type | Cause | Responsible System | O&M District | Transmission Owner NERC TADS | Outage ID
01/09/2024 15:45 |  | Pomeroy: 115/69kV Transformer 2 | 115.0 | 69.0 | still out | Auto | Line Material Failure | BPA | SPK |  | 225360